## Sheet1
| filename | Density g/cm3 | σ Density g/cm3 | σ Density g/cm3 (from Ne+peakfit) | σ Density g/cm3 (from densimeter) | Corrected_Splitting | Corrected_Splitting_σ | Corrected_Splitting_σ_Ne | Corrected_Splitting_σ_peak_fit | power (mW) | Spectral Center | Preferred D_σ_Ne | Preferred D_σ_pkfit | in range | Notes | LowD_RT | HighD_RT | LowD_SC | LowD_SC_σ | MedD_SC | MedD_SC_σ | HighD_SC | HighD_SC_σ | Temperature | Splitting | Split_σ | Diad1_Combofit_Cent | Diad1_cent_err | Diad1_Combofit_Height | Diad1_Voigt_Cent | Diad1_Voigt_Area | Diad1_Voigt_Sigma | Diad1_Residual | Diad1_Prop_Lor | Diad1_fwhm | Diad1_refit | Diad2_Combofit_Cent | Diad2_cent_err | Diad2_Combofit_Height | Diad2_Voigt_Cent | Diad2_Voigt_Area | Diad2_Voigt_Sigma | Diad2_Voigt_Gamma | Diad2_Residual | Diad2_Prop_Lor | Diad2_fwhm | Diad2_refit | HB1_Cent | HB1_Area | HB1_Sigma | HB2_Cent | HB2_Area | HB2_Sigma | C13_Cent | C13_Area | C13_Sigma | Diad2_Gauss_Cent | Diad2_Gauss_Area | Diad2_Gauss_Sigma | Diad1_Gauss_Cent | Diad1_Gauss_Area | Diad1_Gauss_Sigma | Diad1_Asym50 | Diad1_Asym70 | Diad1_Yuan2017_sym_factor | Diad1_Remigi2021_BSF | Diad2_Asym50 | Diad2_Asym70 | Diad2_Yuan2017_sym_factor | Diad2_Remigi2021_BSF | Diad1_PDF_Model | Diad2_PDF_Model | Standard | date | Month | Day | Int_time (s) | accumulations | Mag (X) | duration | 24hr_time | sec since midnight | Peak_Cent_SO2 | Peak_Area_SO2 | Peak_Height_SO2 | Model_name | SO2_Diad_Ratio | SO2_mol_ratio | time | preferred_values | lower_values | upper_values | date_object | Type | Mount | Sample | Crystal | Region | FI# | Sample_crystal | Sample_crystal_region | FI_name | Name_on_SEM | Notes regarding SEM matching | EBSD_simple_name | EBSD_grainID | EBSDname+grainID | EBSD_comment | FI_type | sub_type | Unnamed: 20 | Area | FI_axis_a_um | FI_axis_b_um | Angle | pixels wide | pixels high | mag | decrepit | melt film | spinel | sulfide | shape | Comment | Density g/cm3_Raman_STD | σ Density g/cm3_Raman_STD | σ Density g/cm3 (from Ne+peakfit)_Raman_STD | σ Density g/cm3 (from densimeter)_Raman_STD | Corrected_Splitting_Raman_STD | Corrected_Splitting_σ_Raman_STD | Corrected_Splitting_σ_Ne_Raman_STD | Corrected_Splitting_σ_peak_fit_Raman_STD | power (mW)_Raman_STD | Spectral Center_Raman_STD | Preferred D_σ_Ne_Raman_STD | Preferred D_σ_pkfit_Raman_STD | LowD_RT_Raman_STD | HighD_RT_Raman_STD | LowD_SC_Raman_STD | LowD_SC_σ_Raman_STD | MedD_SC_Raman_STD | MedD_SC_σ_Raman_STD | HighD_SC_Raman_STD | HighD_SC_σ_Raman_STD | Splitting_Raman_STD | Split_σ_Raman_STD | Diad1_Combofit_Cent_Raman_STD | Diad1_cent_err_Raman_STD | Diad1_Combofit_Height_Raman_STD | Diad1_Voigt_Cent_Raman_STD | Diad1_Voigt_Area_Raman_STD | Diad1_Voigt_Sigma_Raman_STD | Diad1_Residual_Raman_STD | Diad1_Prop_Lor_Raman_STD | Diad1_fwhm_Raman_STD | Diad2_Combofit_Cent_Raman_STD | Diad2_cent_err_Raman_STD | Diad2_Combofit_Height_Raman_STD | Diad2_Voigt_Cent_Raman_STD | Diad2_Voigt_Area_Raman_STD | Diad2_Voigt_Sigma_Raman_STD | Diad2_Voigt_Gamma_Raman_STD | Diad2_Residual_Raman_STD | Diad2_Prop_Lor_Raman_STD | Diad2_fwhm_Raman_STD | HB1_Cent_Raman_STD | HB1_Area_Raman_STD | HB1_Sigma_Raman_STD | HB2_Cent_Raman_STD | HB2_Area_Raman_STD | HB2_Sigma_Raman_STD | C13_Cent_Raman_STD | C13_Area_Raman_STD | C13_Sigma_Raman_STD | Diad2_Gauss_Cent_Raman_STD | Diad2_Gauss_Area_Raman_STD | Diad2_Gauss_Sigma_Raman_STD | Diad1_Gauss_Cent_Raman_STD | Diad1_Gauss_Area_Raman_STD | Diad1_Gauss_Sigma_Raman_STD | Diad1_Asym50_Raman_STD | Diad1_Asym70_Raman_STD | Diad1_Yuan2017_sym_factor_Raman_STD | Diad1_Remigi2021_BSF_Raman_STD | Diad2_Asym50_Raman_STD | Diad2_Asym70_Raman_STD | Diad2_Yuan2017_sym_factor_Raman_STD | Diad2_Remigi2021_BSF_Raman_STD | Day_Raman_STD | Int_time (s)_Raman_STD | accumulations_Raman_STD | Mag (X)_Raman_STD | sec since midnight_Raman_STD | Peak_Cent_SO2_Raman_STD | Peak_Area_SO2_Raman_STD | Peak_Height_SO2_Raman_STD | SO2_Diad_Ratio_Raman_STD | SO2_mol_ratio_Raman_STD | time_Raman_STD | preferred_values_Raman_STD | lower_values_Raman_STD | upper_values_Raman_STD | Notes regarding SEM matching_Raman_STD | EBSD_grainID_Raman_STD | Unnamed: 20_Raman_STD | Area_Raman_STD | FI_axis_a_um_Raman_STD | FI_axis_b_um_Raman_STD | Angle_Raman_STD | pixels wide_Raman_STD | pixels high_Raman_STD | mag_Raman_STD | decrepit_Raman_STD | sulfide_Raman_STD | averaged?
0 | FG04-A1-4-100X-start_r4 | 0.69646 | 0.0060995 | 0.0056093 | 0.0023923 | 104.339 | 0.010976 | 0.001514 | 0.010895 | 5.984 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.62952 | 0.009534 | 0.69646 | 0.0060995 | 0.69531 | 0.0052326 | SupCrit | 104.5689 | 0.010895 | 1282.8034 | 0.0093028 | 272.2257 | 1282.8034 | 773.5669 | 0.99294 | 2.6816 | 0.79385 | 1.9859 | Flagged Warnings: | 1387.3723 | 0.0056586 | 546.2615 | 1387.3723 | 1294.2332 | 0.81104 | 0 | 3.474 | 0.84113 | 1.6221 | Flagged Warnings: | [15 empty] | 1.0771 | 1.0625 | 0.15607 | 0.0072994 | 1.0617 | 1.0631 | 0.099913 | 0.0029745 | PseudoVoigtModel | PseudoVoigtModel | Yes | January 10, 2025 | January | 10 | 45 | 4.3333 | 100 | ['0h', '2m', '16s'] | 11:57:33 AM | 43443.6667 | [6 empty] | 43443.6667 | 0.9978 | 0.99779 | 0.99782 | 2025-01-10 | Std |  | FG04 | A1 |  | 4 | FG04_A1 | FG04_A1 | FG04-A1-4-100X-start-45667 | [22 empty] | 0.004833 | 0.00036871 | 0.00040056 | 1.2347e-06 | 0.0094584 | 0.00076958 | 3.6303e-06 | 0.00077847 | 0.014107 | 0 | 0 | 0 |  |  | 0.0037478 | 0.00016368 | 0.004833 | 0.00036871 | 0.0042897 | 0.00032129 | 0.0095111 | 0.00077847 | 0.018558 | 0.00088984 | 12.0332 | 0.018558 | 43.7108 | 0.023845 | 0.43809 | 0.031012 | 0.047691 | 0.0093081 | 0.00016442 | 28.2478 | 0.0093081 | 70.5007 | 0.0032385 | 0 | 0.11759 | 0.025909 | 0.0064771 | [15 empty] | 0.12775 | 0.09796 | 0.2587 | 0.00015024 | 0.026583 | 0.042272 | 0.042871 | 0.00014829 | 0 | 0 | 1.1547 | 0 | 373.8266 | [5 empty] | 373.8266 | 3.0522e-07 | 3.3863e-07 | 2.7182e-07 | [12 empty] | Yes
1 | FG04-A1-4-50X-end_r7 | 0.68807 | 0.004044 | 0.0032347 | 0.0023901 | 104.3225 | 0.0063576 | 0.0016142 | 0.0061501 | 6.04 | 1324.767 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.62301 | 0.0087843 | 0.68807 | 0.004044 | 0.68782 | 0.0033395 | SupCrit | 104.5505 | 0.0061501 | 1282.9553 | 0.0056916 | 723.3785 | 1282.9554 | 1999.5603 | 0.95324 | 4.893 | 0.8256 | 1.9065 | Flagged Warnings: | 1387.5059 | 0.002239 | 1441.2956 | 1387.5058 | 3364.7815 | 0.80217 | 0 | 3.7026 | 0.83406 | 1.6043 | Flagged Warnings: | 1262.706 | 306.0563 | 2.7863 | 1408.8233 | 442.7878 | 2.3861 | [9 empty] | 1.0424 | 1.0212 | 0.080757 | 0.002636 | 1.0666 | 1.0568 | 0.10691 | 0.0011131 | PseudoVoigtModel | PseudoVoigtModel | Yes | January 10, 2025 | January | 10 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 6:24:08 PM | 66512.6667 | [6 empty] | 66512.6667 | 0.99782 | 0.9978 | 0.99784 | 2025-01-10 | Std |  | FG04 | A1 |  | 4 | FG04_A1 | FG04_A1 | FG04-A1-4-50X-end-45667 | [22 empty] | 0.004571 | 0.0006375 | 0.0008211 | 1.1419e-06 | 0.0089881 | 0.0016173 | 4.6516e-06 | 0.0016913 | 0.010583 | 0 | 0 | 0 |  |  | 0.0035614 | 0.00016295 | 0.004571 | 0.0006375 | 0.0041118 | 0.00063323 | 0.009011 | 0.0016913 | 0.01133 | 0.0018666 | 9.3012 | 0.011319 | 35.9329 | 0.021651 | 1.3893 | 0.017486 | 0.043302 | 0.0023737 | 2.2045e-05 | 9.4453 | 0.0023737 | 23.9273 | 0.0026801 | 0 | 0.11794 | 0.0050172 | 0.0053602 |  |  |  | 0.060488 | 6.499 | 0.027152 | [9 empty] | 0.01846 | 0.015283 | 0.035107 | 7.7549e-05 | 0.0065692 | 0.0094484 | 0.010868 | 5.5902e-06 | 0 | 0 | 0 | 0 | 271.7579 | [5 empty] | 271.7579 | 2.2189e-07 | 1.7723e-07 | 2.6654e-07 | [12 empty] | Yes
2 | FG04-A1-4-50X-start_r1 | 0.69081 | 0.0031087 | 0.0019859 | 0.0023908 | 104.3279 | 0.0038976 | 0.0015284 | 0.0035926 | 5.9797 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.62512 | 0.0085672 | 0.69081 | 0.0031087 | 0.69024 | 0.002401 | SupCrit | 104.5579 | 0.0035926 | 1282.822 | 0.0030649 | 849.6381 | 1282.8221 | 2405.1181 | 0.99976 | 3.263 | 0.77274 | 1.9995 | Flagged Warnings: | 1387.38 | 0.0018542 | 1734.759 | 1387.38 | 4062.1574 | 0.81548 | 0 | 3.9464 | 0.8038 | 1.631 | Flagged Warnings: | 1262.7957 | 369.3205 | 2.994 | 1408.6937 | 523.1565 | 2.3801 | 1369.6651 | 63.3843 | 0.40828 | [6 empty] | 1.0319 | 1.0241 | 0.063997 | 0.0023589 | 1.0664 | 1.0679 | 0.10806 | 0.00094232 | PseudoVoigtModel | PseudoVoigtModel | Yes | January 10, 2025 | January | 10 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 11:35:01 AM | 42005 | [6 empty] | 42005 | 0.9978 | 0.99779 | 0.99781 | 2025-01-10 | Std |  | FG04 | A1 |  | 4 | FG04_A1 | FG04_A1 | FG04-A1-4-50X-start-45667 | [22 empty] | 0.010123 | 6.3057e-05 | 9.9935e-05 | 2.5395e-06 | 0.019888 | 0.00019989 | 3.2539e-06 | 0.00021711 | 0.021127 | 0 | 0 | 0 |  |  | 0.0078806 | 9.4117e-05 | 0.010123 | 6.3057e-05 | 0.009084 | 7.1617e-05 | 0.019914 | 0.00021711 | 0.030761 | 0.00018604 | 45.3196 | 0.030761 | 110.044 | 0.011768 | 0.018881 | 0.0095126 | 0.023537 | 0.0114 | 0.00035449 | 94.7684 | 0.0114 | 203.6454 | 0.0066813 | 0 | 0.37156 | 0.0072734 | 0.013363 | 0.081687 | 24.6252 | 0.035727 | 0.038285 | 24.7576 | 0.10539 | 0.021393 | 5.5698 | 0.0041788 | [6 empty] | 0.027332 | 0.017469 | 0.055286 | 0.00015569 | 0.01802 | 0.026504 | 0.028643 | 5.9333e-05 | 0 | 0 | 0 | 0 | 315.5757 | [5 empty] | 315.5757 | 2.5766e-07 | 2.906e-07 | 2.2473e-07 | [12 empty] | Yes
3 | FG04-A1-4-end_r4 | 0.69437 | 0.0051547 | 0.0045406 | 0.0023918 | 104.3349 | 0.0089039 | 0.00071211 | 0.0088935 | 6.004 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.62789 | 0.0092031 | 0.69437 | 0.0051547 | 0.69342 | 0.0043768 | SupCrit | 104.5668 | 0.0088935 | 1282.8224 | 0.0080763 | 450.3299 | 1282.8224 | 1284.4634 | 0.97541 | 4.0668 | 0.85042 | 1.9508 | Flagged Warnings: | 1387.3892 | 0.0036433 | 889.6761 | 1387.3892 | 2100.2518 | 0.82064 | 0 | 3.087 | 0.81134 | 1.6413 | Flagged Warnings: |  |  |  | 1408.6539 | 312.5399 | 2.4089 | [9 empty] | 1.0392 | 1.0448 | 0.076506 | 0.0048197 | 1.0458 | 1.0454 | 0.075173 | 0.0020376 | PseudoVoigtModel | PseudoVoigtModel | Yes | January 13, 2025 | January | 13 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:37:18 PM | 52891.3333 | [6 empty] | 52891.3333 | 0.99778 | 0.99778 | 0.99779 | 2025-01-13 | Std |  | FG04 | A1 |  | 4 | FG04_A1 | FG04_A1 | FG04-A1-4-end-45670 | [22 empty] | 0.010112 | 0.0011828 | 0.0013225 | 2.5538e-06 | 0.019838 | 0.0026433 | 4.8494e-06 | 0.0026571 | 0.0091652 | 0 | 0 | 0 |  |  | 0.0078607 | 0.00034247 | 0.010112 | 0.0011828 | 0.0090377 | 0.0011658 | 0.019914 | 0.0026571 | 0.043639 | 0.0020033 | 155.8449 | 0.043639 | 432.961 | 0.0082102 | 0.69975 | 0.039097 | 0.01642 | 0.024273 | 0.0019845 | 300.7397 | 0.0243 | 697.0952 | 0.0040253 | 0 | 0.21487 | 0.016386 | 0.0080506 |  |  |  | 0.020875 | 15.8542 | 0.0528 | [9 empty] | 0.022977 | 0.024808 | 0.044779 | 0.0021157 | 0.010874 | 0.01797 | 0.018119 | 0.00085587 | 0 | 0 | 0 | 0 | 256.5586 | [5 empty] | 256.5586 | 3.3955e-07 | 3.8478e-07 | 2.9432e-07 | [12 empty] | Yes
4 | FG04-A1-4-start_r1 | 0.69332 | 0.0043972 | 0.0036896 | 0.0023915 | 104.3329 | 0.0072316 | 0.00064952 | 0.0072182 | 6.0927 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.62709 | 0.0089238 | 0.69332 | 0.0043972 | 0.69252 | 0.0036634 | SupCrit | 104.563 | 0.0072182 | 1282.8416 | 0.0069441 | 579.2018 | 1282.8416 | 1670.4808 | 1.001 | 4.7075 | 0.80942 | 2.0021 | Flagged Warnings: | 1387.4046 | 0.0019624 | 1183.4803 | 1387.4047 | 2691.845 | 0.81182 | 0 | 2.2747 | 0.75969 | 1.6236 | Flagged Warnings: |  |  |  | 1408.7989 | 300.3199 | 2.0802 |  |  |  | 1382.7943 | 285.8161 | 14.8316 |  |  |  | 1.0226 | 1.0116 | 0.045619 | 0.0034669 | 1.0493 | 1.0428 | 0.079984 | 0.0013782 | PseudoVoigtModel | PseudoVoigtModel | Yes | January 13, 2025 | January | 13 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 11:10:44 AM | 40566.6667 | [6 empty] | 40566.6667 | 0.9978 | 0.99779 | 0.9978 | 2025-01-13 | Std |  | FG04 | A1 |  | 4 | FG04_A1 | FG04_A1 | FG04-A1-4-start-45670 | [22 empty] | 0.0036801 | 0.00010201 | 0.00012141 | 9.3513e-07 | 0.0072105 | 0.00023049 | 2.9003e-06 | 0.00023221 | 0.046231 | 0 | 0 | 0 |  |  | 0.0028571 | 5.5202e-05 | 0.0036801 | 0.00010201 | 0.0032771 | 8.8888e-05 | 0.0072524 | 0.00023221 | 0.018138 | 0.00027175 | 41.993 | 0.018138 | 129.0464 | 0.010731 | 0.4412 | 0.023443 | 0.021462 | 0.010978 | 0.0001648 | 99.369 | 0.010978 | 238.7036 | 0.006039 | 0 | 0.07333 | 0.0095321 | 0.012078 |  |  |  | 0.0052033 | 10.977 | 0.15533 |  |  |  | 1.9838 | 42.1896 | 1.8821 |  |  |  | 0.033397 | 0.013945 | 0.067505 | 0.00021452 | 0.0021221 | 0.022575 | 0.0040113 | 0.00011262 | 0 | 0 | 0 | 0 | 304.114 | [5 empty] | 304.114 | 4.0249e-07 | 3.745e-07 | 4.3048e-07 | [12 empty] | Yes
5 | K20_c001_a1_FIA | 0.11571 | 0.0045669 | 0.002501 | 0.0038212 | 103.0423 | 0.0063119 | 0.0014768 | 0.0061502 | 9.979 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11571 | 0.0045669 | 0.11874 | 0.0034742 | -0.072373 | 0.0049914 | SupCrit | 103.2692 | 0.0061502 | 1285.6923 | 0.0056969 | 364.095 | 1285.6923 | 590.6781 | 0.62569 | 2.3999 | 0.55506 | 1.2514 | Flagged Warnings: | 1388.9615 | 0.0023176 | 672.8418 | 1388.9614 | 899.7015 | 0.51332 | 0 | 1.866 | 0.56702 | 1.0266 | Flagged Warnings: |  |  |  | 1410.3128 | 95.3143 | 0.69851 | [9 empty] | 1.1064 | 1.0176 | 0.1332 | 0.003437 | 1.1552 | 1.1934 | 0.15931 | 0.0015258 | PseudoVoigtModel | PseudoVoigtModel | No | January 10, 2025 | January | 10 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 12:43:01 PM | 45781 | 1150.9247 | 280.2177 | 157.0894 | Spline | 0.18802 | 0.075134 | 45781 | 0.9978 | 0.99779 | 0.99782 | 2025-01-10 | Sample | KS20-527 | K20 | c001 | a1 | FIA | K20_c001 | K20_c001_a1 | K20_c001_a1_FIA | K20_c001_a1 |  | \K20_c001 | 257 | \K20_c001_257 |  | P | isolated | 1 | 39515 | 232.265 | 216.615 | 120.034 | 1920 | 1200 | 50 |  |  |  |  | Ellipsoid | [91 empty] | No
6 | K20_c002_a1_FIA | 0.13698 | 0.0040032 | 0.0010497 | 0.0038631 | 103.0959 | 0.0026493 | 0.0014665 | 0.0022112 | 10.093 | 1324.767 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13698 | 0.0040032 | 0.14026 | 0.0026089 | -0.033473 | 0.0026855 | SupCrit | 103.3228 | 0.0022112 | 1285.7646 | 0.0019165 | 1444.066 | 1285.7647 | 2393.5906 | 0.60997 | 3.6085 | 0.67207 | 1.2199 | Flagged Warnings: | 1389.0875 | 0.0011029 | 2663.5372 | 1389.0875 | 3596.5077 | 0.52172 | 0 | 4.1472 | 0.55059 | 1.0434 | Flagged Warnings: | 1265.5185 | 247.4046 | 0.75981 | 1410.4349 | 392.7246 | 0.69715 | 1370.9354 | 54.7939 | 0.26042 | [6 empty] | 1.2187 | 1.1975 | 0.26675 | 0.0008448 | 1.0058 | 1.0112 | 0.0060141 | 0.00039175 | PseudoVoigtModel | PseudoVoigtModel | No | January 10, 2025 | January | 10 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 1:17:48 PM | 47868 | 1151.0819 | 536.9914 | 382.2598 | Spline | 0.089647 | 0.03729 | 47868 | 0.9978 | 0.99779 | 0.99782 | 2025-01-10 | Sample | KS20-527 | K20 | c002 | a1 | FIA | K20_c002 | K20_c002_a1 | K20_c002_a1_FIA | K20_c002_a1 |  | \K20_c002 | 129 | \K20_c002_129 |  | P | isolated | 2 | 53623 | 270.565 | 252.342 | 153.743 | 1920 | 1200 | 50 |  |  |  |  | Capsule (short) | [91 empty] | No
7 | K20_c002_a1_FIB | 0.13073 | 0.0040214 | 0.0011666 | 0.0038485 | 103.0802 | 0.0029441 | 0.0014652 | 0.0025592 | 10.087 | 1324.767 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13073 | 0.0040214 | 0.13393 | 0.0026602 | -0.044831 | 0.0028507 | SupCrit | 103.3069 | 0.0025592 | 1285.825 | 0.0022748 | 1253.7415 | 1285.8251 | 1985.7798 | 0.59498 | 3.7048 | 0.62157 | 1.19 | Flagged Warnings: | 1389.1321 | 0.0011726 | 2324.2158 | 1389.132 | 3014.6194 | 0.49862 | 0 | 4.3347 | 0.56347 | 0.99724 | Flagged Warnings: | 1265.5876 | 217.8165 | 0.82369 | 1410.4446 | 329.3086 | 0.63808 | 1370.9977 | 48.5941 | 0.2488 | [6 empty] | 1.1647 | 1.1515 | 0.19595 | 0.00094913 | 1.1049 | 1.1133 | 0.10465 | 0.00042907 | PseudoVoigtModel | PseudoVoigtModel | No | January 10, 2025 | January | 10 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 1:22:42 PM | 48162 | 1151.1308 | 219.6892 | 135.4261 | Spline | 0.043934 | 0.018629 | 48162 | 0.99781 | 0.99779 | 0.99782 | 2025-01-10 | Sample | KS20-527 | K20 | c002 | a1 | FIB | K20_c002 | K20_c002_a1 | K20_c002_a1_FIB | K20_c002_a1 |  | \K20_c002 | 129 | \K20_c002_129 |  | P | isolated | 3 | 16374 | 152.918 | 136.335 | 169.991 | 1920 | 1200 | 50 |  |  |  |  | Circular | [91 empty] | No
8 | K20_c003_a1_FIA_r2 | 0.070133 | 0.0061592 | 0.0048375 | 0.0038091 | 102.9273 | 0.012208 | 0.0014599 | 0.012147 | 10.093 | 1324.767 | 0 | 0 | Y | SupCrit, low density |  |  | 0.070133 | 0.0061592 | 0.073005 | 0.0053965 | -0.15783 | 0.0094227 | SupCrit | 103.1536 | 0.012147 | 1286.1438 | 0.010403 | 141.6816 | 1286.1438 | 190.76 | 0.51898 | 1.996 | 0.55486 | 1.038 | Flagged Warnings: | 1389.2974 | 0.0062677 | 244.4205 | 1389.2974 | 279.3843 | 0.44952 | 0 | 1.9526 | 0.50576 | 0.89904 | Flagged Warnings: | [15 empty] | 1.1408 | 1.1265 | 0.14489 | 0.0073713 | 1.1464 | 1.2106 | 0.13166 | 0.0036886 | PseudoVoigtModel | PseudoVoigtModel | No | January 10, 2025 | January | 10 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 1:37:33 PM | 49184.5 | 1151.2775 | 140.1484 | 71.943 | Spline | 0.28388 | 0.10925 | 49184.5 | 0.99781 | 0.99779 | 0.99782 | 2025-01-10 | Sample | KS20-527 | K20 | c003 | a1 | FIA | K20_c003 | K20_c003_a1 | K20_c003_a1_FIA | K20_c003_a1 |  | \K20_c003 | 311 | \K20_c003_311 |  | P | isolated | 1 | 15331 | 144.193 | 135.374 | 97.294 | 1920 | 1200 | 50 |  |  |  |  | Circular |  | 0.0038951 | 0.00028159 | 0.00036128 | 3.5067e-06 | 0.0098302 | 0.00091178 | 5.9741e-07 | 0.00092034 | 0.0014142 | 0 | 0 | 0 |  |  | 0.0038951 | 0.00028159 | 0.0038892 | 0.0003257 | 0.0074232 | 0.00064779 | 0.0098675 | 0.00092034 | 0.010656 | 0.00093616 | 12.5971 | 0.010656 | 18.613 | 0.025666 | 0.16031 | 0.14811 | 0.051331 | 0.00078807 | 0.0002298 | 14.5583 | 0.00078807 | 14.6947 | 0.015652 | 0 | 0.090493 | 0.072307 | 0.031305 | [15 empty] | 0.049135 | 0.064272 | 0.043773 | 0.0010177 | 0.0018591 | 0.027169 | 0.0062549 | 0.00034778 | 0 | 0 | 0 | 0 | 185.9691 | [5 empty] | 185.9691 | 1.5184e-07 | 1.5628e-07 | 1.474e-07 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Yes
9 | K20_c004_a1_FIA | 0.12303 | 0.0048045 | 0.0028967 | 0.0038331 | 103.0607 | 0.0073105 | 0.0014599 | 0.007179 | 10.102 | 1324.767 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12303 | 0.0048045 | 0.12613 | 0.003777 | -0.058916 | 0.005643 | SupCrit | 103.2873 | 0.007179 | 1285.8287 | 0.0068625 | 354.4623 | 1285.8287 | 566.8277 | 0.57366 | 2.8675 | 0.733 | 1.1473 | Flagged Warnings: | 1389.1161 | 0.0021081 | 647.8962 | 1389.116 | 838.0925 | 0.49585 | 0 | 2.0617 | 0.57071 | 0.99171 | Flagged Warnings: |  |  |  | 1410.4888 | 86.1198 | 0.69109 | [9 empty] | 1.177 | 1.1685 | 0.2031 | 0.0032368 | 1.0479 | 1.0563 | 0.047507 | 0.0015307 | PseudoVoigtModel | PseudoVoigtModel | No | January 10, 2025 | January | 10 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 1:56:17 PM | 50177 | 1151.1064 | 95.7896 | 72.9613 | Spline | 0.068182 | 0.028617 | 50177 | 0.99781 | 0.99779 | 0.99782 | 2025-01-10 | Sample | KS20-527 | K20 | c004 | a1 | FIA | K20_c004 | K20_c004_a1 | K20_c004_a1_FIA | K20_c004_a1 |  | \K20_c004 | 190 | \K20_c004_190 |  | P | cluster | 2 | 14891 | 150.451 | 126.019 | 31.202 | 1920 | 1200 | 50 |  |  |  |  | Capsule (short) | [91 empty] | No
10 | K20_c004_a2_FIB | 0.11463 | 0.0043606 | 0.0021035 | 0.0038197 | 103.0395 | 0.0053086 | 0.0014592 | 0.0051154 | 10.088 | 1324.767 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11463 | 0.0043606 | 0.11765 | 0.0031946 | -0.074377 | 0.0043266 | SupCrit | 103.266 | 0.0051154 | 1285.8782 | 0.0047522 | 382.3592 | 1285.8782 | 593.0403 | 0.58922 | 2.1451 | 0.59344 | 1.1784 | Flagged Warnings: | 1389.1443 | 0.001893 | 708.8232 | 1389.1442 | 911.9026 | 0.49058 | 0 | 2.1103 | 0.58394 | 0.98117 | Flagged Warnings: | 1265.6555 | 56.341 | 0.71198 | 1410.4875 | 103.7672 | 0.64678 | [9 empty] | 1.0991 | 1.1385 | 0.11678 | 0.003082 | 1.1289 | 1.1324 | 0.1265 | 0.0013842 | PseudoVoigtModel | PseudoVoigtModel | No | January 10, 2025 | January | 10 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 2:02:29 PM | 50549 | 1151.1553 | 103.0619 | 69.4425 | Spline | 0.068482 | 0.028739 | 50549 | 0.99781 | 0.99779 | 0.99782 | 2025-01-10 | Sample | KS20-527 | K20 | c004 | a2 | FIB | K20_c004 | K20_c004_a2 | K20_c004_a2_FIB | K20_c004_a2 |  | \K20_c004 | 190 | \K20_c004_190 |  | P | cluster | 1 | 12632 | 138.611 | 116.034 | 22.583 | 1920 | 1200 | 50 |  |  |  |  | Ellipsoid | [91 empty] | No
11 | K20_c004_a3_FIC | 0.1173 | 0.0047725 | 0.002856 | 0.0038236 | 103.0463 | 0.0072078 | 0.0014591 | 0.0070741 | 10.089 | 1324.767 | 0 | 0 | Y | SupCrit, low density |  |  | 0.1173 | 0.0047725 | 0.12035 | 0.003743 | -0.069445 | 0.0055954 | SupCrit | 103.2727 | 0.0070741 | 1285.8742 | 0.0065768 | 303.877 | 1285.8742 | 462.9486 | 0.60212 | 2.4794 | 0.49197 | 1.2042 | Flagged Warnings: | 1389.147 | 0.0026055 | 557.5463 | 1389.1469 | 710.4287 | 0.48816 | 0 | 2.1317 | 0.57217 | 0.97632 | Flagged Warnings: |  |  |  | 1410.4848 | 73.5898 | 0.72769 | [9 empty] | 1.0965 | 1.0973 | 0.1162 | 0.0039629 | 1.2059 | 1.2194 | 0.20101 | 0.0017511 | PseudoVoigtModel | PseudoVoigtModel | No | January 10, 2025 | January | 10 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:07:56 PM | 50876 | 1151.0819 | 95.5473 | 63.6857 | Spline | 0.081429 | 0.033988 | 50876 | 0.99781 | 0.99779 | 0.99782 | 2025-01-10 | Sample | KS20-527 | K20 | c004 | a3 | FIC | K20_c004 | K20_c004_a3 | K20_c004_a3_FIC | K20_c004_a3 |  | \K20_c004 | 190 | \K20_c004_190 |  | P | cluster | 2 | 9730 | 121.617 | 101.866 | 55.39 | 1920 | 1200 | 50 |  |  |  |  | Ellipsoid | [91 empty] | No
12 | K20_c004_a3_FID | 0.12447 | 0.006192 | 0.0048609 | 0.0038357 | 103.0644 | 0.012268 | 0.0014593 | 0.012207 | 10.098 | 1324.767 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12447 | 0.006192 | 0.12759 | 0.0054637 | -0.056275 | 0.0091055 | SupCrit | 103.2909 | 0.012207 | 1285.8416 | 0.011783 | 236.2592 | 1285.8416 | 367.9629 | 0.57837 | 2.4738 | 0.64966 | 1.1567 | Flagged Warnings: | 1389.1325 | 0.0031898 | 433.4706 | 1389.1325 | 550.1847 | 0.48992 | 0 | 2.3917 | 0.55305 | 0.97985 | Flagged Warnings: |  |  |  | 1410.4611 | 52.3161 | 0.6282 | [9 empty] | 1.1844 | 1.2432 | 0.21327 | 0.004896 | 1.1262 | 1.1305 | 0.12364 | 0.0022605 | PseudoVoigtModel | PseudoVoigtModel | No | January 10, 2025 | January | 10 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:12:38 PM | 51158 | 1151.0819 | 64.4173 | 43.8131 | Spline | 0.07016 | 0.029422 | 51158 | 0.99781 | 0.99779 | 0.99782 | 2025-01-10 | Sample | KS20-527 | K20 | c004 | a3 | FID | K20_c004 | K20_c004_a3 | K20_c004_a3_FID | K20_c004_a3 |  | \K20_c004 | 190 | \K20_c004_190 |  | P | cluster | 3 | 6667 | 100.66 | 84.33 | 57.217 | 1920 | 1200 | 50 |  |  |  |  | Negative crystal | [91 empty] | No
13 | K20_c004_a3_FIE | 0.11576 | 0.0048873 | 0.0030468 | 0.0038213 | 103.0424 | 0.0076893 | 0.0014591 | 0.0075662 | 10.086 | 1324.767 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11576 | 0.0048873 | 0.11879 | 0.0038926 | -0.072281 | 0.0059334 | SupCrit | 103.2688 | 0.0075662 | 1285.8736 | 0.0071679 | 268.8579 | 1285.8736 | 411.3084 | 0.59829 | 2.4658 | 0.51936 | 1.1966 | Flagged Warnings: | 1389.1425 | 0.0024227 | 486.6157 | 1389.1424 | 634.4698 | 0.51044 | 0 | 1.827 | 0.51671 | 1.0209 | Flagged Warnings: |  |  |  | 1410.4214 | 55.5656 | 0.8289 | [9 empty] | 1.1 | 1.0955 | 0.11966 | 0.0044506 | 1.1469 | 1.1509 | 0.14994 | 0.0020979 | PseudoVoigtModel | PseudoVoigtModel | No | January 10, 2025 | January | 10 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:20:54 PM | 51654 | 1151.1308 | 83.0532 | 57.9384 | Spline | 0.079418 | 0.033176 | 51654 | 0.99781 | 0.99779 | 0.99782 | 2025-01-10 | Sample | KS20-527 | K20 | c004 | a3 | FIE | K20_c004 | K20_c004_a3 | K20_c004_a3_FIE | K20_c004_a3 |  | \K20_c004 | 190 | \K20_c004_190 |  | P | cluster | [13 empty] | No image | [90 empty] | No
14 | K20_c005_a1_FIA | 0.095289 | 0.0040456 | 0.0013814 | 0.0038025 | 102.9907 | 0.0034863 | 0.0014588 | 0.0031733 | 10.099 | 1324.767 | 0 | 0 | Y | SupCrit, low density |  |  | 0.095289 | 0.0040456 | 0.098189 | 0.0027672 | -0.11031 | 0.0032251 | SupCrit | 103.217 | 0.0031733 | 1286.0219 | 0.0028206 | 546.737 | 1286.0219 | 789.3359 | 0.56798 | 1.9358 | 0.50414 | 1.136 | Flagged Warnings: | 1389.2389 | 0.0014541 | 995.2257 | 1389.2389 | 1167.1901 | 0.46544 | 0 | 2.054 | 0.4813 | 0.93087 | Flagged Warnings: | 1265.6803 | 85.3629 | 0.66951 | 1410.595 | 131.0258 | 0.64057 | [9 empty] | 1.1473 | 1.1174 | 0.16737 | 0.0020777 | 1.2325 | 1.2655 | 0.2164 | 0.00093534 | PseudoVoigtModel | PseudoVoigtModel | No | January 10, 2025 | January | 10 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:30:23 PM | 52223 | 1151.3509 | 68.6249 | 41.0474 | Spline | 0.035075 | 0.014929 | 52223 | 0.99781 | 0.99779 | 0.99782 | 2025-01-10 | Sample | KS20-527 | K20 | c005 | a1 | FIA | K20_c005 | K20_c005_a1 | K20_c005_a1_FIA | K20_c005_a1 |  | \K20_c005 | 262 | \K20_c005_262 |  | P | cluster | 4 | 29895 | 198.314 | 191.936 | 147.524 | 1920 | 1200 | 50 |  | yes |  |  | Negative crystal | [91 empty] | No
15 | K20_c005_a2_FIB | 0.068034 | 0.0041446 | 0.0016294 | 0.0038109 | 102.922 | 0.0041121 | 0.0014583 | 0.0038533 | 10.088 | 1324.767 | 0 | 0 | Y | SupCrit, low density |  |  | 0.068034 | 0.0041446 | 0.070908 | 0.0029026 | -0.16183 | 0.0036717 | SupCrit | 103.148 | 0.0038533 | 1286.1345 | 0.0034097 | 465.3886 | 1286.1346 | 630.7828 | 0.54775 | 2.1678 | 0.43333 | 1.0955 | Flagged Warnings: | 1389.2826 | 0.001795 | 830.1509 | 1389.2826 | 949.8747 | 0.45297 | 0 | 1.8673 | 0.48779 | 0.90594 | Flagged Warnings: | 1265.9065 | 61.2269 | 0.52103 | 1410.6031 | 101.3263 | 0.55318 | [9 empty] | 1.0858 | 1.0494 | 0.093993 | 0.002354 | 1.1762 | 1.2362 | 0.15967 | 0.0010913 | PseudoVoigtModel | PseudoVoigtModel | No | January 10, 2025 | January | 10 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:35:15 PM | 52515 | 1151.2775 | 446.5381 | 233.4041 | Spline | 0.2825 | 0.10878 | 52515 | 0.99781 | 0.99779 | 0.99782 | 2025-01-10 | Sample | KS20-527 | K20 | c005 | a2 | FIB | K20_c005 | K20_c005_a2 | K20_c005_a2_FIB | K20_c005_a2 |  | \K20_c005 | 262 | \K20_c005_262 |  | P | cluster | 1 | 26894 | 188.101 | 182.043 | 113.004 | 1920 | 1200 | 50 |  | yes | yes |  | Negative crystal | [91 empty] | No
16 | K20_c005_a3_FIC | 0.084521 | 0.0047909 | 0.002916 | 0.0038012 | 102.9636 | 0.0073592 | 0.0014594 | 0.0072289 | 10.096 | 1324.767 | 0 | 0 | Y | SupCrit, low density |  |  | 0.084521 | 0.0047909 | 0.087392 | 0.003779 | -0.13054 | 0.0058314 | SupCrit | 103.1897 | 0.0072289 | 1286.1172 | 0.0064036 | 239.9858 | 1286.1172 | 317.668 | 0.52136 | 2.1138 | 0.50095 | 1.0427 | Flagged Warnings: | 1389.307 | 0.0033542 | 394.9327 | 1389.3069 | 465.5791 | 0.46799 | 0 | 1.7291 | 0.48042 | 0.93599 | Flagged Warnings: |  |  |  | 1410.6224 | 46.3009 | 0.75391 | [9 empty] | 1.2215 | 1.2139 | 0.23096 | 0.004345 | 1.1264 | 1.1616 | 0.1183 | 0.00237 | PseudoVoigtModel | PseudoVoigtModel | No | January 10, 2025 | January | 10 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:40:12 PM | 52812 | 1151.3998 | 90.4145 | 51.7596 | Spline | 0.11544 | 0.047507 | 52812 | 0.99781 | 0.99779 | 0.99782 | 2025-01-10 | Sample | KS20-527 | K20 | c005 | a3 | FIC | K20_c005 | K20_c005_a3 | K20_c005_a3_FIC | K20_c005_a3 |  | \K20_c005 | 262 | \K20_c005_262 |  | P | cluster | 2 | 5623 | 86.03 | 83.22 | 101.298 | 1920 | 1200 | 50 |  |  |  |  | Ellipsoid | [91 empty] | No
17 | K20_c006_a1_FIA | 0.11738 | 0.0065292 | 0.0052925 | 0.0038237 | 103.0465 | 0.013357 | 0.0014618 | 0.013306 | 10.095 | 1324.767 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11738 | 0.0065292 | 0.12043 | 0.0058513 | -0.069293 | 0.0099312 | SupCrit | 103.2727 | 0.013306 | 1285.8982 | 0.012272 | 130.6916 | 1285.8982 | 198.3908 | 0.62132 | 2.0387 | 0.39904 | 1.2426 | Flagged Warnings: | 1389.171 | 0.0051412 | 246.6633 | 1389.171 | 303.2738 | 0.46353 | 0 | 2.0071 | 0.61236 | 0.92705 | Flagged Warnings: | [15 empty] | 1.0387 | 1 | 0.048058 | 0.0095082 | 1.2027 | 1.21 | 0.18792 | 0.0037584 | PseudoVoigtModel | PseudoVoigtModel | No | January 10, 2025 | January | 10 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 2:49:07 PM | 53347 | 1144.3328 | 193.1434 | 277.0045 | Spline | 0.385 | 0.14263 | 53347 | 0.99781 | 0.9978 | 0.99782 | 2025-01-10 | Sample | KS20-527 | K20 | c006 | a1 | FIA | K20_c006 | K20_c006_a1 | K20_c006_a1_FIA | K20_c006_a1 |  | \K20_c006 | 53 | \K20_c006_53 |  | S | plane | [13 empty] | No image | [90 empty] | No
18 | K20_c007_a1_FIA | 0.090227 | 0.004242 | 0.0018831 | 0.0038012 | 102.978 | 0.0047525 | 0.0014643 | 0.0045312 | 10.094 | 1324.767 | 0 | 0 | Y | SupCrit, low density |  |  | 0.090227 | 0.004242 | 0.093111 | 0.003051 | -0.1198 | 0.0040307 | SupCrit | 103.204 | 0.0045312 | 1286.0213 | 0.0041557 | 412.3429 | 1286.0213 | 593.0603 | 0.55595 | 2.0705 | 0.54952 | 1.1119 | Flagged Warnings: | 1389.2253 | 0.001806 | 730.8377 | 1389.2253 | 867.9275 | 0.45525 | 0 | 1.6298 | 0.57055 | 0.91051 | Flagged Warnings: | 1265.6962 | 58.2176 | 0.65599 | 1410.5482 | 94.2427 | 0.64249 | [9 empty] | 1.1438 | 1.1126 | 0.15986 | 0.0026965 | 1.2509 | 1.289 | 0.22847 | 0.0012458 | PseudoVoigtModel | PseudoVoigtModel | No | January 10, 2025 | January | 10 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 3:07:14 PM | 54434 | 1151.1308 | 253.8841 | 150.1203 | Spline | 0.17378 | 0.06984 | 54434 | 0.99781 | 0.9978 | 0.99782 | 2025-01-10 | Sample | KS20-527 | K20 | c007 | a1 | FIA | K20_c007 | K20_c007_a1 | K20_c007_a1_FIA | K20_c007_a1 |  | \K20_c007 | 61 | \K20_c007_61 |  | P | isolated | 1 | 12969 | 139.188 | 118.636 | 67.59 | 1920 | 1200 | 50 |  | yes |  |  | Capsule (long) | [91 empty] | No
19 | K20_c007_a2_FIB | 0.11409 | 0.003994 | 0.0011693 | 0.003819 | 103.0382 | 0.0029511 | 0.0014674 | 0.002566 | 10.087 | 1324.767 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11409 | 0.003994 | 0.11711 | 0.0026637 | -0.075356 | 0.0028836 | SupCrit | 103.2643 | 0.002566 | 1285.9057 | 0.0022556 | 1584.5825 | 1285.9058 | 2460.6353 | 0.58953 | 4.8977 | 0.59515 | 1.1791 | Flagged Warnings: | 1389.1701 | 0.0012235 | 2929.6468 | 1389.1701 | 3667.7987 | 0.48496 | 0 | 5.2494 | 0.54406 | 0.96991 | Flagged Warnings: | 1265.6616 | 245.4986 | 0.66103 | 1410.4786 | 350.0528 | 0.62427 | 1372.0051 | 20.674 | 0.24215 | [6 empty] | 1.0531 | 1.0717 | 0.062604 | 0.00074408 | 1.2067 | 1.215 | 0.20045 | 0.00033107 | PseudoVoigtModel | PseudoVoigtModel | No | January 10, 2025 | January | 10 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 3:16:23 PM | 54983 | 1151.1308 | 677.8574 | 460.1976 | Spline | 0.11061 | 0.045611 | 54983 | 0.99781 | 0.9978 | 0.99782 | 2025-01-10 | Sample | KS20-527 | K20 | c007 | a2 | FIB | K20_c007 | K20_c007_a2 | K20_c007_a2_FIB | K20_c007_a2 |  | \K20_c007 | 61 | \K20_c007_61 |  | P | isolated | 2 | 47122 | 391.605 | 153.209 | 62.219 | 1920 | 1200 | 50 |  |  |  |  | Hourglass | Weird elongated | [90 empty] | No
20 | K20_c008_a1_FIA | 0.064505 | 0.0055632 | 0.0040493 | 0.0038148 | 102.913 | 0.010219 | 0.0014676 | 0.010135 | 10.098 | 1324.767 | 0 | 0 | Y | SupCrit, low density |  |  | 0.064505 | 0.0055632 | 0.067388 | 0.0047007 | -0.16857 | 0.0079908 | SupCrit | 103.1388 | 0.010135 | 1286.1426 | 0.008938 | 219.0862 | 1286.1426 | 299.2482 | 0.52123 | 2.5528 | 0.58198 | 1.0425 | Flagged Warnings: | 1389.2815 | 0.0047791 | 400.0778 | 1389.2815 | 456.3049 | 0.46066 | 0 | 2.3528 | 0.4347 | 0.92133 | Flagged Warnings: |  |  |  | 1410.5856 | 42.4812 | 0.66735 | [9 empty] | 1.0774 | 1.0525 | 0.080666 | 0.0047582 | 1.1749 | 1.2225 | 0.16115 | 0.0023029 | PseudoVoigtModel | PseudoVoigtModel | No | January 10, 2025 | January | 10 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 3:23:01 PM | 55381 | 1151.3998 | 122.0265 | 77.6961 | Spline | 0.16151 | 0.065231 | 55381 | 0.99781 | 0.9978 | 0.99783 | 2025-01-10 | Sample | KS20-527 | K20 | c008 | a1 | FIA | K20_c008 | K20_c008_a1 | K20_c008_a1_FIA | K20_c008_a1 |  | \K20_c008 | 73 | \K20_c008_73 |  | P | cluster | 3 | 16702 | 188.091 | 113.06 | 59.817 | 1920 | 1200 | 50 |  |  |  |  | Capsule (long) | [91 empty] | No
21 | K20_c008_a2_FIB | 0.077172 | 0.0053546 | 0.0037686 | 0.0038038 | 102.945 | 0.0095109 | 0.0014695 | 0.0094173 | 10.098 | 1324.767 | 0 | 0 | Y | SupCrit, low density |  |  | 0.077172 | 0.0053546 | 0.080038 | 0.0044682 | -0.14444 | 0.0074057 | SupCrit | 103.1708 | 0.0094173 | 1286.0541 | 0.0087083 | 451.8182 | 1286.0541 | 644.6837 | 0.54978 | 5.2423 | 0.55749 | 1.0996 | Flagged Warnings: | 1389.225 | 0.0035847 | 818.6226 | 1389.225 | 951.3962 | 0.47671 | 0 | 3.9684 | 0.39325 | 0.95342 | Flagged Warnings: | 1265.5781 | 51.0204 | 0.82963 | 1410.5519 | 73.4692 | 0.46987 | [9 empty] | 1.1609 | 1.1129 | 0.1769 | 0.0024337 | 1.2274 | 1.2389 | 0.21684 | 0.0011647 | PseudoVoigtModel | PseudoVoigtModel | No | January 10, 2025 | January | 10 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 3:27:53 PM | 55673 | 1151.1797 | 493.1744 | 282.1368 | Spline | 0.30899 | 0.11778 | 55673 | 0.99781 | 0.9978 | 0.99783 | 2025-01-10 | Sample | KS20-527 | K20 | c008 | a2 | FIB | K20_c008 | K20_c008_a2 | K20_c008_a2_FIB | K20_c008_a2 |  | \K20_c008 | 73 | \K20_c008_73 |  | P | cluster | 1 | 15897 | 152.622 | 132.62 | 61.84 | 1920 | 1200 | 50 |  |  |  |  | Capsule (long) | [91 empty] | No
22 | K20_c009_a1_FIA | 0.088704 | 0.0040288 | 0.0013354 | 0.003801 | 102.9741 | 0.0033703 | 0.0014725 | 0.0030382 | 10.086 | 1324.767 | 0 | 0 | Y | SupCrit, low density |  |  | 0.088704 | 0.0040288 | 0.091583 | 0.0027453 | -0.12266 | 0.0031695 | SupCrit | 103.2 | 0.0030382 | 1286.0213 | 0.0026463 | 701.1117 | 1286.0213 | 1009.3152 | 0.56352 | 2.387 | 0.51719 | 1.127 | Flagged Warnings: | 1389.2214 | 0.0014925 | 1301.6136 | 1389.2213 | 1549.0148 | 0.46451 | 0 | 2.4759 | 0.5245 | 0.92902 | Flagged Warnings: | 1265.7548 | 113.3008 | 0.7543 | 1410.5272 | 159.5535 | 0.5926 | [9 empty] | 1.1317 | 1.0807 | 0.14839 | 0.0016075 | 1.2555 | 1.2885 | 0.23734 | 0.00071374 | PseudoVoigtModel | PseudoVoigtModel | No | January 10, 2025 | January | 10 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 3:35:27 PM | 56127 | 1151.1553 | 701.4226 | 406.8693 | Spline | 0.27417 | 0.10592 | 56127 | 0.99781 | 0.9978 | 0.99783 | 2025-01-10 | Sample | KS20-527 | K20 | c009 | a1 | FIA | K20_c009 | K20_c009_a1 | K20_c009_a1_FIA | K20_c009_a1 |  | \K20_c009 | 1317 | \K20_c009_1317 |  | P | isolated | 2 | 22074 | 185.577 | 151.449 | 109.347 | 1920 | 1200 | 50 |  |  |  |  | Ellipsoid | [91 empty] | No
23 | K20_c009_a2_FIB | 0.081024 | 0.0047662 | 0.0028741 | 0.0038021 | 102.9547 | 0.0072533 | 0.0014741 | 0.0071175 | 10.102 | 1324.767 | 0 | 0 | Y | SupCrit, low density |  |  | 0.081024 | 0.0047662 | 0.083891 | 0.0037457 | -0.13715 | 0.0057707 | SupCrit | 103.1805 | 0.0071175 | 1286.0454 | 0.0066579 | 264.1873 | 1286.0454 | 372.3253 | 0.56934 | 2.3837 | 0.43416 | 1.1387 | Flagged Warnings: | 1389.226 | 0.0025161 | 496.421 | 1389.226 | 587.6536 | 0.46158 | 0 | 1.649 | 0.52713 | 0.92316 | Flagged Warnings: |  |  |  | 1410.5164 | 63.6229 | 0.56382 | [9 empty] | 1.1553 | 1.1207 | 0.17681 | 0.0043101 | 1.2454 | 1.2789 | 0.22656 | 0.0018596 | PseudoVoigtModel | PseudoVoigtModel | No | January 10, 2025 | January | 10 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 3:40:41 PM | 56441 | 1151.2531 | 223.1561 | 117.4488 | Spline | 0.23246 | 0.091273 | 56441 | 0.99781 | 0.9978 | 0.99783 | 2025-01-10 | Sample | KS20-527 | K20 | c009 | a2 | FIB | K20_c009 | K20_c009_a2 | K20_c009_a2_FIB | K20_c009_a2 |  | \K20_c009 | 1317 | \K20_c009_1317 |  | P | isolated | 3 | 4209 | 80.971 | 66.185 | 25.382 | 1920 | 1200 | 50 |  |  |  |  | Ellipsoid | [91 empty] | No
24 | K20_c010_a1_FIA | 0.063404 | 0.0056513 | 0.0041684 | 0.0038161 | 102.9103 | 0.01052 | 0.0014768 | 0.010438 | 10.101 | 1324.767 | 0 | 0 | Y | SupCrit, low density |  |  | 0.063404 | 0.0056513 | 0.066289 | 0.0048026 | -0.17068 | 0.0082183 | SupCrit | 103.1359 | 0.010438 | 1286.1856 | 0.009238 | 171.4701 | 1286.1856 | 226.6252 | 0.53714 | 2.2122 | 0.41813 | 1.0743 | Flagged Warnings: | 1389.3216 | 0.0048601 | 302.1757 | 1389.3215 | 332.0179 | 0.43491 | 0 | 1.6635 | 0.48814 | 0.86981 | Flagged Warnings: |  |  |  | 1410.6053 | 35.731 | 0.54697 | [9 empty] | 1.1114 | 1.1476 | 0.11972 | 0.0062651 | 1.0945 | 1.1403 | 0.082187 | 0.0028785 | PseudoVoigtModel | PseudoVoigtModel | No | January 10, 2025 | January | 10 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 3:49:07 PM | 56947 | 1151.4732 | 68.9399 | 42.8871 | Spline | 0.12341 | 0.050621 | 56947 | 0.99781 | 0.9978 | 0.99783 | 2025-01-10 | Sample | KS20-527 | K20 | c010 | a1 | FIA | K20_c010 | K20_c010_a1 | K20_c010_a1_FIA | K20_c010_a1 |  | \K20_c010 | 77 | \K20_c010_77 | different grain? | P | cluster | 1 | 3418 | 73.047 | 59.577 | 68.424 | 1920 | 1200 | 50 |  |  |  |  | Ellipsoid | [91 empty] | No
25 | K20_c010_a2_FIB | 0.12282 | 0.0044527 | 0.0022666 | 0.0038327 | 103.0602 | 0.0057202 | 0.0014827 | 0.0055368 | 10.101 | 1324.767 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12282 | 0.0044527 | 0.12592 | 0.0033076 | -0.059306 | 0.0045726 | SupCrit | 103.2861 | 0.0055368 | 1285.7925 | 0.0051625 | 360.912 | 1285.7925 | 567.762 | 0.58779 | 2.1886 | 0.63452 | 1.1756 | Flagged Warnings: | 1389.0787 | 0.002001 | 671.2682 | 1389.0786 | 880.7678 | 0.50866 | 0 | 1.9294 | 0.54209 | 1.0173 | Flagged Warnings: |  |  |  | 1410.493 | 104.9727 | 0.74975 | [9 empty] | 1.2301 | 1.2156 | 0.27046 | 0.0032573 | 1.0602 | 1.0394 | 0.061284 | 0.0015155 | PseudoVoigtModel | PseudoVoigtModel | No | January 10, 2025 | January | 10 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 3:57:54 PM | 57474 | 1151.0575 | 106.6269 | 78.8903 | Spline | 0.07361 | 0.030825 | 57474 | 0.99781 | 0.9978 | 0.99783 | 2025-01-10 | Sample | KS20-527 | K20 | c010 | a2 | FIB | K20_c010 | K20_c010_a2 | K20_c010_a2_FIB | K20_c010_a2 |  | \K20_c010 | 77 | \K20_c010_77 |  | P | cluster | 2 | 2848 | 66.594 | 54.452 | 78.362 | 1920 | 1200 | 50 |  |  |  |  | Ellipsoid | [91 empty] | No
26 | K20_c011_a1_FIA | 0.13264 | 0.0039568 | 0.00090153 | 0.0038528 | 103.085 | 0.0022752 | 0.0014933 | 0.0017203 | 10.108 | 1324.767 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13264 | 0.0039568 | 0.13586 | 0.0025519 | -0.04136 | 0.0025081 | SupCrit | 103.3109 | 0.0017203 | 1285.7827 | 0.0014092 | 1663.6463 | 1285.7827 | 2678.1195 | 0.60238 | 3.0198 | 0.63114 | 1.2048 | Flagged Warnings: | 1389.0936 | 0.00098675 | 3084.6582 | 1389.0936 | 4061.5593 | 0.51031 | 0 | 3.7151 | 0.54276 | 1.0206 | Flagged Warnings: | 1265.5359 | 281.496 | 0.75611 | 1410.4404 | 459.5058 | 0.68924 | 1370.9293 | 58.5491 | 0.25468 | [6 empty] | 1.2107 | 1.1922 | 0.25382 | 0.00072416 | 1 | 1.0183 | 3.9817e-13 | 0.00033087 | PseudoVoigtModel | PseudoVoigtModel | No | January 10, 2025 | January | 10 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 4:18:46 PM | 58726 | 1151.0819 | 574.2851 | 413.1493 | Spline | 0.08521 | 0.03551 | 58726 | 0.99781 | 0.9978 | 0.99783 | 2025-01-10 | Sample | KS20-527 | K20 | c011 | a1 | FIA | K20_c011 | K20_c011_a1 | K20_c011_a1_FIA | K20_c011_a1 |  | \K20_c011 | 930 | \K20_c011_930 |  | P | cluster | 1 | 124976 | 510.299 | 311.826 | 103.745 | 1920 | 1200 | 50 |  |  |  |  | Capsule (long) | [91 empty] | No
27 | K20_c014_a1_FIA | 0.13216 | 0.0051677 | 0.0034452 | 0.0038517 | 103.0838 | 0.0086947 | 0.0015068 | 0.0085819 | 10.117 | 1324.767 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13216 | 0.0051677 | 0.13538 | 0.0042268 | -0.042224 | 0.0065553 | SupCrit | 103.3096 | 0.0085819 | 1285.7878 | 0.0079097 | 289.2888 | 1285.7878 | 461.9646 | 0.58513 | 2.5879 | 0.68249 | 1.1703 | Flagged Warnings: | 1389.0974 | 0.0033294 | 535.5796 | 1389.0974 | 692.6886 | 0.50701 | 0 | 2.7613 | 0.5133 | 1.014 | Flagged Warnings: | 1265.4719 | 52.1393 | 0.63416 | 1410.4885 | 68.5418 | 0.70372 | [9 empty] | 1.203 | 1.163 | 0.2376 | 0.0040453 | 1.0147 | 1.0301 | 0.014912 | 0.0018933 | PseudoVoigtModel | PseudoVoigtModel | No | January 10, 2025 | January | 10 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 4:42:04 PM | 60124 | 1151.0575 | 156.9077 | 87.0685 | Spline | 0.13589 | 0.055459 | 60124 | 0.99781 | 0.9978 | 0.99783 | 2025-01-10 | Sample | KS20-527 | K20 | c014 | a1 | FIA | K20_c014 | K20_c014_a1 | K20_c014_a1_FIA | K20_c014_a1 |  | \K20_c014 | 118 | \K20_c014_118 |  | P | isolated | 2 | 2575 | 59.711 | 54.908 | 153.295 | 1920 | 1200 | 50 |  |  |  |  | Circular | [91 empty] | No
28 | K20_c015_a1_FIA | 0.08911 | 0.0041322 | 0.0016208 | 0.003801 | 102.9751 | 0.0040905 | 0.0015088 | 0.0038104 | 10.102 | 1324.767 | 0 | 0 | Y | SupCrit, low density |  |  | 0.08911 | 0.0041322 | 0.09199 | 0.0028956 | -0.1219 | 0.0036087 | SupCrit | 103.2006 | 0.0038104 | 1286.0471 | 0.0033399 | 829.9792 | 1286.0472 | 1167.4396 | 0.55901 | 3.5069 | 0.47768 | 1.118 | Flagged Warnings: | 1389.2478 | 0.0018342 | 1516.032 | 1389.2478 | 1766.0587 | 0.45787 | 0 | 3.5926 | 0.50647 | 0.91573 | Flagged Warnings: | 1265.845 | 119.635 | 0.82674 | 1410.5739 | 172.9185 | 0.58809 | [9 empty] | 1.164 | 1.1316 | 0.1834 | 0.001347 | 1.2293 | 1.2759 | 0.21 | 0.00060403 | PseudoVoigtModel | PseudoVoigtModel | No | January 10, 2025 | January | 10 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 4:47:43 PM | 60463 | 1151.3754 | 47.0613 | 29.0667 | Spline | 0.016043 | 0.006884 | 60463 | 0.99782 | 0.9978 | 0.99783 | 2025-01-10 | Sample | KS20-527 | K20 | c015 | a1 | FIA | K20_c015 | K20_c015_a1 | K20_c015_a1_FIA | K20_c015_a1 |  | \K20_c015 | 201 | \K20_c015_201 |  | P | isolated | 3 | 46189 | 256.951 | 228.875 | 68.735 | 1920 | 1200 | 50 |  | yes | yes |  | Circular | [91 empty] | No
29 | K20_c018_a2_FIB | 0.073429 | 0.0076349 | 0.0066185 | 0.0038062 | 102.9356 | 0.016703 | 0.0015581 | 0.016667 | 10.019 | 1324.767 | 0 | 0 | Y | SupCrit, low density |  |  | 0.073429 | 0.0076349 | 0.076296 | 0.0070358 | -0.15155 | 0.012733 | SupCrit | 103.1606 | 0.016667 | 1286.1427 | 0.014251 | 95.0098 | 1286.1427 | 119.9633 | 0.50801 | 1.85 | 0.44502 | 1.016 | Flagged Warnings: | 1389.3033 | 0.0086429 | 165.7949 | 1389.3033 | 188.4573 | 0.42986 | 0 | 1.6533 | 0.60463 | 0.85973 | Flagged Warnings: | [15 empty] | 1.1424 | 1.1299 | 0.14469 | 0.010694 | 1.1265 | 1.1892 | 0.10874 | 0.0051855 | PseudoVoigtModel | PseudoVoigtModel | No | January 10, 2025 | January | 10 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 5:52:14 PM | 64334 | [6 empty] | 64334 | 0.99782 | 0.9978 | 0.99783 | 2025-01-10 | Sample | KS20-527 | K20 | c018 | a2 | FIB | K20_c018 | K20_c018_a2 | K20_c018_a2_FIB | K20_c018_a2 |  | \K20_c018 | 419 | \K20_c018_419 |  | P | isolated | 4 | 18449 | 162.132 | 144.882 | 56.913 | 1920 | 1200 | 50 |  | yes |  |  | Circular | [91 empty] | No
30 | K20_c019_a1_FIA | 0.064011 | 0.0058707 | 0.0044619 | 0.0038153 | 102.9118 | 0.011261 | 0.0015687 | 0.011175 | 10.008 | 1324.767 | 0 | 0 | Y | SupCrit, low density |  |  | 0.064011 | 0.0058707 | 0.066895 | 0.0050584 | -0.16952 | 0.0087616 | SupCrit | 103.1368 | 0.011175 | 1286.2345 | 0.0088173 | 154.0764 | 1286.2345 | 200.0677 | 0.51371 | 2.0099 | 0.48939 | 1.0274 | Flagged Warnings: | 1389.3713 | 0.0068658 | 264.1351 | 1389.3713 | 291.595 | 0.44627 | 0 | 2.0032 | 0.43244 | 0.89254 | Flagged Warnings: | [15 empty] | 1.1196 | 1.1169 | 0.12291 | 0.0066683 | 1.0113 | 1.0225 | 0.010104 | 0.0033791 | PseudoVoigtModel | PseudoVoigtModel | No | January 10, 2025 | January | 10 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 6:04:20 PM | 65060 | 1151.4243 | 64.7303 | 33.5823 | Spline | 0.13166 | 0.053824 | 65060 | 0.99782 | 0.9978 | 0.99783 | 2025-01-10 | Sample | KS20-527 | K20 | c019 | a1 | FIA | K20_c019 | K20_c019_a1 | K20_c019_a1_FIA | K20_c019_a1 |  | \K20_c019 | 177 | \K20_c019_177 |  | P | isolated | 5 | 20934 | 173.625 | 153.514 | 60.336 | 1920 | 1200 | 50 |  | yes |  |  | Circular | [91 empty] | No
31 | K20_c021_a1_FIA | 0.050869 | 0.0046505 | 0.0026296 | 0.0038357 | 102.8786 | 0.0066364 | 0.00062714 | 0.0066213 | 9.972 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.050869 | 0.0046505 | 0.053806 | 0.0035573 | -0.19479 | 0.0054479 | SupCrit | 103.1059 | 0.0066213 | 1286.1622 | 0.006184 | 239.2325 | 1286.1622 | 304.3229 | 0.51835 | 1.9602 | 0.41104 | 1.0367 | Flagged Warnings: | 1389.2681 | 0.0023664 | 382.9113 | 1389.268 | 426.1339 | 0.45971 | 0 | 1.3641 | 0.37412 | 0.91943 | Flagged Warnings: |  |  |  | 1410.553 | 46.6247 | 0.43324 | [9 empty] | 1.0569 | 1.0686 | 0.058943 | 0.0043335 | 1.1233 | 1.1152 | 0.1134 | 0.0024012 | PseudoVoigtModel | PseudoVoigtModel | No | January 13, 2025 | January | 13 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 11:46:12 AM | 42372 | 1151.267 | 194.5159 | 106.6897 | Spline | 0.26629 | 0.10319 | 42372 | 0.9978 | 0.99779 | 0.9978 | 2025-01-13 | Sample | KS20-527 | K20 | c021 | a1 | FIA | K20_c021 | K20_c021_a1 | K20_c021_a1_FIA | K20_c021_a1 |  | \K20_c021 | 288 | \K20_c021_288 |  | P | isolated | 1 | 5476 | 87.948 | 79.277 | 108.265 | 1920 | 1200 | 50 |  |  |  |  | Ellipsoid | [91 empty] | No
32 | K20_c024_a1_FIA_r1 | 0.11876 | 0.005887 | 0.004451 | 0.0038259 | 103.05 | 0.011233 | 0.00062315 | 0.01124 | 15.015 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11876 | 0.005887 | 0.12182 | 0.0050995 | -0.066755 | 0.0084132 | SupCrit | 103.2778 | 0.01124 | 1285.7454 | 0.0082358 | 388.0959 | 1285.7455 | 629.0145 | 0.61172 | 3.9452 | 0.6127 | 1.2234 | Flagged Warnings: | 1389.0233 | 0.0067181 | 681.1158 | 1389.0233 | 878.5116 | 0.5051 | 0 | 4.1195 | 0.51901 | 1.0102 | Flagged Warnings: | 1265.4695 | 56.9086 | 0.70648 | 1410.3482 | 76.4768 | 0.63304 | 1371.1919 | 655.0975 | 0.024831 | [6 empty] | 1.0871 | 1.0216 | 0.10678 | 0.0031735 | 1.0402 | 1.0518 | 0.040558 | 0.0014969 | PseudoVoigtModel | PseudoVoigtModel | No | January 13, 2025 | January | 13 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 12:05:34 PM | 43851 | 1151.0877 | 76.588 | 49.4151 | Spline | 0.050962 | 0.021541 | 43851 | 0.99779 | 0.99779 | 0.9978 | 2025-01-13 | Sample | KS20-527 | K20 | c024 | a1 | FIA | K20_c024 | K20_c024_a1 | K20_c024_a1_FIA | K20_c024_a1 |  | \K20_c024 |  |  | under epoxy (not the right subgrain in EBSD) | P | isolated | 2 | 14904 | 147.179 | 128.934 | 179.883 | 1920 | 1200 | 50 |  |  |  |  | Ellipsoid |  | 0.0022343 | 0.00065396 | 0.00086027 | 3.5578e-06 | 0.0056388 | 0.0021711 | 5.0466e-07 | 0.0021793 | 0.075445 | 0 | 0 | 0 |  |  | 0.0022343 | 0.00065396 | 0.0022561 | 0.00076758 | 0.0041103 | 0.0015457 | 0.005674 | 0.0021793 | 0.0056491 | 0.001881 | 38.1893 | 0.0056491 | 48.3176 | 0.011177 | 0.75859 | 0.039781 | 0.022354 | 0.0028019 | 0.0046132 | 77.3867 | 0.0027663 | 84.9978 | 0.0077541 | 0 | 0.9413 | 0.015007 | 0.015508 | 0.10718 | 9.2319 | 0.28177 | 0.059623 | 7.2394 | 0.14832 | [9 empty] | 0.018267 | 0.023644 | 0.023987 | 0.00032493 | 0.0058376 | 0.012217 | 0.0054212 | 0.00018112 | 0 | 0 | 0 | 0 | 311.6456 | 0.037356 | 7.6058 | 7.0422 | 0.0057011 | 0.0023553 | 311.6456 | 4.1246e-07 | 4.0741e-07 | 4.1751e-07 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Yes
33 | K20_c025_a1_FIA_r1 | 0.13092 | 0.012748 | 0.011666 | 0.0038498 | 103.0807 | 0.029442 | 0.00063255 | 0.029494 | 10.0207 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13092 | 0.012748 | 0.13412 | 0.012263 | -0.044516 | 0.021456 | SupCrit | 103.309 | 0.029494 | 1285.6539 | 0.028784 | 250.7522 | 1285.6539 | 420.3541 | 0.61206 | 6.0981 | 0.69182 | 1.2241 | Flagged Warnings: | 1388.9629 | 0.0044504 | 471.8662 | 1388.9629 | 619.864 | 0.50083 | 0 | 2.7516 | 0.58371 | 1.0017 | Flagged Warnings: |  |  |  | 1410.3418 | 59.8706 | 0.66408 | [9 empty] | 1.1281 | 1.1181 | 0.15727 | 0.004891 | 1.146 | 1.1832 | 0.14625 | 0.0021249 | PseudoVoigtModel | PseudoVoigtModel | No | January 13, 2025 | January | 13 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 1:00:15 PM | 47340 | 1151.0143 | 81.0726 | 51.2754 | Spline | 0.077994 | 0.032597 | 47340 | 0.99779 | 0.99778 | 0.9978 | 2025-01-13 | Sample | KS20-527 | K20 | c025 | a1 | FIA | K20_c025 | K20_c025_a1 | K20_c025_a1_FIA | K20_c025_a1 |  | \K20_c025 | 275 | \K20_c025_275 |  | P | isolated | 3 | 12695 | 133.507 | 121.071 | 18.584 | 1920 | 1200 | 50 |  |  | yes |  | Ellipsoid |  | 0.0071956 | 0.011905 | 0.012614 | 1.6465e-05 | 0.01816 | 0.031834 | 3.0368e-06 | 0.031914 | 0.013279 | 0 | 0 | 0 |  |  | 0.0071956 | 0.011905 | 0.0072924 | 0.012462 | 0.013101 | 0.022943 | 0.018135 | 0.031914 | 0.0026776 | 0.032391 | 9.3826 | 0.0026776 | 14.0168 | 0.024523 | 4.9223 | 0.067014 | 0.049046 | 0.015913 | 0.0012628 | 17.5703 | 0.015913 | 28.1671 | 0.0096455 | 0 | 0.75096 | 0.059298 | 0.019291 |  |  |  | 0.053706 | 6.094 | 0.034516 | [9 empty] | 0.049461 | 0.10068 | 0.063585 | 0.00036992 | 0.022807 | 0.026427 | 0.023203 | 9.5478e-05 | 0 | 0 | 0 | 0 | 475.5828 | 0.074711 | 5.9067 | 0.46 | 0.0058808 | 0.0023772 | 475.5828 | 6.2943e-07 | 6.5986e-07 | 5.9899e-07 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Yes
34 | K20_c026_a1_FIA_r1 | 0.12199 | 0.0069601 | 0.0058102 | 0.0038313 | 103.0581 | 0.014663 | 0.00064591 | 0.014682 | 9.923 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12199 | 0.0069601 | 0.12508 | 0.0063382 | -0.060824 | 0.010832 | SupCrit | 103.2866 | 0.014682 | 1285.7157 | 0.013138 | 111.1631 | 1285.7157 | 178.4175 | 0.59843 | 1.6892 | 0.63784 | 1.1969 | Flagged Warnings: | 1389.0024 | 0.0065515 | 209.6584 | 1389.0024 | 271.3683 | 0.49899 | 0 | 1.7207 | 0.5554 | 0.99799 | Flagged Warnings: | [15 empty] | 1.1268 | 1.0977 | 0.14999 | 0.01078 | 1.0767 | 1.0957 | 0.07672 | 0.00476 | PseudoVoigtModel | PseudoVoigtModel | No | January 13, 2025 | January | 13 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 1:31:03 PM | 48918.3333 | [6 empty] | 48918.3333 | 0.99779 | 0.99778 | 0.99779 | 2025-01-13 | Sample | KS20-527 | K20 | c026 | a1 | FIA | K20_c026 | K20_c026_a1 | K20_c026_a1_FIA | K20_c026_a1 |  | \K20_c026 | 337 | \K20_c026_337 |  | P | cluster | 1 | 21744 | 197.711 | 140.03 | 7.847 | 1920 | 1200 | 50 |  |  |  |  | Ellipsoid |  | 0.0011894 | 0.00013502 | 0.00016121 | 2.0853e-06 | 0.0030017 | 0.00040684 | 2.6956e-06 | 0.00040823 | 0.012124 | 0 | 0 | 0 |  |  | 0.0011894 | 0.00013502 | 0.001202 | 0.00015128 | 0.0021828 | 0.0002903 | 0.0029889 | 0.00040823 | 0.006569 | 0.00036791 | 3.9208 | 0.006569 | 9.6235 | 0.017083 | 0.11635 | 0.09699 | 0.034165 | 0.0083525 | 0.00023268 | 4.2516 | 0.0083525 | 11.024 | 0.010835 | 0 | 0.10191 | 0.020305 | 0.02167 | [15 empty] | 0.081543 | 0.061291 | 0.094971 | 0.00061525 | 0.014132 | 0.010956 | 0.015571 | 9.1146e-06 | 0 | 0 | 0 | 0 | 259.6003 | [5 empty] | 259.6003 | 3.4358e-07 | 3.6977e-07 | 3.1738e-07 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Yes
35 | K20_c026_a2_FIB_r1 | 0.11682 | 0.010602 | 0.009638 | 0.0038285 | 103.0451 | 0.024324 | 0.00065498 | 0.024365 | 9.909 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11682 | 0.010602 | 0.11989 | 0.010098 | -0.070488 | 0.018018 | SupCrit | 103.2737 | 0.024365 | 1285.7249 | 0.021531 | 98.4921 | 1285.7249 | 155.411 | 0.58515 | 1.6964 | 0.66139 | 1.1703 | Flagged Warnings: | 1388.9985 | 0.011336 | 179.1861 | 1388.9985 | 227.9657 | 0.5084 | 0 | 1.8874 | 0.43784 | 1.0168 | Flagged Warnings: | [15 empty] | 1.1599 | 1.1072 | 0.18178 | 0.015534 | 1.0872 | 1.1204 | 0.088705 | 0.0081513 | PseudoVoigtModel | PseudoVoigtModel | No | January 13, 2025 | January | 13 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 1:44:27 PM | 49729 | [6 empty] | 49729 | 0.99779 | 0.99778 | 0.99779 | 2025-01-13 | Sample | KS20-527 | K20 | c026 | a2 | FIB | K20_c026 | K20_c026_a2 | K20_c026_a2_FIB | K20_c026_a2 |  | \K20_c026 | 337 | \K20_c026_337 |  | P | cluster | 2 | 15169 | 142.058 | 135.957 | 118.713 | 1920 | 1200 | 50 |  |  |  |  | Ellipsoid |  | 0.018371 | 0.0070094 | 0.0075107 | 2.3545e-05 | 0.046363 | 0.018955 | 3.2702e-06 | 0.019004 | 0.018248 | 0 | 0 | 0 |  |  | 0.018371 | 0.0070094 | 0.018521 | 0.0073119 | 0.033952 | 0.014099 | 0.046474 | 0.019004 | 0.041925 | 0.01753 | 56.2689 | 0.041925 | 88.8252 | 0.059484 | 0.3571 | 0.29338 | 0.11897 | 0.0058257 | 0.0074963 | 103.7252 | 0.0058257 | 135.0523 | 0.016176 | 0 | 0.34679 | 0.12561 | 0.032353 | [15 empty] | 0.068971 | 0.071064 | 0.057671 | 0.0099045 | 0.01545 | 0.020956 | 0.016549 | 0.0066314 | 0 | 0 | 0 | 0 | 262.5014 | [5 empty] | 262.5014 | 3.4742e-07 | 3.7832e-07 | 3.1652e-07 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Yes
36 | K20_c027_a1_FIA_r1 | 0.12521 | 0.0062557 | 0.0049407 | 0.0038372 | 103.0663 | 0.012469 | 0.00066572 | 0.012479 | 9.893 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12521 | 0.0062557 | 0.12834 | 0.0055371 | -0.054913 | 0.0092434 | SupCrit | 103.295 | 0.012479 | 1285.6953 | 0.012406 | 796.4522 | 1285.6953 | 1247.34 | 0.60434 | 5.2711 | 0.55481 | 1.2087 | Flagged Warnings: | 1388.9904 | 0.0013477 | 1478.6899 | 1388.9903 | 1957.3814 | 0.50749 | 0 | 2.7481 | 0.57042 | 1.015 | Flagged Warnings: | 1265.1038 | 255.1859 | 1.8109 | 1410.3434 | 245.6198 | 0.70868 | [9 empty] | 1.1308 | 1.0683 | 0.15811 | 0.0015176 | 1.1034 | 1.1237 | 0.105 | 0.0006864 | PseudoVoigtModel | PseudoVoigtModel | No | January 13, 2025 | January | 13 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:02:28 PM | 50548 | 1151.0225 | 271.1795 | 145.3506 | Spline | 0.084619 | 0.035272 | 50548 | 0.99779 | 0.99778 | 0.99779 | 2025-01-13 | Sample | KS20-527 | K20 | c027 | a1 | FIA | K20_c027 | K20_c027_a1 | K20_c027_a1_FIA | K20_c027_a1 |  | \K20_c027 | 86 | \K20_c027_86 |  | P | isolated | 3 | 22898 | 189.787 | 153.617 | 28.017 | 1920 | 1200 | 50 |  |  |  |  | Ellipsoid | [91 empty] | No
37 | K20_c028_a1_FIA | 0.10874 | 0.004211 | 0.0017883 | 0.0038124 | 103.0247 | 0.0045132 | 0.00067417 | 0.0044724 | 9.919 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.10874 | 0.004211 | 0.11172 | 0.0029928 | -0.08526 | 0.0038284 | SupCrit | 103.2534 | 0.0044724 | 1285.7826 | 0.003988 | 371.4179 | 1285.7826 | 543.1731 | 0.57912 | 2.1478 | 0.48689 | 1.1582 | Flagged Warnings: | 1389.0361 | 0.0020245 | 678.4716 | 1389.036 | 846.6527 | 0.48846 | 0 | 1.7815 | 0.51721 | 0.97693 | Flagged Warnings: | 1265.5766 | 42.6346 | 0.773 | 1410.3776 | 101.6073 | 0.67787 | [9 empty] | 1.0708 | 1.0254 | 0.082029 | 0.0031184 | 1.0174 | 1.0383 | 0.01702 | 0.0014399 | PseudoVoigtModel | PseudoVoigtModel | No | January 13, 2025 | January | 13 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:12:32 PM | 51152 | 1151.1203 | 141.9559 | 80.8388 | Spline | 0.10214 | 0.042267 | 51152 | 0.99778 | 0.99778 | 0.99779 | 2025-01-13 | Sample | KS20-527 | K20 | c028 | a1 | FIA | K20_c028 | K20_c028_a1 | K20_c028_a1_FIA | K20_c028_a1 |  | \K20_c028 | 220 | \K20_c028_220 |  | P | cluster | 4 | 4084 | 73.318 | 70.923 | 69.464 | 1920 | 1200 | 50 |  |  |  |  | Circular | [91 empty] | No