## Sheet1
| filename | Density g/cm3 | σ Density g/cm3 | σ Density g/cm3 (from Ne+peakfit) | σ Density g/cm3 (from densimeter) | Corrected_Splitting | Corrected_Splitting_σ | Corrected_Splitting_σ_Ne | Corrected_Splitting_σ_peak_fit | power (mW) | Spectral Center | Preferred D_σ_Ne | Preferred D_σ_pkfit | in range | Notes | LowD_RT | HighD_RT | LowD_SC | LowD_SC_σ | MedD_SC | MedD_SC_σ | HighD_SC | HighD_SC_σ | Temperature | Splitting | Split_σ | Diad1_Combofit_Cent | Diad1_cent_err | Diad1_Combofit_Height | Diad1_Voigt_Cent | Diad1_Voigt_Area | Diad1_Voigt_Sigma | Diad1_Residual | Diad1_Prop_Lor | Diad1_fwhm | Diad1_refit | Diad2_Combofit_Cent | Diad2_cent_err | Diad2_Combofit_Height | Diad2_Voigt_Cent | Diad2_Voigt_Area | Diad2_Voigt_Sigma | Diad2_Voigt_Gamma | Diad2_Residual | Diad2_Prop_Lor | Diad2_fwhm | Diad2_refit | HB1_Cent | HB1_Area | HB1_Sigma | HB2_Cent | HB2_Area | HB2_Sigma | C13_Cent | C13_Area | C13_Sigma | Diad2_Gauss_Cent | Diad2_Gauss_Area | Diad2_Gauss_Sigma | Diad1_Gauss_Cent | Diad1_Gauss_Area | Diad1_Gauss_Sigma | Diad1_Asym50 | Diad1_Asym70 | Diad1_Yuan2017_sym_factor | Diad1_Remigi2021_BSF | Diad2_Asym50 | Diad2_Asym70 | Diad2_Yuan2017_sym_factor | Diad2_Remigi2021_BSF | Diad1_PDF_Model | Diad2_PDF_Model | Standard | date | Month | Day | Int_time (s) | accumulations | Mag (X) | duration | 24hr_time | sec since midnight | Peak_Cent_SO2 | Peak_Area_SO2 | Peak_Height_SO2 | Model_name_x | Peak_Cent_Carb | Peak_Area_Carb | Peak_Height_Carb | Model_name_y | Carb_Diad_Ratio | SO2_Diad_Ratio | SO2_mol_ratio | time | preferred_values | lower_values | upper_values | date_object | Type | Mount | Sample | Crystal | Region | FI# | Sample_crystal | Sample_crystal_region | FI_name | Name_on_EPMA | EBSD_simple_name | EBSD_grainID | EBSDname+grainID | EBSD_comment | FI_type | sub_type | Unnamed: 19 | Area | FI_axis_a_um | FI_axis_b_um | Angle | pixels wide | pixels high | mag | decrepit | melt film | spinel | sulfide | shape | Comment | Density g/cm3_Raman_STD | σ Density g/cm3_Raman_STD | σ Density g/cm3 (from Ne+peakfit)_Raman_STD | σ Density g/cm3 (from densimeter)_Raman_STD | Corrected_Splitting_Raman_STD | Corrected_Splitting_σ_Raman_STD | Corrected_Splitting_σ_Ne_Raman_STD | Corrected_Splitting_σ_peak_fit_Raman_STD | power (mW)_Raman_STD | Spectral Center_Raman_STD | Preferred D_σ_Ne_Raman_STD | Preferred D_σ_pkfit_Raman_STD | LowD_RT_Raman_STD | HighD_RT_Raman_STD | LowD_SC_Raman_STD | LowD_SC_σ_Raman_STD | MedD_SC_Raman_STD | MedD_SC_σ_Raman_STD | HighD_SC_Raman_STD | HighD_SC_σ_Raman_STD | Splitting_Raman_STD | Split_σ_Raman_STD | Diad1_Combofit_Cent_Raman_STD | Diad1_cent_err_Raman_STD | Diad1_Combofit_Height_Raman_STD | Diad1_Voigt_Cent_Raman_STD | Diad1_Voigt_Area_Raman_STD | Diad1_Voigt_Sigma_Raman_STD | Diad1_Residual_Raman_STD | Diad1_Prop_Lor_Raman_STD | Diad1_fwhm_Raman_STD | Diad2_Combofit_Cent_Raman_STD | Diad2_cent_err_Raman_STD | Diad2_Combofit_Height_Raman_STD | Diad2_Voigt_Cent_Raman_STD | Diad2_Voigt_Area_Raman_STD | Diad2_Voigt_Sigma_Raman_STD | Diad2_Voigt_Gamma_Raman_STD | Diad2_Residual_Raman_STD | Diad2_Prop_Lor_Raman_STD | Diad2_fwhm_Raman_STD | HB1_Cent_Raman_STD | HB1_Area_Raman_STD | HB1_Sigma_Raman_STD | HB2_Cent_Raman_STD | HB2_Area_Raman_STD | HB2_Sigma_Raman_STD | C13_Cent_Raman_STD | C13_Area_Raman_STD | C13_Sigma_Raman_STD | Diad2_Gauss_Cent_Raman_STD | Diad2_Gauss_Area_Raman_STD | Diad2_Gauss_Sigma_Raman_STD | Diad1_Gauss_Cent_Raman_STD | Diad1_Gauss_Area_Raman_STD | Diad1_Gauss_Sigma_Raman_STD | Diad1_Asym50_Raman_STD | Diad1_Asym70_Raman_STD | Diad1_Yuan2017_sym_factor_Raman_STD | Diad1_Remigi2021_BSF_Raman_STD | Diad2_Asym50_Raman_STD | Diad2_Asym70_Raman_STD | Diad2_Yuan2017_sym_factor_Raman_STD | Diad2_Remigi2021_BSF_Raman_STD | Day_Raman_STD | Int_time (s)_Raman_STD | accumulations_Raman_STD | Mag (X)_Raman_STD | sec since midnight_Raman_STD | Peak_Cent_SO2_Raman_STD | Peak_Area_SO2_Raman_STD | Peak_Height_SO2_Raman_STD | Peak_Cent_Carb_Raman_STD | Peak_Area_Carb_Raman_STD | Peak_Height_Carb_Raman_STD | Carb_Diad_Ratio_Raman_STD | SO2_Diad_Ratio_Raman_STD | SO2_mol_ratio_Raman_STD | time_Raman_STD | preferred_values_Raman_STD | lower_values_Raman_STD | upper_values_Raman_STD | Region_Raman_STD | EBSD_grainID_Raman_STD | Unnamed: 19_Raman_STD | Area_Raman_STD | FI_axis_a_um_Raman_STD | FI_axis_b_um_Raman_STD | Angle_Raman_STD | pixels wide_Raman_STD | pixels high_Raman_STD | mag_Raman_STD | decrepit_Raman_STD | shape_Raman_STD | averaged?
0 | FO1_MI1-Oct2822postpin | 0.093418 | 0.0041473 | 0.0016047 | 0.0038028 | 102.986 | 0.0040498 | 0.00057733 | 0.0040141 | 11.974 | 1350.012 | 0 | 0 | Y | SupCrit, low density |  |  | 0.093418 | 0.0041473 | 0.096316 | 0.0029104 | -0.11384 | 0.0035987 | SupCrit | 103.203 | 0.0040141 | 1285.8206 | 0.0035612 | 431.1552 | 1285.8207 | 550.3697 | 0.49065 | 1.6782 | 0.56203 | 0.9813 | Flagged Warnings: | 1389.0237 | 0.0018481 | 727.1566 | 1389.0237 | 793.4747 | 0.43868 | 0 | 1.582 | 0.44549 | 0.87736 | Flagged Warnings: | 1265.5801 | 96.3884 | 0.57529 | 1410.3448 | 87.7775 | 0.60778 |  |  |  | 1381.9864 | 18.5637 | 10.6323 |  |  |  | 1.1418 | 1.1692 | 0.13832 | 0.0024616 | 1.1244 | 1.1551 | 0.10969 | 0.0013205 | PseudoVoigtModel | PseudoVoigtModel | Yes | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 11:48:34 AM | 41257.5 | [11 empty] | 41257.5 | 0.9979 | 0.99789 | 0.9979 | 2022-10-28 | Std | 2 (CLJD) | FO1 |  |  | MI1 | FO1 | FO1 | FO1-MI1-44862 | [21 empty] | 0.0084564 | 0.00024335 | 0.00062298 | 2.5119e-06 | 0.021341 | 0.0015722 | 2.2009e-05 | 0.0015896 | 0.0042426 | 0 | 0 | 0 |  |  | 0.0084564 | 0.00024335 | 0.0084863 | 0.00034544 | 0.015848 | 0.00095518 | 0.017365 | 0.0015896 | 0.070889 | 0.0014886 | 170.0847 | 0.070925 | 218.9356 | 0.0064246 | 0.19217 | 0.023996 | 0.012849 | 0.05356 | 0.0005842 | 306.7128 | 0.05356 | 339.0621 | 0.0061422 | 0 | 0.42819 | 0.018966 | 0.012284 |  |  |  | 0.068748 | 46.3181 | 0.010739 |  |  |  | 0.030992 | 25.1031 | 0.21765 |  |  |  | 0.12163 | 0.13805 | 0.11753 | 0.00094128 | 0.092701 | 0.10703 | 0.08286 | 0.00054007 | 0 | 0 | 0 | 0 | 1776.9593 | [9 empty] | 1776.9593 | 3.8885e-05 | 3.8672e-05 | 3.9097e-05 | [12 empty] | Yes
1 | K21-51rep1 | 0.13655 | 0.0054733 | 0.0037549 | 0.0038623 | 103.0949 | 0.0094763 | 0.00055402 | 0.009478 | 12.1003 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13655 | 0.0054733 | 0.13983 | 0.0045497 | -0.034249 | 0.0071083 | SupCrit | 103.3128 | 0.009478 | 1285.5754 | 0.0087441 | 256.6336 | 1285.5754 | 389.4704 | 0.57571 | 2.6118 | 0.5992 | 1.1514 | Flagged Warnings: | 1388.8882 | 0.0036299 | 470.6462 | 1388.8882 | 607.7177 | 0.4745 | 0 | 2.4313 | 0.67319 | 0.94901 | Flagged Warnings: |  |  |  | 1410.2167 | 78.0226 | 0.65248 | [9 empty] | 1.0821 | 1.0849 | 0.093853 | 0.004803 | 1.1986 | 1.202 | 0.18848 | 0.0021018 | PseudoVoigtModel | PseudoVoigtModel | No | October 26, 2022 | October | 26 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 11:53:53 AM | 43190 | 1150.9318 | 34.6029 | 25.9835 | Spline | [5 empty] | 0.033202 | 0.014135 | 43190 | 0.99789 | 0.99789 | 0.9979 | 2022-10-26 | Sample | 2 (CLJD) | K21 | 51 |  |  | K21_51 | K21_51 | K21_51 | K21-51_1 | Mount2_Kil | 110 | Mount2_Kil _110 | Light def | P | isolated | 1 | 9609 | 121.421 | 100.762 | 153.564 | 1920 | 1200 | 50 | [6 empty] | 0.0039846 | 0.0012293 | 0.0017092 | 1.0081e-05 | 0.010056 | 0.0043136 | 1.2034e-06 | 0.0043296 | 0.028378 | 0 | 0 | 0 |  |  | 0.0039846 | 0.0012293 | 0.0040436 | 0.0014894 | 0.0072279 | 0.0030078 | 0.010059 | 0.0043296 | 0.025867 | 0.0038119 | 78.1745 | 0.025867 | 116.601 | 0.011554 | 0.30699 | 0.028457 | 0.023108 | 0.020642 | 0.0021235 | 125.7795 | 0.020621 | 167.3182 | 0.021304 | 0 | 0.66811 | 0.097476 | 0.042607 |  |  |  | 0.063289 | 1.5074 | 0.097793 | [9 empty] | 0.045746 | 0.060319 | 0.05084 | 0.0015699 | 0.039239 | 0.047747 | 0.03764 | 0.0004877 | 0 | 0 | 0 | 0 | 342.1242 | 0.10659 | 17.557 | 8.3506 |  |  |  |  | 0.0079226 | 0.0033256 | 342.1242 | 4.0815e-06 | 4.0699e-06 | 4.0932e-06 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Yes
2 | K21-53-FI#4 | 0.017623 | 0.0077325 | 0.0066621 | 0.0039252 | 102.7947 | 0.016813 | 0.0005448 | 0.016841 | 19.972 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.017623 | 0.0077325 | 0.020827 | 0.0070229 | -0.25977 | 0.013323 | SupCrit | 103.0178 | 0.016841 | 1286.4203 | 0.012852 | 83.7286 | 1286.4203 | 72.6203 | 0.4074 | 1.8503 | 2.7592e-09 | 0.8148 | Flagged Warnings: | 1389.4381 | 0.010884 | 124.3133 | 1389.4381 | 117.7078 | 0.40513 | 0 | 1.9795 | 0.27643 | 0.81026 | Flagged Warnings: | [15 empty] | 1.01 | 1.0216 | 0.0081753 | 0.0097315 | 1.2132 | 1.2263 | 0.17273 | 0.0065179 | PseudoVoigtModel | PseudoVoigtModel | No | October 26, 2022 | October | 26 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 1:25:13 PM | 48313 | [11 empty] | 48313 | 0.99783 | 0.99783 | 0.99784 | 2022-10-26 | Sample | 2 (CLJD) | K21 | 53 |  | FI#4 | K21_53 | K21_53 | K21_53_FI#4 | K21-53_4 | Mount2_Kil | 379 | Mount2_Kil _379 | Light def | P | cluster | 2 | 19607 | 173.188 | 144.146 | 77.297 | 1920 | 1200 | 50 | [5 empty] | type uncertain | [94 empty] | No
3 | K21-54-FI#2 | 0.10244 | 0.0046402 | 0.0026536 | 0.0038066 | 103.0088 | 0.0066969 | 0.00055322 | 0.0066887 | 11.984 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.10244 | 0.0046402 | 0.10538 | 0.0035838 | -0.096955 | 0.0053011 | SupCrit | 103.2357 | 0.0066887 | 1285.8871 | 0.0058219 | 322.8783 | 1285.8871 | 439.837 | 0.51659 | 2.744 | 0.59769 | 1.0332 | Flagged Warnings: | 1389.1229 | 0.0032931 | 557.3043 | 1389.1228 | 637.091 | 0.46519 | 0 | 2.4265 | 0.41477 | 0.93039 | Flagged Warnings: |  |  |  | 1410.4609 | 69.7752 | 0.43233 | [9 empty] | 1.0086 | 1.0179 | 0.0088559 | 0.0031999 | 1.0556 | 1.0658 | 0.051688 | 0.0016694 | PseudoVoigtModel | PseudoVoigtModel | No | October 26, 2022 | October | 26 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:26:10 PM | 51970 | [11 empty] | 51970 | 0.9978 | 0.9978 | 0.99781 | 2022-10-26 | Sample | 2 (CLJD) | K21 | 54 |  | FI#2 | K21_54 | K21_54 | K21_54_FI#2 | K21-54_2 | Mount2_Kil | 341 | Mount2_Kil _341 | Unclear, may be cluster | S | plane | 4 | 5368 | 88.954 | 76.835 | 140.377 | 1920 | 1200 | 50 | [5 empty] | crystal may be overheated, oxide planes | [94 empty] | No
4 | K21-54-FI#4 | 0.068174 | 0.027324 | 0.027057 | 0.0038107 | 102.9223 | 0.068284 | 0.00055859 | 0.068433 | 11.973 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.068174 | 0.027324 | 0.071048 | 0.027116 | -0.16156 | 0.051674 | SupCrit | 103.1502 | 0.068433 | 1286.4402 | 0.040882 | 48.0136 | 1286.4402 | 26.0492 | 0.1727 | 2.376 | 0.99999 | 0.34539 | Flagged Warnings: | 1389.5903 | 0.05488 | 29.6272 | 1389.5903 | 28.5551 | 0.43483 | 0 | 2.428 | 0.1226 | 0.86966 | Flagged Warnings: Below threshold intensity | [15 empty] | 1.3272 | 1.3917 | 0.11301 | 0.0071936 | 1.0615 | 1.0701 | 0.053463 | 0.029353 | PseudoVoigtModel | PseudoVoigtModel | No | October 26, 2022 | October | 26 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:50:38 PM | 53438 | [11 empty] | 53438 | 0.99779 | 0.99779 | 0.9978 | 2022-10-26 | Sample | 2 (CLJD) | K21 | 54 |  | FI#4 | K21_54 | K21_54 | K21_54_FI#4 | K21-54_4 | Mount2_Kil | 341 | Mount2_Kil _341 | Unclear, may be cluster | S | plane | 5 | 4550 | 80.106 | 72.32 | 68.661 | 1920 | 1200 | 50 | [100 empty] | No
5 | K21-56-FI#1 | 0.084951 | 0.01536 | 0.014883 | 0.0038012 | 102.9646 | 0.03756 | 0.00056684 | 0.037639 | 12.089 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.084951 | 0.01536 | 0.087822 | 0.015099 | -0.12973 | 0.02813 | SupCrit | 103.1936 | 0.037639 | 1285.9171 | 0.034555 | 46.1416 | 1285.9171 | 89.881 | 0.62005 | 2.7049 | 1 | 1.2401 | Flagged Warnings: | 1389.1108 | 0.014922 | 78.4045 | 1389.1108 | 94.6085 | 0.46354 | 0 | 1.5075 | 0.56516 | 0.92708 | Flagged Warnings: | [15 empty] | 1.0434 | 1.0428 | 0.053771 | 0.026876 | 1.0296 | 1.0436 | 0.027469 | 0.011824 | PseudoVoigtModel | PseudoVoigtModel | No | October 26, 2022 | October | 26 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 3:16:51 PM | 55011 | [11 empty] | 55011 | 0.99778 | 0.99778 | 0.99779 | 2022-10-26 | Sample | 2 (CLJD) | K21 | 56 |  | FI#1 | K21_56 | K21_56 | K21_56_FI#1 | K21-56_1 | Mount2_Kil | 260 | Mount2_Kil _260 | Def | P | cluster | 8 | 148732 | 441.836 | 428.601 | 55.982 | 1920 | 1200 | 50 |  | yes | yes |  |  | very little melt film <10% | [94 empty] | No
6 | K21-57-FI#1 | 0.14177 | 0.0039914 | 0.00095398 | 0.0038757 | 103.1081 | 0.0024076 | 0.00057384 | 0.0023434 | 12.046 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.14177 | 0.0039914 | 0.14513 | 0.0025699 | -0.024785 | 0.0025581 | SupCrit | 103.3379 | 0.0023434 | 1285.6136 | 0.0020553 | 844.8634 | 1285.6137 | 1315.0173 | 0.59032 | 2.1595 | 0.59764 | 1.1806 | Flagged Warnings: | 1388.9516 | 0.0011258 | 1560.014 | 1388.9516 | 2012.2181 | 0.48584 | 0 | 2.1039 | 0.61476 | 0.97168 | Flagged Warnings: | 1265.4208 | 132.1432 | 0.74562 | 1410.2986 | 205.7633 | 0.69718 | [9 empty] | 1.0233 | 1.0416 | 0.027457 | 0.0013974 | 1.234 | 1.2574 | 0.22741 | 0.00062286 | PseudoVoigtModel | PseudoVoigtModel | No | October 26, 2022 | October | 26 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 3:34:00 PM | 56040 |  |  |  |  | 1091.6078 | 106.7397 | 12.4058 | Spline | 0.032081 |  |  | 56040 | 0.99778 | 0.99777 | 0.99778 | 2022-10-26 | Sample | 2 (CLJD) | K21 | 57 |  | FI#1 | K21_57 | K21_57 | K21_57_FI#1 | K21-57_1 | Mount2_Kil | 239 | Mount2_Kil _239 | Undef | P | cluster | 9 | 44082 | 245.957 | 228.199 | 18.312 | 1920 | 1200 | 50 | [5 empty] | core cluster, accompanied by MI | [94 empty] | No
7 | K21-57-FI#2 | 0.11977 | 0.0044825 | 0.0023331 | 0.0038275 | 103.0525 | 0.0058881 | 0.00057558 | 0.0058729 | 12.024 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11977 | 0.0044825 | 0.12284 | 0.0033539 | -0.0649 | 0.0046937 | SupCrit | 103.2824 | 0.0058729 | 1285.7228 | 0.0054648 | 370.5649 | 1285.7228 | 565.4063 | 0.57033 | 2.544 | 0.63354 | 1.1407 | Flagged Warnings: | 1389.0053 | 0.0021512 | 639.7512 | 1389.0053 | 794.2761 | 0.47673 | 0 | 2.0588 | 0.56644 | 0.95345 | Flagged Warnings: |  |  |  | 1410.46 | 97.1704 | 0.63196 | [9 empty] | 1.1451 | 1.0945 | 0.16547 | 0.0030782 | 1.1581 | 1.2033 | 0.15073 | 0.0014903 | PseudoVoigtModel | PseudoVoigtModel | No | October 26, 2022 | October | 26 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 3:39:16 PM | 56356 | [11 empty] | 56356 | 0.99777 | 0.99777 | 0.99778 | 2022-10-26 | Sample | 2 (CLJD) | K21 | 57 |  | FI#2 | K21_57 | K21_57 | K21_57_FI#2 | K21-57_2 | Mount2_Kil | 239 | Mount2_Kil _239 | Undef | P | cluster | 1 | 28452 | 190.365 | 190.299 | 73.922 | 1920 | 1200 | 50 |  |  | yes |  |  | core cluster, accompanied by MI | [94 empty] | No
8 | K21-57-FI#3 | 0.141 | 0.0039879 | 0.00094783 | 0.0038736 | 103.1061 | 0.0023921 | 0.00057788 | 0.0023264 | 12.034 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.141 | 0.0039879 | 0.14434 | 0.0025677 | -0.026188 | 0.0025517 | SupCrit | 103.3362 | 0.0023264 | 1285.5973 | 0.0020949 | 891.9964 | 1285.5974 | 1408.6892 | 0.59325 | 2.4531 | 0.62153 | 1.1865 | Flagged Warnings: | 1388.9337 | 0.0010117 | 1645.4464 | 1388.9336 | 2156.9793 | 0.4939 | 0 | 2.2218 | 0.61407 | 0.98779 | Flagged Warnings: | 1265.3883 | 146.1725 | 0.84305 | 1410.3049 | 233.0306 | 0.72129 | 1370.7175 | 39.973 | 0.24669 | [6 empty] | 1.0497 | 1.0668 | 0.058978 | 0.0013302 | 1.2422 | 1.2572 | 0.23926 | 0.00060032 | PseudoVoigtModel | PseudoVoigtModel | No | October 26, 2022 | October | 26 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 3:44:14 PM | 56654 | 1150.9073 | 47.4665 | 34.1167 | Spline | [5 empty] | 0.013312 | 0.0057189 | 56654 | 0.99777 | 0.99777 | 0.99778 | 2022-10-26 | Sample | 2 (CLJD) | K21 | 57 |  | FI#3 | K21_57 | K21_57 | K21_57_FI#3 | K21-57_3 | Mount2_Kil | 239 | Mount2_Kil _239 | Undef | P | cluster | 2 | 25720 | 183.909 | 178.065 | 94.162 | 1920 | 1200 | 50 | [5 empty] | core cluster, accompanied by MI | [94 empty] | No
9 | K21-57-FI#4 | 0.10035 | 0.0043898 | 0.0021888 | 0.0038051 | 103.0035 | 0.005524 | 0.00057954 | 0.0055058 | 12.061 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.10035 | 0.0043898 | 0.10328 | 0.0032506 | -0.10085 | 0.004512 | SupCrit | 103.2336 | 0.0055058 | 1285.8681 | 0.0049916 | 301.0415 | 1285.8681 | 405.2196 | 0.5243 | 2.218 | 0.52975 | 1.0486 | Flagged Warnings: | 1389.1017 | 0.0023233 | 517.1284 | 1389.1016 | 616.1555 | 0.46469 | 0 | 1.5105 | 0.52656 | 0.92939 | Flagged Warnings: |  |  |  | 1410.4318 | 79.0694 | 0.71049 | [9 empty] | 1.0231 | 1.0089 | 0.024175 | 0.0034833 | 1.0219 | 1.0241 | 0.020352 | 0.0017972 | PseudoVoigtModel | PseudoVoigtModel | No | October 26, 2022 | October | 26 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 3:49:37 PM | 56977 | [11 empty] | 56977 | 0.99777 | 0.99777 | 0.99778 | 2022-10-26 | Sample | 2 (CLJD) | K21 | 57 |  | FI#4 | K21_57 | K21_57 | K21_57_FI#4 | K21-57_4 | Mount2_Kil | 239 | Mount2_Kil _239 | Undef | P | cluster | 3 | 18600 | 159.541 | 148.44 | 72.011 | 1920 | 1200 | 50 | [5 empty] | core cluster, accompanied by MI | [94 empty] | No
10 | K21-58-FI#1-12mw | 0.099206 | 0.0064188 | 0.0050516 | 0.0038051 | 103.0006 | 0.012749 | 0.00058752 | 0.012762 | 16.0115 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.099206 | 0.0064188 | 0.10213 | 0.0056711 | -0.10301 | 0.0096354 | SupCrit | 103.2311 | 0.012762 | 1285.8877 | 0.01186 | 171.4535 | 1285.8877 | 225.0017 | 0.51179 | 1.9944 | 0.53857 | 1.0236 | Flagged Warnings: | 1389.1187 | 0.0046358 | 288.8633 | 1389.1187 | 340.0555 | 0.46692 | 0 | 1.7105 | 0.48686 | 0.93384 | Flagged Warnings: |  |  |  | 1410.4389 | 55.6179 | 0.55343 | [9 empty] | 1.1633 | 1.1636 | 0.16368 | 0.0063389 | 1.0657 | 1.0786 | 0.06053 | 0.0033631 | PseudoVoigtModel | PseudoVoigtModel | No | October 26, 2022 | October | 26 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 4:12:17 PM | 58058.5 | [11 empty] | 58058.5 | 0.99777 | 0.99776 | 0.99777 | 2022-10-26 | Sample | 2 (CLJD) | K21 | 58 |  | FI#1 | K21_58 | K21_58 | K21_58_FI#1 | K21-58_1 | Mount2_Kil | 187 | Mount2_Kil _187 | Def | P | isolated | 5 | 153429 | 508.9 | 383.871 | 20.321 | 1920 | 1200 | 50 |  | yes |  |  |  | melt film, looks like a MI a bit | 0.007239 | 0.0019861 | 0.0025205 | 4.3046e-06 | 0.018269 | 0.0063609 | 3.1472e-06 | 0.0063827 | 5.6378 | 0 | 0 | 0 |  |  | 0.007239 | 0.0019861 | 0.0072745 | 0.0022749 | 0.01351 | 0.0045462 | 0.018433 | 0.0063827 | 0.071437 | 0.0063665 | 52.188 | 0.071437 | 62.9361 | 0.042352 | 0.59455 | 0.14625 | 0.084703 | 0.05304 | 0.0012836 | 76.6866 | 0.053005 | 86.64 | 0.012809 | 0 | 0.073521 | 0.042874 | 0.025617 | [15 empty] | 0.083258 | 0.11136 | 0.071385 | 0.0024235 | 0.067726 | 0.085196 | 0.061561 | 0.00098151 | 0 | 0 | 0 | 0 | 393.8585 | [9 empty] | 393.8585 | 1.1856e-06 | 1.2151e-06 | 1.1561e-06 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Yes
11 | K21-58-FI#2 | 0.12851 | 0.0054408 | 0.0038507 | 0.0038437 | 103.0746 | 0.009718 | 0.0005881 | 0.0097219 | 12.018 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12851 | 0.0054408 | 0.13168 | 0.0045693 | -0.048882 | 0.0072847 | SupCrit | 103.3052 | 0.0097219 | 1285.6624 | 0.0082468 | 166.3455 | 1285.6624 | 262.3339 | 0.60836 | 1.8483 | 0.55451 | 1.2167 | Flagged Warnings: | 1388.9676 | 0.0051484 | 304.8698 | 1388.9676 | 389.3619 | 0.48362 | 0 | 1.8235 | 0.60132 | 0.96724 | Flagged Warnings: | [15 empty] | 1.0567 | 1.0243 | 0.068936 | 0.0073144 | 1.2036 | 1.2231 | 0.1969 | 0.0031726 | PseudoVoigtModel | PseudoVoigtModel | No | October 26, 2022 | October | 26 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 4:08:02 PM | 58082 | 1151.0296 | 45.2793 | 30.4076 | Spline | [5 empty] | 0.069479 | 0.029145 | 58082 | 0.99777 | 0.99776 | 0.99777 | 2022-10-26 | Sample | 2 (CLJD) | K21 | 58 |  | FI#2 | K21_58 | K21_58 | K21_58_FI#2 | K21-58_1 | Mount2_Kil | 187 | Mount2_Kil _187 | Def | P | isolated | 4 | 44484 | 250.622 | 225.993 | 41.824 | 1920 | 1200 | 50 |  | yes |  |  |  | melt film | [94 empty] | No
12 | K21-58-FI#3 | 0.12402 | 0.0039233 | 0.00082824 | 0.0038349 | 103.0632 | 0.0020903 | 0.0005926 | 0.002009 | 12.064 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12402 | 0.0039233 | 0.12713 | 0.0025281 | -0.057107 | 0.0024346 | SupCrit | 103.294 | 0.002009 | 1285.681 | 0.0018429 | 1059.9588 | 1285.681 | 1622.6582 | 0.57898 | 2.3666 | 0.60466 | 1.158 | Flagged Warnings: | 1388.9751 | 0.00079991 | 1885.8301 | 1388.975 | 2431.7559 | 0.49981 | 0 | 2.2336 | 0.54251 | 0.99962 | Flagged Warnings: | 1265.4122 | 180.355 | 0.76971 | 1410.3468 | 279.1352 | 0.67964 | 1370.7427 | 50.7466 | 0.24892 | [6 empty] | 1.0876 | 1.0426 | 0.10145 | 0.0010925 | 1.1958 | 1.2068 | 0.19573 | 0.00053007 | PseudoVoigtModel | PseudoVoigtModel | No | October 26, 2022 | October | 26 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 4:17:37 PM | 58657 | 1151.0051 | 354.6731 | 200.7639 | Spline | [5 empty] | 0.087478 | 0.036421 | 58657 | 0.99777 | 0.99776 | 0.99777 | 2022-10-26 | Sample | 2 (CLJD) | K21 | 58 |  | FI#3 | K21_58 | K21_58 | K21_58_FI#3 | K21-58_2 | Mount2_Kil | 187 | Mount2_Kil _187 | Def | P | isolated | 6 | 64630 | 356.656 | 230.725 | 162.056 | 1920 | 1200 | 50 |  | yes |  |  |  | melt film, weird shape | [94 empty] | No
13 | K21-59-FI#1 | 0.033482 | 0.0042346 | 0.0017058 | 0.0038758 | 102.8348 | 0.0043049 | 0.00054772 | 0.0042791 | 12.078 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.033482 | 0.0042346 | 0.036536 | 0.0029508 | -0.22858 | 0.0038807 | SupCrit | 103.0566 | 0.0042791 | 1286.0367 | 0.003835 | 588.3337 | 1286.0367 | 593.7931 | 0.43627 | 3.6203 | 0.24742 | 0.87254 | Flagged Warnings: | 1389.0934 | 0.0018983 | 968.7421 | 1389.0934 | 912.5848 | 0.3951 | 0 | 2.5279 | 0.33232 | 0.7902 | Flagged Warnings: | 1265.6489 | 40.7745 | 0.46527 | 1410.3962 | 106.8379 | 0.43606 | [9 empty] | 1.2174 | 1.2783 | 0.18968 | 0.0014831 | 1 | 1.0032 | 4.4181e-13 | 0.00081569 | PseudoVoigtModel | PseudoVoigtModel | No | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 12:09:55 PM | 43795 | 1151.2497 | 48.5475 | 26.8921 | Spline | [5 empty] | 0.032228 | 0.013734 | 43795 | 0.99785 | 0.99784 | 0.99785 | 2022-10-28 | Sample | 2 (CLJD) | K21 | 59 |  | FI#1 | K21_59 | K21_59 | K21_59_FI#1 | K21-59_1 | Mount2_Kil | 143 | Mount2_Kil _143 | Def | S | plane | 2 | 4653 | 81.522 | 72.672 | 97.784 | 1920 | 1200 | 50 | [100 empty] | No
14 | K21-59-FI#2 | 0.015245 | 0.0061401 | 0.0047146 | 0.0039337 | 102.7887 | 0.011898 | 0.00054189 | 0.011912 | 12.068 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.015245 | 0.0061401 | 0.018475 | 0.0052559 | -0.26448 | 0.0095489 | SupCrit | 103.0115 | 0.011912 | 1286.1574 | 0.010212 | 228.8298 | 1286.1574 | 206.1475 | 0.40859 | 3.2194 | 0.1068 | 0.81718 | Flagged Warnings: | 1389.1689 | 0.0061328 | 374.5294 | 1389.1688 | 348.0072 | 0.38728 | 0 | 2.9583 | 0.34956 | 0.77457 | Flagged Warnings: |  |  |  | 1410.5075 | 57.0275 | 0.30189 | [9 empty] | 1.0123 | 1.0157 | 0.010089 | 0.0035711 | 1.1169 | 1.1678 | 0.090534 | 0.0020681 | PseudoVoigtModel | PseudoVoigtModel | No | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 12:19:53 PM | 44393 |  |  |  |  | 1086.8603 | 66.1868 | 13.1075 | Spline | 0.11944 |  |  | 44393 | 0.99784 | 0.99783 | 0.99784 | 2022-10-28 | Sample | 2 (CLJD) | K21 | 59 |  | FI#2 | K21_59 | K21_59 | K21_59_FI#2 | K21-59_2 | Mount2_Kil | 143 | Mount2_Kil _143 | Def | S | plane | 1 | 3683 | 71.547 | 65.542 | 119.874 | 1920 | 1200 | 50 |  |  | yes |  |  | spinel attached | [94 empty] | No
15 | K21-59-FI#3 | 0.028439 | 0.0042033 | 0.0015918 | 0.0038902 | 102.822 | 0.0040173 | 0.00053562 | 0.0039901 | 12.064 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.028439 | 0.0042033 | 0.031537 | 0.0028886 | -0.23846 | 0.0037026 | SupCrit | 103.0459 | 0.0039901 | 1286.0747 | 0.0034854 | 569.1391 | 1286.0747 | 576.2065 | 0.4231 | 2.8873 | 0.34214 | 0.84621 | Flagged Warnings: | 1389.1207 | 0.0019423 | 889.919 | 1389.1207 | 850.176 | 0.39907 | 0 | 2.4966 | 0.34344 | 0.79815 | Flagged Warnings: | 1265.7147 | 47.3499 | 0.46879 | 1410.4708 | 110.283 | 0.42498 | [9 empty] | 1.1504 | 1.2156 | 0.12728 | 0.0014868 | 1.0464 | 1.0611 | 0.037045 | 0.00089688 | PseudoVoigtModel | PseudoVoigtModel | No | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 12:32:26 PM | 45146 | [11 empty] | 45146 | 0.99783 | 0.99782 | 0.99783 | 2022-10-28 | Sample | 2 (CLJD) | K21 | 59 |  | FI#3 | K21_59 | K21_59 | K21_59_FI#3 | K21-59_3 | Mount2_Kil | 143 | Mount2_Kil _143 | Def | S | plane | 2 | 7089 | 99.627 | 90.598 | 6.488 | 1920 | 1200 | 50 |  | yes | yes |  |  | melt film and spinel attached | [94 empty] | No
16 | K21-61-FI#1-rep1 | 0.13176 | 0.0086498 | 0.0069773 | 0.0038508 | 103.0828 | 0.017609 | 0.00052981 | 0.017623 | 12.038 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13176 | 0.0086498 | 0.13497 | 0.0078888 | -0.042955 | 0.013076 | SupCrit | 103.3085 | 0.017623 | 1285.4337 | 0.015974 | 336.112 | 1285.4338 | 484.647 | 0.57191 | 2.989 | 0.26735 | 1.1438 | Flagged Warnings: | 1388.7423 | 0.0074402 | 640.8087 | 1388.7423 | 806.2316 | 0.47705 | 0 | 2.49 | 0.64465 | 0.9541 | Flagged Warnings: | 1265.2731 | 60.5447 | 0.72495 | 1410.0809 | 167.1451 | 0.58823 | [9 empty] | 1.1729 | 1.1857 | 0.19757 | 0.0095819 | 1.2227 | 1.2189 | 0.21235 | 0.0040567 | PseudoVoigtModel | PseudoVoigtModel | No | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 12:45:44 PM | 46095.5 |  |  |  |  | 1089.234 | 772.2323 | 50.4758 | Spline | 0.33153 |  |  | 46095.5 | 0.99781 | 0.99781 | 0.99782 | 2022-10-28 | Sample | 2 (CLJD) | K21 | 61 |  | FI#1 | K21_61 | K21_61 | K21_61_FI#1 | K21-61_1 | Mount2_Kil | 74 | Mount2_Kil _74 | Light def | P | cluster | 3 | 5973 | 93.903 | 80.988 | 130.648 | 1920 | 1200 | 50 | [6 empty] | 0.0021176 | 0.0064965 | 0.0080511 | 4.7494e-06 | 0.0053443 | 0.020319 | 1.5232e-06 | 0.020391 | 0.011314 | 0 | 0 | 0 |  |  | 0.0021176 | 0.0064965 | 0.0021456 | 0.0073164 | 0.0038581 | 0.014228 | 0.005093 | 0.020391 | 0.0032178 | 0.01857 | 381.4123 | 0.0032531 | 570.6459 | 0.0027768 | 0.37091 | 0.37809 | 0.0055536 | 0.0018046 | 0.0084292 | 721.8632 | 0.0018399 | 897.9289 | 0.0034725 | 0 | 0.029947 | 0.10186 | 0.006945 | [15 empty] | 0.063509 | 0.019589 | 0.071683 | 0.01089 | 0.030138 | 0.039329 | 0.027208 | 0.004559 | 0 | 0 | 0 | 0 | 214.2534 | [9 empty] | 214.2534 | 2.5398e-06 | 2.5253e-06 | 2.5542e-06 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Yes
17 | K21-61-FI#2 | 0.12801 | 0.0039442 | 0.00088902 | 0.0038427 | 103.0733 | 0.0022436 | 0.00052225 | 0.0021868 | 12.039 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12801 | 0.0039442 | 0.13117 | 0.0025483 | -0.04981 | 0.0024999 | SupCrit | 103.3004 | 0.0021868 | 1285.4698 | 0.001928 | 990.7461 | 1285.4698 | 1441.0053 | 0.552 | 2.8944 | 0.59578 | 1.104 | Flagged Warnings: | 1388.7703 | 0.001032 | 1865.1083 | 1388.7702 | 2296.0822 | 0.48002 | 0 | 3.0393 | 0.52721 | 0.96003 | Flagged Warnings: | 1265.2017 | 111.9498 | 0.78949 | 1410.1177 | 255.6273 | 0.60832 | 1369.7693 | 19.5931 | 0.23966 | [6 empty] | 1.2261 | 1.2175 | 0.24963 | 0.0011143 | 1.1541 | 1.1425 | 0.14794 | 0.00051473 | PseudoVoigtModel | PseudoVoigtModel | No | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 1:08:21 PM | 47301 | [11 empty] | 47301 | 0.9978 | 0.9978 | 0.99781 | 2022-10-28 | Sample | 2 (CLJD) | K21 | 61 |  | FI#2 | K21_61 | K21_61 | K21_61_FI#2 | K21-61_2 | Mount2_Kil | 74 | Mount2_Kil _74 | Light def | P | cluster | 4 | 4145 | 72.748 | 72.546 | 135 | 1920 | 1200 | 50 | [100 empty] | No
18 | K21-61-FI#3 | 0.14091 | 0.0039911 | 0.00096252 | 0.0038733 | 103.1059 | 0.0024291 | 0.00051707 | 0.0023787 | 12.052 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.14091 | 0.0039911 | 0.14425 | 0.0025734 | -0.026354 | 0.0025698 | SupCrit | 103.3341 | 0.0023787 | 1285.409 | 0.0019739 | 818.181 | 1285.4091 | 1234.184 | 0.55533 | 2.3638 | 0.67106 | 1.1107 | Flagged Warnings: | 1388.7432 | 0.0013275 | 1535.2189 | 1388.7431 | 1950.7789 | 0.49197 | 0 | 2.9301 | 0.54541 | 0.98393 | Flagged Warnings: | 1265.2428 | 111.5724 | 0.75643 | 1410.0774 | 223.4257 | 0.68792 | [9 empty] | 1.1886 | 1.1814 | 0.20949 | 0.0013575 | 1.1906 | 1.1765 | 0.18757 | 0.00064091 | PseudoVoigtModel | PseudoVoigtModel | No | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 1:27:18 PM | 48438 | [11 empty] | 48438 | 0.99779 | 0.99779 | 0.9978 | 2022-10-28 | Sample | 2 (CLJD) | K21 | 61 |  | FI#3 | K21_61 | K21_61 | K21_61_FI#3 | K21-61_3 | Mount2_Kil | 74 | Mount2_Kil _74 | Light def | P | cluster | 5 | 6592 | 91.637 | 91.592 | 126.991 | 1920 | 1200 | 50 | [100 empty] | No
19 | K21-63-FI#1 | 0.14289 | 0.0061223 | 0.0047369 | 0.0038788 | 103.1109 | 0.011955 | 0.00051143 | 0.01197 | 12.043 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.14289 | 0.0061223 | 0.14626 | 0.0053702 | -0.022772 | 0.0087642 | SupCrit | 103.341 | 0.01197 | 1285.3113 | 0.010263 | 126.1463 | 1285.3113 | 214.8594 | 0.62874 | 1.8769 | 0.66428 | 1.2575 | Flagged Warnings: | 1388.6523 | 0.0061615 | 236.0507 | 1388.6523 | 322.8394 | 0.53083 | 0 | 1.9097 | 0.53886 | 1.0617 | Flagged Warnings: | [15 empty] | 1.0407 | 1.0744 | 0.051195 | 0.0099685 | 1.1419 | 1.1256 | 0.15067 | 0.0044976 | PseudoVoigtModel | PseudoVoigtModel | No | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:18:52 PM | 51532 | [11 empty] | 51532 | 0.99777 | 0.99777 | 0.99778 | 2022-10-28 | Sample | 2 (CLJD) | K21 | 63 |  | FI#1 | K21_63 | K21_63 | K21_63_FI#1 | K21-63_1 | Mount2_Kil | 409 | Mount2_Kil _409 | Undef | P | isolated | 6 | 125960 | 522.807 | 306.762 | 119.119 | 1920 | 1200 | 50 |  | yes |  | maybe |  | melt film, weird shape, sulfide or spinel attached | [94 empty] | No
20 | K21-64-FI#1 | 0.12922 | 0.0039962 | 0.0010881 | 0.0038452 | 103.0764 | 0.0027462 | 0.00051241 | 0.002704 | 12.041 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12922 | 0.0039962 | 0.1324 | 0.0026261 | -0.047587 | 0.0027482 | SupCrit | 103.3069 | 0.002704 | 1285.4016 | 0.0024057 | 894.4253 | 1285.4017 | 1407.4798 | 0.58739 | 3.185 | 0.63707 | 1.1748 | Flagged Warnings: | 1388.7086 | 0.0012345 | 1646.2738 | 1388.7086 | 2156.2758 | 0.50434 | 0 | 2.5392 | 0.55934 | 1.0087 | Flagged Warnings: | 1265.1179 | 116.7717 | 0.89775 | 1410.0299 | 240.4895 | 0.65108 | 1370.3144 | 34.7192 | 0.25197 | [6 empty] | 1.2308 | 1.2461 | 0.2711 | 0.0013135 | 1.2 | 1.1807 | 0.20174 | 0.0006127 | PseudoVoigtModel | PseudoVoigtModel | No | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:37:00 PM | 52620 | [11 empty] | 52620 | 0.99777 | 0.99776 | 0.99777 | 2022-10-28 | Sample | 2 (CLJD) | K21 | 64 |  | FI#1 | K21_64 | K21_64 | K21_64_FI#1 | K21-64_1 | Mount2_Kil | 367 | Mount2_Kil _367 | Undef | P | isolated | 7 | 51222 | 291.608 | 223.65 | 3.988 | 1920 | 1200 | 50 | [5 empty] | same grain as 2, different than 3 and 4 | [94 empty] | No
21 | K21-64-FI#2 | 0.12717 | 0.0041446 | 0.0015571 | 0.003841 | 103.0712 | 0.0039297 | 0.00051288 | 0.0039048 | 12.044 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12717 | 0.0041446 | 0.13032 | 0.002858 | -0.051344 | 0.003423 | SupCrit | 103.3018 | 0.0039048 | 1285.4075 | 0.0034648 | 522.3146 | 1285.4075 | 822.3224 | 0.55999 | 2.4643 | 0.75343 | 1.12 | Flagged Warnings: | 1388.7094 | 0.0018008 | 941.4786 | 1388.7093 | 1236.1436 | 0.50636 | 0 | 2.3668 | 0.55536 | 1.0127 | Flagged Warnings: | 1265.1974 | 93.2932 | 0.88792 | 1410.0351 | 142.0417 | 0.68556 | [9 empty] | 1.3209 | 1.3632 | 0.35937 | 0.0021442 | 1.1926 | 1.1751 | 0.19502 | 0.0010757 | PseudoVoigtModel | PseudoVoigtModel | No | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:41:12 PM | 52872 | 1150.6872 | 353.6482 | 231.7962 | Spline | [5 empty] | 0.1718 | 0.069102 | 52872 | 0.99777 | 0.99776 | 0.99777 | 2022-10-28 | Sample | 2 (CLJD) | K21 | 64 |  | FI#2 | K21_64 | K21_64 | K21_64_FI#2 | K21-64_2 | Mount2_Kil | 367 | Mount2_Kil _367 | Undef | P | isolated | 8 | 50046 | 269.27 | 236.642 | 68.189 | 1920 | 1200 | 50 |  |  |  | maybe |  | sulfide? Round. Same grain as 1, diff than 3 and 4 | [94 empty] | No
22 | K21-64-FI#3 | 0.12679 | 0.003939 | 0.00087669 | 0.0038402 | 103.0702 | 0.0022125 | 0.0005146 | 0.0021567 | 12.051 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12679 | 0.003939 | 0.12994 | 0.0025442 | -0.052031 | 0.002487 | SupCrit | 103.3011 | 0.0021567 | 1285.3809 | 0.0017366 | 1351.5572 | 1285.381 | 2160.427 | 0.58561 | 3.1109 | 0.68293 | 1.1712 | Flagged Warnings: | 1388.6821 | 0.0012788 | 2473.8307 | 1388.682 | 3286.976 | 0.5132 | 0 | 3.8043 | 0.55149 | 1.0264 | Flagged Warnings: | 1265.1404 | 230.634 | 0.7723 | 1410.0237 | 360.1075 | 0.65273 | 1371.8182 | 13.1593 | 0.25646 | [6 empty] | 1.1619 | 1.1728 | 0.18966 | 0.00086657 | 1.1831 | 1.1633 | 0.18788 | 0.0004149 | PseudoVoigtModel | PseudoVoigtModel | No | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:52:14 PM | 53534 | 1150.6628 | 1111.3628 | 718.0259 | Spline | [5 empty] | 0.20402 | 0.08101 | 53534 | 0.99777 | 0.99776 | 0.99777 | 2022-10-28 | Sample | 2 (CLJD) | K21 | 64 |  | FI#3 | K21_64 | K21_64 | K21_64_FI#3 | K21-64_3 | Mount2_Kil | 388 | Mount2_Kil _388 | Undef | P | cluster | 10 | 26790 | 211.346 | 161.394 | 76.814 | 1920 | 1200 | 50 | [5 empty] | same grain as 4, different than 1 and 2 | [94 empty] | No
23 | K21-64-FI#4 | 0.10754 | 0.0039043 | 0.00084782 | 0.0038112 | 103.0216 | 0.0021397 | 0.00051539 | 0.0020813 | 12.06 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.10754 | 0.0039043 | 0.1105 | 0.0025384 | -0.087493 | 0.0024799 | SupCrit | 103.2524 | 0.0020813 | 1285.587 | 0.0018914 | 858.2545 | 1285.5871 | 1177.0048 | 0.53105 | 2.1735 | 0.54495 | 1.0621 | Flagged Warnings: | 1388.8395 | 0.00086856 | 1548.1143 | 1388.8395 | 1820.4506 | 0.46048 | 0 | 2.2147 | 0.51608 | 0.92096 | Flagged Warnings: | 1265.3366 | 125.0317 | 0.71672 | 1410.1454 | 203.191 | 0.60796 | [9 empty] | 1.0656 | 1.0857 | 0.069646 | 0.0012375 | 1.0662 | 1.0697 | 0.06101 | 0.00059489 | PseudoVoigtModel | PseudoVoigtModel | No | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:57:30 PM | 53850 | [11 empty] | 53850 | 0.99776 | 0.99776 | 0.99777 | 2022-10-28 | Sample | 2 (CLJD) | K21 | 64 |  | FI#4 | K21_64 | K21_64 | K21_64_FI#4 | K21-64_4 | Mount2_Kil | 388 | Mount2_Kil _388 | Undef | P | cluster | 11 | 6754 | 95.156 | 90.372 | 18.178 | 1920 | 1200 | 50 | [5 empty] | same grain as 3, different than 1 and 2 | [94 empty] | No
24 | K21-64-FI#5 | 0.1284 | 0.0039735 | 0.001008 | 0.0038435 | 103.0743 | 0.002544 | 0.00056859 | 0.0024852 | 12.072 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.1284 | 0.0039735 | 0.13157 | 0.0025932 | -0.049084 | 0.0026457 | SupCrit | 103.306 | 0.0024852 | 1285.3738 | 0.0021966 | 1000.3757 | 1285.3738 | 1575.1373 | 0.58949 | 3.1759 | 0.62979 | 1.179 | Flagged Warnings: | 1388.6799 | 0.0011626 | 1878.0687 | 1388.6799 | 2486.959 | 0.51284 | 0 | 2.8565 | 0.54466 | 1.0257 | Flagged Warnings: | 1265.1124 | 151.2963 | 0.83205 | 1410.0092 | 275.7144 | 0.67297 | 1370.6059 | 31.8622 | 0.25627 | [6 empty] | 1.1412 | 1.1573 | 0.16652 | 0.0011785 | 1.1797 | 1.1637 | 0.18427 | 0.00054613 | PseudoVoigtModel | PseudoVoigtModel | No | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 4:51:01 PM | 60661 | [11 empty] | 60661 | 0.99776 | 0.99775 | 0.99776 | 2022-10-28 | Sample | 2 (CLJD) | K21 | 64 |  | FI#5 | K21_64 | K21_64 | K21_64_FI#5 | K21-64_5 | Mount2_Kil | 388 | Mount2_Kil _388 | Undef | P | cluster | 12 | 2708 | 65 | 53.045 | 154.663 | 1920 | 1200 | 50 | [5 empty] | same grain as 3, different than 1 and 2 | [94 empty] | No
25 | K21-64-FI#6 | 0.12726 | 0.0040305 | 0.0012208 | 0.0038412 | 103.0714 | 0.0030808 | 0.00057202 | 0.0030341 | 12.071 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12726 | 0.0040305 | 0.13042 | 0.0026854 | -0.051167 | 0.0029314 | SupCrit | 103.3032 | 0.0030341 | 1285.3626 | 0.0026484 | 742.5474 | 1285.3627 | 1180.274 | 0.59289 | 2.7684 | 0.63881 | 1.1858 | Flagged Warnings: | 1388.6659 | 0.0014804 | 1383.7698 | 1388.6658 | 1829.3383 | 0.51457 | 0 | 2.69 | 0.53169 | 1.0291 | Flagged Warnings: | 1265.0391 | 82.8949 | 0.74739 | 1410.0034 | 199.4325 | 0.7052 | [9 empty] | 1.1401 | 1.1652 | 0.16608 | 0.0015969 | 1.1667 | 1.1533 | 0.17152 | 0.00074373 | PseudoVoigtModel | PseudoVoigtModel | No | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 4:55:53 PM | 60953 | 1150.6383 | 625.9673 | 388.5169 | Spline | [5 empty] | 0.20799 | 0.082457 | 60953 | 0.99776 | 0.99775 | 0.99776 | 2022-10-28 | Sample | 2 (CLJD) | K21 | 64 |  | FI#6 | K21_64 | K21_64 | K21_64_FI#6 | K21-64_6 | Mount2_Kil | 388 | Mount2_Kil _388 | Undef | P | cluster | 1 | 11325 | 128.109 | 112.556 | 81.301 | 1920 | 1200 | 50 | [5 empty] | same grain as 3, different than 1 and 2 | [94 empty] | No
26 | K21-64-FI#7 | 0.12913 | 0.003974 | 0.0010042 | 0.003845 | 103.0762 | 0.0025344 | 0.00057545 | 0.0024738 | 12.067 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12913 | 0.003974 | 0.13231 | 0.0025916 | -0.04775 | 0.0026397 | SupCrit | 103.3079 | 0.0024738 | 1285.3415 | 0.0020487 | 1181.5734 | 1285.3415 | 1933.0424 | 0.60632 | 3.2917 | 0.65483 | 1.2126 | Flagged Warnings: | 1388.6495 | 0.0013864 | 2189.8855 | 1388.6494 | 2925.0755 | 0.51139 | 0 | 3.9333 | 0.57386 | 1.0228 | Flagged Warnings: | 1265.1043 | 207.7575 | 0.81419 | 1410.0098 | 342.6717 | 0.6649 | 1369.2366 | 14.9568 | 0.25559 | [6 empty] | 1.1033 | 1.1417 | 0.12522 | 0.0010263 | 1.1546 | 1.1461 | 0.15816 | 0.00046705 | PseudoVoigtModel | PseudoVoigtModel | No | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 5:00:34 PM | 61234 | 1150.6383 | 1097.9354 | 693.8675 | Spline | [5 empty] | 0.226 | 0.088962 | 61234 | 0.99776 | 0.99775 | 0.99776 | 2022-10-28 | Sample | 2 (CLJD) | K21 | 64 |  | FI#7 | K21_64 | K21_64 | K21_64_FI#7 | K21-64_7 | Mount2_Kil | 388 | Mount2_Kil _388 | Undef | P | cluster | 2 | 40012 | 273.534 | 186.247 | 75.189 | 1920 | 1200 | 50 | [5 empty] | same grain as 3, different than 1 and 2 | [94 empty] | No
27 | K21-64-FI#8 | 0.12179 | 0.0043373 | 0.0020338 | 0.0038309 | 103.0576 | 0.0051327 | 0.00057929 | 0.0051114 | 12.058 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12179 | 0.0043373 | 0.12489 | 0.0031491 | -0.061183 | 0.0041912 | SupCrit | 103.2894 | 0.0051114 | 1285.3928 | 0 | 158.961 | 1285.3928 | 251.5428 | 0.61842 | 1.5074 | 0.5212 | 1.2368 | Flagged Warnings: | 1388.6821 | 0.0051114 | 296.4846 | 1388.6821 | 394.7554 | 0.51386 | 0 | 1.9947 | 0.55335 | 1.0277 | Flagged Warnings: | [15 empty] | 1.1148 | 1.1006 | 0.14193 | 0.0077807 | 1.1864 | 1.1738 | 0.19161 | 0.0034663 | PseudoVoigtModel | PseudoVoigtModel | No | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 5:05:53 PM | 61553 | 1150.6383 | 102.3222 | 71.9385 | Spline | [5 empty] | 0.15832 | 0.064027 | 61553 | 0.99776 | 0.99775 | 0.99776 | 2022-10-28 | Sample | 2 (CLJD) | K21 | 64 |  | FI#8 | K21_64 | K21_64 | K21_64_FI#8 | K21-64_8 | Mount2_Kil | 388 | Mount2_Kil _388 | Undef | P | cluster | 3 | 212931 | 612.64 | 442.531 | 87.836 | 1920 | 1200 | 50 | [5 empty] | same grain as 3, different than 1 and 2 | [94 empty] | No
28 | K21-65-FI#1-10mW | 0.13694 | 0.0040119 | 0.0010622 | 0.0038631 | 103.0959 | 0.0026806 | 0.0007328 | 0.0025794 | 8.0034 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13694 | 0.0040119 | 0.14022 | 0.0026216 | -0.033537 | 0.0027153 | SupCrit | 103.309 | 0.0025794 | 1285.6146 | 0.0022859 | 954.222 | 1285.6147 | 1462.8369 | 0.57756 | 2.7907 | 0.6147 | 1.1551 | Flagged Warnings: | 1388.9237 | 0.0011871 | 1808.7073 | 1388.9237 | 2267.6612 | 0.4763 | 0 | 2.6936 | 0.59402 | 0.95261 | Flagged Warnings: | 1265.3734 | 163.0757 | 0.83055 | 1410.2912 | 248.4916 | 0.68525 | 1370.597 | 46.3428 | 0.23807 | [6 empty] | 1.0313 | 1.0478 | 0.036202 | 0.0013963 | 1.2418 | 1.2572 | 0.23029 | 0.00060939 | PseudoVoigtModel | PseudoVoigtModel | No | November 1, 2022 | November | 1 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:06:29 PM | 45029.2 | [11 empty] | 45029.2 | 0.99794 | 0.99793 | 0.99794 | 2022-11-01 | Sample | 2 (CLJD) | K21 | 65 |  | FI#1 | K21_65 | K21_65 | K21_65_FI#1 | K21-65_1 | Mount2_Kil | 334 | Mount2_Kil _334 | Def | P | isolated | 1 | 681060 | 981.639 | 883.372 | 0.655 | 1920 | 1200 | 50 |  | yes | yes |  |  | melt film, tiny spins | 0.0013141 | 6.3822e-05 | 0.0002297 | 3.2425e-06 | 0.0033164 | 0.00057971 | 5.897e-06 | 0.00060247 | 2.9844 | 0 | 0 | 0 |  |  | 0.0013141 | 6.3822e-05 | 0.0013331 | 0.00010108 | 0.002386 | 0.00030441 | 0.0033801 | 0.00060247 | 0.016113 | 0.00047972 | 348.1477 | 0.016113 | 535.6223 | 0.0083959 | 0.85693 | 0.024397 | 0.016792 | 0.015247 | 0.00039211 | 673.0471 | 0.015247 | 842.4568 | 0.0036885 | 0 | 0.73222 | 0.021741 | 0.007377 | 0.043214 | 56.6312 | 0.049509 | 0.017818 | 98.5771 | 0.023291 | 0.19682 | 14.6036 | 0.0013333 | [6 empty] | 0.011148 | 0.021482 | 0.012883 | 0.00060101 | 0.013146 | 0.014455 | 0.011628 | 0.00026245 | 0 | 0 | 0 | 0 | 1432.103 | [9 empty] | 1432.103 | 3.3393e-06 | 3.2822e-06 | 3.3965e-06 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Yes
29 | K21-66-FI#3-bump | 0.056227 | 0.010183 | 0.0094365 | 0.0038263 | 102.8922 | 0.023815 | 0.00072143 | 0.023853 | 12.022 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.056227 | 0.010183 | 0.059139 | 0.0097004 | -0.18445 | 0.018268 | SupCrit | 103.1055 | 0.023853 | 1286.1384 | 0.023157 | 553.21 | 1286.1384 | 799.318 | 0.46013 | 18.9514 | 0.99999 | 0.92025 | Flagged Warnings: | 1389.244 | 0.0057233 | 859.4675 | 1389.2439 | 822.7239 | 0.40724 | 0 | 5.3706 | 0.29263 | 0.81448 | Flagged Warnings: | 1266.0963 | 227.5062 | 1.3843 | 1410.5359 | 111.3009 | 0.40774 | [9 empty] | 1.0403 | 1.0618 | 0.03708 | 0.0016635 | 1.2551 | 1.3194 | 0.20781 | 0.00094765 | PseudoVoigtModel | PseudoVoigtModel | No | November 1, 2022 | November | 1 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 1:21:49 PM | 48109 | [11 empty] | 48109 | 0.99793 | 0.99792 | 0.99794 | 2022-11-01 | Sample | 2 (CLJD) | K21 | 66 |  | FI#3 | K21_66 | K21_66 | K21_66_FI#3 | K21-66_3 | Mount2_Kil | 289 | Mount2_Kil _289 | Undef | S | plane | 1 | 3984 | 76.246 | 66.529 | 114.572 | 1920 | 1200 | 50 |  |  | yes |  |  | spin? | [94 empty] | No
30 | K21-66-FI#4 | 0.07836 | 0.0081853 | 0.0072481 | 0.0038032 | 102.948 | 0.018292 | 0.00072119 | 0.018316 | 12.02 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.07836 | 0.0081853 | 0.081225 | 0.0076367 | -0.14219 | 0.013869 | SupCrit | 103.1615 | 0.018316 | 1285.9748 | 0.017852 | 794.8004 | 1285.9749 | 1087.6844 | 0.43576 | 17.2789 | 0.99997 | 0.87152 | Flagged Warnings: | 1389.1364 | 0.0040949 | 1155.1563 | 1389.1364 | 1227.8248 | 0.43527 | 0 | 5.3591 | 0.39776 | 0.87053 | Flagged Warnings: | 1265.8377 | 263.2254 | 1.3131 | 1410.397 | 263.3049 | 0.21189 | [9 empty] | 1.2604 | 1.2857 | 0.22696 | 0.0010965 | 1.0754 | 1.1051 | 0.065635 | 0.00075361 | PseudoVoigtModel | PseudoVoigtModel | No | November 1, 2022 | November | 1 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 1:27:10 PM | 48430 | 1151.2403 | 298.3732 | 165.9713 | Spline | [5 empty] | 0.12886 | 0.05274 | 48430 | 0.99793 | 0.99792 | 0.99794 | 2022-11-01 | Sample | 2 (CLJD) | K21 | 66 |  | FI#4 | K21_66 | K21_66 | K21_66_FI#4 | K21-66_4 | Mount2_Kil | 289 | Mount2_Kil _289 | Undef | S | plane | 2 | 4639 | 90.382 | 65.351 | 107.976 | 1920 | 1200 | 50 |  |  | yes | maybe |  | spin and sulf maybe | [94 empty] | No
31 | K21-68-FI#1 | 0.05327 | 0.007676 | 0.0066514 | 0.0038313 | 102.8847 | 0.016786 | 0.00071853 | 0.016806 | 12.058 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.05327 | 0.007676 | 0.056194 | 0.0070446 | -0.19015 | 0.012978 | SupCrit | 103.0983 | 0.016806 | 1286.1151 | 0.014727 | 241.0902 | 1286.1151 | 271.4637 | 0.44314 | 4.7218 | 0.50299 | 0.88629 | Flagged Warnings: | 1389.2134 | 0.0080961 | 412.126 | 1389.2133 | 407.8215 | 0.42245 | 0 | 4.5089 | 0.2829 | 0.84489 | Flagged Warnings: |  |  |  | 1410.4037 | 52.8981 | 0.49964 | [9 empty] | 1.0902 | 1.1324 | 0.07994 | 0.0036762 | 1.2041 | 1.2595 | 0.17243 | 0.0020501 | PseudoVoigtModel | PseudoVoigtModel | No | November 1, 2022 | November | 1 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 1:54:38 PM | 50078 | [11 empty] | 50078 | 0.99793 | 0.99792 | 0.99794 | 2022-11-01 | Sample | 2 (CLJD) | K21 | 68 |  | FI#1 | K21_68 | K21_68 | K21_68_FI#1 | K21-68_1 | Mount2_Kil | 220 | Mount2_Kil _220 | Light def | S | plane | 1 | 4989 | 87.523 | 72.577 | 0.032 | 1920 | 1200 | 50 | [5 empty] | crystal looks overheated, with the oxide planes | [94 empty] | No
32 | K21-68-FI#2 | 0.065263 | 0.011105 | 0.010429 | 0.0038139 | 102.915 | 0.026321 | 0.00071844 | 0.026366 | 12.049 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.065263 | 0.011105 | 0.068144 | 0.010678 | -0.16712 | 0.020041 | SupCrit | 103.1287 | 0.026366 | 1286.1297 | 0.022363 | 151.7673 | 1286.1297 | 169.0731 | 0.46955 | 4.4188 | 0.31855 | 0.9391 | Flagged Warnings: | 1389.2584 | 0.013965 | 276.6441 | 1389.2584 | 266.0788 | 0.38859 | 0 | 4.513 | 0.43393 | 0.77718 | Flagged Warnings: |  |  |  | 1410.5495 | 266.2858 | 0.092337 | [9 empty] | 1.0677 | 1.0978 | 0.063548 | 0.0061878 | 1.2531 | 1.3077 | 0.19667 | 0.0028093 | PseudoVoigtModel | PseudoVoigtModel | No | November 1, 2022 | November | 1 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:02:04 PM | 50524 | [11 empty] | 50524 | 0.99793 | 0.99792 | 0.99793 | 2022-11-01 | Sample | 2 (CLJD) | K21 | 68 |  | FI#2 | K21_68 | K21_68 | K21_68_FI#2 | K21-68_1 | Mount2_Kil | 220 | Mount2_Kil _220 | Light def | S | plane | 2 | 6148 | 102.129 | 76.647 | 177.994 | 1920 | 1200 | 50 | [5 empty] | crystal looks overheated, with the oxide planes | [94 empty] | No
33 | K21-69-FI#1 | 0.11842 | 0.0056038 | 0.0040951 | 0.0038253 | 103.0491 | 0.010335 | 0.0007194 | 0.010331 | 11.989 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11842 | 0.0056038 | 0.12148 | 0.0047742 | -0.067379 | 0.0077731 | SupCrit | 103.2634 | 0.010331 | 1285.7192 | 0.0095745 | 1677.1779 | 1285.7193 | 2718.218 | 0.56506 | 24.0567 | 0.80079 | 1.1301 | Flagged Warnings: | 1388.9827 | 0.0038811 | 2975.9049 | 1388.9827 | 3512.3777 | 0.4575 | 0 | 16.3692 | 0.54234 | 0.915 | Flagged Warnings: | 1265.8491 | 633.9058 | 1.6948 | 1410.324 | 388.9154 | 0.50319 | [9 empty] | 1.1346 | 1.0848 | 0.15207 | 0.00067382 | 1.1917 | 1.245 | 0.17543 | 0.00030747 | PseudoVoigtModel | PseudoVoigtModel | No | November 1, 2022 | November | 1 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 2:30:14 PM | 52214 | [11 empty] | 52214 | 0.99793 | 0.99792 | 0.99793 | 2022-11-01 | Sample | 2 (CLJD) | K21 | 69 |  | FI#1 | K21_69 | K21_69 | K21_69_FI#1 | K21-69_1 | Mount2_Kil | 166 | Mount2_Kil _166 | Light def? unclear, could be synneusis | P | cluster | 1 | 26289 | 190.373 | 175.824 | 113.033 | 1920 | 1200 | 50 | [5 empty] | Seem at the edge of grain boundary between two grains attached, all of them are sort of oblong, rectangularish | [94 empty] | No
34 | K21-69-FI#2 | 0.13999 | 0.013242 | 0.012664 | 0.0038709 | 103.1036 | 0.03196 | 0.00072113 | 0.032019 | 12 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13999 | 0.013242 | 0.14332 | 0.013079 | -0.028004 | 0.023008 | SupCrit | 103.3182 | 0.032019 | 1285.7021 | 0 | 213.4555 | 1285.7021 | 438.5487 | 0.65531 | 18.8613 | 1 | 1.3106 | Flagged Warnings: | 1389.0203 | 0.032019 | 357.0189 | 1389.0203 | 366.1114 | 0.45529 | 0 | 18.9819 | 0.16998 | 0.91058 | Flagged Warnings: | 1266.4915 | 255.3528 | 2.0011 | [12 empty] | 1.1098 | 1.0876 | 0.14394 | 0.00614 | 1.1599 | 1.2552 | 0.14556 | 0.0025505 | PseudoVoigtModel | PseudoVoigtModel | No | November 1, 2022 | November | 1 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:52:57 PM | 53577 | [11 empty] | 53577 | 0.99792 | 0.99792 | 0.99793 | 2022-11-01 | Sample | 2 (CLJD) | K21 | 69 |  | FI#2 | K21_69 | K21_69 | K21_69_FI#2 | K21-69_2 | Mount2_Kil | 166 | Mount2_Kil _166 | Light def? unclear, could be synneusis | P | cluster | 2 | 10250 | 127.452 | 102.397 | 21.645 | 1920 | 1200 | 50 | [5 empty] | Seem at the edge of grain boundary between two grains attached, all of them are sort of oblong, rectangularish | [94 empty] | No
35 | K21-69-FI#3 | 0.099927 | 0.004825 | 0.0029671 | 0.0038049 | 103.0024 | 0.0074881 | 0.00072109 | 0.0074689 | 12.039 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.099927 | 0.004825 | 0.10285 | 0.0038235 | -0.10165 | 0.0058593 | SupCrit | 103.2169 | 0.0074689 | 1285.8951 | 0.0058405 | 933.6874 | 1285.8951 | 1252.4886 | 0.45617 | 9.9467 | 0.85679 | 0.91235 | Flagged Warnings: | 1389.1121 | 0.0046554 | 1479.4582 | 1389.1121 | 1700.1681 | 0.46208 | 0 | 10.185 | 0.44687 | 0.92416 | Flagged Warnings: | 1265.8081 | 179.4958 | 1.3576 | 1410.4811 | 248.4394 | 0.72818 | [9 empty] | 1.1118 | 1.1324 | 0.10198 | 0.00097715 | 1.0368 | 1.0489 | 0.033976 | 0.00062466 | PseudoVoigtModel | PseudoVoigtModel | No | November 1, 2022 | November | 1 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 3:00:02 PM | 54002 | [11 empty] | 54002 | 0.99792 | 0.99791 | 0.99793 | 2022-11-01 | Sample | 2 (CLJD) | K21 | 69 |  | FI#3 | K21_69 | K21_69 | K21_69_FI#3 | K21-69_3 | Mount2_Kil | 166 | Mount2_Kil _166 | Light def? unclear, could be synneusis | P | cluster | 3 | 13604 | 142.376 | 121.658 | 22.676 | 1920 | 1200 | 50 | [5 empty] | Seem at the edge of grain boundary between two grains attached, all of them are sort of oblong, rectangularish | [94 empty] | No
36 | K21-69-FI#5 | 0.11917 | 0.0054657 | 0.0039029 | 0.0038265 | 103.051 | 0.0098497 | 0.0007234 | 0.0098436 | 12.05 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11917 | 0.0054657 | 0.12224 | 0.0046077 | -0.065998 | 0.0074267 | SupCrit | 103.2659 | 0.0098436 | 1285.7538 | 0.0086305 | 465.9205 | 1285.7539 | 686.6246 | 0.54746 | 4.6788 | 0.64929 | 1.0949 | Flagged Warnings: | 1389.0198 | 0.0047341 | 864.9285 | 1389.0197 | 1021.8786 | 0.4505 | 0 | 5.8128 | 0.58402 | 0.90099 | Flagged Warnings: | 1265.5417 | 92.6315 | 1.3267 | 1410.4559 | 110.2207 | 0.78157 | [9 empty] | 1.1577 | 1.103 | 0.1727 | 0.00235 | 1.126 | 1.1748 | 0.11348 | 0.0010417 | PseudoVoigtModel | PseudoVoigtModel | No | November 1, 2022 | November | 1 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 3:16:23 PM | 54983 | [11 empty] | 54983 | 0.99792 | 0.99791 | 0.99793 | 2022-11-01 | Sample | 2 (CLJD) | K21 | 69 |  | FI#5 | K21_69 | K21_69 | K21_69_FI#5 | K21-69_5 | Mount2_Kil | 166 | Mount2_Kil _166 | Light def? unclear, could be synneusis | P | cluster | 5 | 6484 | 106.829 | 77.28 | 25.122 | 1920 | 1200 | 50 | [5 empty] | Seem at the edge of grain boundary between two grains attached, all of them are sort of oblong, rectangularish | [94 empty] | No
37 | K21-69-FI#6 | 0.10885 | 0.009599 | 0.0088094 | 0.0038125 | 103.025 | 0.022232 | 0.00072774 | 0.022267 | 12.093 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.10885 | 0.009599 | 0.11182 | 0.0091894 | -0.085063 | 0.016437 | SupCrit | 103.2403 | 0.022267 | 1285.8267 | 0.019 | 367.8959 | 1285.8267 | 603.531 | 0.54693 | 9.0246 | 0.90126 | 1.0939 | Flagged Warnings: | 1389.067 | 0.011611 | 619.4763 | 1389.067 | 679.5558 | 0.44214 | 0 | 10.8101 | 0.44043 | 0.88428 | Flagged Warnings: | 1265.9699 | 109.7406 | 1.6375 | 1410.4284 | 86.3993 | 0.43539 | [9 empty] | 1.2006 | 1.1824 | 0.21942 | 0.0029733 | 1.0463 | 1.0686 | 0.040971 | 0.0014275 | PseudoVoigtModel | PseudoVoigtModel | No | November 1, 2022 | November | 1 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 3:43:02 PM | 56582 |  |  |  |  | 1083.1917 | 1712.3743 | 100.217 | Spline | 1.3346 |  |  | 56582 | 0.99791 | 0.99791 | 0.99792 | 2022-11-01 | Sample | 2 (CLJD) | K21 | 69 |  | FI#6 | K21_69 | K21_69 | K21_69_FI#6 | K21-69_6 | Mount2_Kil | 166 | Mount2_Kil _166 | Light def? unclear, could be synneusis | P | cluster | 6 | 6811 | 101.105 | 85.773 | 113.359 | 1920 | 1200 | 50 | [5 empty] | Seem at the edge of grain boundary between two grains attached, all of them are sort of oblong, rectangularish | [94 empty] | No
38 | K21-70-FI#1 | 0.098727 | 0.0043504 | 0.0021107 | 0.0038041 | 102.9994 | 0.0053267 | 0.00074231 | 0.0052858 | 12.022 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.098727 | 0.0043504 | 0.10164 | 0.0031978 | -0.10388 | 0.0043854 | SupCrit | 103.2164 | 0.0052858 | 1285.9055 | 0.0046218 | 801.3094 | 1285.9055 | 1118.4071 | 0.49428 | 7.4667 | 0.76418 | 0.98856 | Flagged Warnings: | 1389.122 | 0.0025649 | 1300.5572 | 1389.1219 | 1495.6154 | 0.45483 | 0 | 4.5717 | 0.49026 | 0.90965 | Flagged Warnings: | 1265.6681 | 243.8466 | 1.473 | 1410.4394 | 182.3771 | 0.48553 | [9 empty] | 1.1065 | 1.1178 | 0.10529 | 0.0012337 | 1.0526 | 1.0672 | 0.047876 | 0.00069943 | PseudoVoigtModel | PseudoVoigtModel | No | November 1, 2022 | November | 1 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 4:39:25 PM | 59965 | [11 empty] | 59965 | 0.9979 | 0.99789 | 0.9979 | 2022-11-01 | Sample | 2 (CLJD) | K21 | 70 |  | FI#1 | K21_70 | K21_70 | K21_70_FI#1 | K21-70_1 | Mount2_Kil | 128 | Mount2_Kil _128 | Undef | P | isolated | 1 | 40546 | 233.456 | 221.133 | 27.128 | 1920 | 1200 | 50 |  |  | yes |  |  | unclear if spin or sulf | [94 empty] | No
39 | K21-71-FI#1-12mwx1 | 0.139 | 0.0040593 | 0.0012176 | 0.0038689 | 103.1011 | 0.003073 | 0.00060447 | 0.0030177 | 8.9987 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.139 | 0.0040593 | 0.14232 | 0.0026869 | -0.029814 | 0.0029135 | SupCrit | 103.3092 | 0.0030177 | 1285.6433 | 0.002665 | 892.7297 | 1285.6434 | 1390.563 | 0.58911 | 3.0348 | 0.59834 | 1.1782 | Flagged Warnings: | 1388.9526 | 0.0014132 | 1669.6272 | 1388.9526 | 2137.0095 | 0.48547 | 0 | 3.1657 | 0.59638 | 0.97094 | Flagged Warnings: | 1265.4235 | 140.4322 | 0.7856 | 1410.3118 | 232.3978 | 0.6656 | [9 empty] | 1.0413 | 1.0415 | 0.048371 | 0.0014282 | 1.2235 | 1.2489 | 0.21709 | 0.00063166 | PseudoVoigtModel | PseudoVoigtModel | No | November 2, 2022 | November | 2 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 11:50:29 AM | 43299.3333 | 1151.0907 | 95.068 | 69.0343 | Spline | [5 empty] | 0.026415 | 0.011284 | 43299.3333 | 0.99799 | 0.99798 | 0.99799 | 2022-11-02 | Sample | 2 (CLJD) | K21 | 71 |  | FI#1 | K21_71 | K21_71 | K21_71_FI#1 | K21-71_1 | Mount2_Kil | 105 | Mount2_Kil _105 | Def | P | isolated | 2 | 8097 | 109.785 | 93.905 | 98.447 | 1920 | 1200 | 50 |  |  | yes |  |  |  | 0.0054477 | 4.9325e-05 | 0.00018565 | 1.3982e-05 | 0.013748 | 0.00046854 | 2.4785e-06 | 0.00047946 | 3.2815 | 0 | 0 | 0 |  |  | 0.0054477 | 4.9325e-05 | 0.0055295 | 8.7535e-05 | 0.0098765 | 0.00026143 | 0.013252 | 0.00047946 | 0.032522 | 0.00044757 | 312.0529 | 0.032522 | 506.0531 | 0.0064491 | 0.79091 | 0.024703 | 0.012898 | 0.019599 | 0.00019548 | 601.1053 | 0.019599 | 775.6293 | 0.0037743 | 0 | 0.74679 | 0.015447 | 0.0075487 | 0.048098 | 52.4592 | 0.078524 | 0.02996 | 75.6058 | 0.023904 | [9 empty] | 0.042691 | 0.016077 | 0.049716 | 0.00038196 | 0.017781 | 0.010337 | 0.017937 | 0.00017106 | 0 | 0 | 0 | 0 | 506.2575 | 0.053016 | 43.7005 | 26.8821 |  |  |  |  | 0.0022995 | 0.00097089 | 506.2575 | 5.2406e-06 | 5.2173e-06 | 5.2639e-06 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Yes
40 | K21-72-FI#1 | 0.015708 | 0.016489 | 0.016013 | 0.003932 | 102.7899 | 0.040413 | 0.00059305 | 0.040492 | 12.072 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.015708 | 0.016489 | 0.018932 | 0.016024 | -0.26356 | 0.031767 | SupCrit | 102.9997 | 0.040492 | 1286.4902 | 0.036418 | 85.7951 | 1286.4902 | 74.514 | 0.35167 | 3.1185 | 0.42802 | 0.70334 | Flagged Warnings: | 1389.4898 | 0.017701 | 114.5585 | 1389.4898 | 112.6124 | 0.42483 | 0 | 2.6819 | 0.24801 | 0.84965 | Flagged Warnings: | [15 empty] | 1.34 | 1.4013 | 0.23914 | 0.0081979 | 1.1952 | 1.2099 | 0.16587 | 0.0074168 | PseudoVoigtModel | PseudoVoigtModel | No | November 2, 2022 | November | 2 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:39:45 PM | 45585 | [11 empty] | 45585 | 0.99796 | 0.99796 | 0.99797 | 2022-11-02 | Sample | 2 (CLJD) | K21 | 72 |  | FI#1 | K21_72 | K21_72 | K21_72_FI#1 | K21-72_1 | Mount2_Kil | 68 | Mount2_Kil _68 | Unclear, may be synneusis | P | cluster | 1 | 8922 | 120.44 | 94.32 | 24.171 | 1920 | 1200 | 50 | [5 empty] | can't tell what kind of cluster. | [94 empty] | No
41 | K21-72-FI#2 | 0.097431 | 0.0048181 | 0.0029576 | 0.0038034 | 102.9961 | 0.0074642 | 0.00059314 | 0.0074558 | 12.054 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.097431 | 0.0048181 | 0.10034 | 0.0038153 | -0.10631 | 0.0058527 | SupCrit | 103.2066 | 0.0074558 | 1285.9037 | 0.0062607 | 303.6617 | 1285.9038 | 413.9407 | 0.50802 | 3.1057 | 0.64095 | 1.016 | Flagged Warnings: | 1389.1104 | 0.0040487 | 507.2537 | 1389.1104 | 602.7242 | 0.47106 | 0 | 2.8372 | 0.48413 | 0.94211 | Flagged Warnings: | 1265.6945 | 28.243 | 0.43043 | 1410.4627 | 79.5487 | 0.67172 | [9 empty] | 1.0494 | 1.0498 | 0.050211 | 0.003346 | 1.0327 | 1.0427 | 0.030833 | 0.0018573 | PseudoVoigtModel | PseudoVoigtModel | No | November 2, 2022 | November | 2 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:44:56 PM | 45896 | [11 empty] | 45896 | 0.99796 | 0.99796 | 0.99797 | 2022-11-02 | Sample | 2 (CLJD) | K21 | 72 |  | FI#2 | K21_72 | K21_72 | K21_72_FI#2 | K21-72_2 | Mount2_Kil | 68 | Mount2_Kil _68 | Unclear, may be synneusis | P | cluster | 2 | 3648 | 71.547 | 64.919 | 50.52 | 1920 | 1200 | 50 | [5 empty] | can't tell what kind of cluster. | [94 empty] | No
42 | K21-74-FI#1 | 0.040963 | 0.010509 | 0.0097762 | 0.0038567 | 102.8536 | 0.024672 | 0.00058597 | 0.024716 | 12.002 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.040963 | 0.010509 | 0.04396 | 0.010004 | -0.21399 | 0.019122 | SupCrit | 103.0655 | 0.024716 | 1286.3391 | 0.021826 | 664.8736 | 1286.3391 | 648.3951 | 0.45808 | 15.164 | 6.0908e-08 | 0.91615 | Flagged Warnings: | 1389.4046 | 0.011598 | 1091.1078 | 1389.4046 | 1006.2022 | 0.41121 | 0 | 9.4174 | 0.15733 | 0.82242 | Flagged Warnings: |  |  |  | 1410.6684 | 146.8017 | 0.46154 | [9 empty] | 1.2331 | 1.2478 | 0.21354 | 0.0013779 | 1.1828 | 1.184 | 0.15037 | 0.00075375 | PseudoVoigtModel | PseudoVoigtModel | No | November 2, 2022 | November | 2 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 1:21:19 PM | 48079 | [11 empty] | 48079 | 0.99794 | 0.99794 | 0.99795 | 2022-11-02 | Sample | 2 (CLJD) | K21 | 74 |  | FI#1 | K21_74 | K21_74 | K21_74_FI#1 | K21-74_1 | Mount2_Kil | 387 | Mount2_Kil _387 | Def | S | plane | 1 | 19074 | 164.171 | 147.93 | 152.272 | 1920 | 1200 | 50 |  |  | yes |  |  | plane 1 | [94 empty] | No
43 | K21-74-FI#2 | 0.051112 | 0.0062998 | 0.0049979 | 0.0038352 | 102.8792 | 0.012613 | 0.00058556 | 0.012626 | 12.015 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.051112 | 0.0062998 | 0.054047 | 0.0055256 | -0.19432 | 0.0098526 | SupCrit | 103.0913 | 0.012626 | 1286.2422 | 0.011516 | 715.0566 | 1286.2422 | 805.1378 | 0.4529 | 11.0093 | 0.44574 | 0.9058 | Flagged Warnings: | 1389.3336 | 0.0051753 | 1145.3109 | 1389.3335 | 1098.0338 | 0.42341 | 0 | 10.3557 | 0.18547 | 0.84682 | Flagged Warnings: |  |  |  | 1410.6518 | 126.1111 | 0.54919 | [9 empty] | 1.1308 | 1.1837 | 0.11845 | 0.0012668 | 1.0966 | 1.0934 | 0.081762 | 0.00073938 | PseudoVoigtModel | PseudoVoigtModel | No | November 2, 2022 | November | 2 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 1:25:25 PM | 48325 | [11 empty] | 48325 | 0.99794 | 0.99794 | 0.99795 | 2022-11-02 | Sample | 2 (CLJD) | K21 | 74 |  | FI#2 | K21_74 | K21_74 | K21_74_FI#2 | K21-74_2 | Mount2_Kil | 387 | Mount2_Kil _387 | Def | S | plane | 2 | 20586 | 194.081 | 135.051 | 15.295 | 1920 | 1200 | 50 |  |  | yes |  |  | plane 1 | [94 empty] | No
44 | K21-74-FI#3 | 0.029266 | 0.018763 | 0.018355 | 0.0038878 | 102.8241 | 0.046324 | 0.00058442 | 0.046416 | 12.022 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.029266 | 0.018763 | 0.032356 | 0.018353 | -0.23684 | 0.036057 | SupCrit | 103.0363 | 0.046416 | 1286.4587 | 0.042147 | 320.2105 | 1286.4587 | 207.0213 | 0.20579 | 7.7115 | 1 | 0.41159 | Flagged Warnings: | 1389.495 | 0.019442 | 255.4708 | 1389.495 | 223.6275 | 0.40502 | 0 | 7.0102 | 0.046395 | 0.81004 | Flagged Warnings: | [15 empty] | 1.4427 | 1.5321 | 0.18223 | 0.0012854 | 1.2069 | 1.2458 | 0.16759 | 0.0031708 | PseudoVoigtModel | PseudoVoigtModel | No | November 2, 2022 | November | 2 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 1:31:55 PM | 48715 | [11 empty] | 48715 | 0.99794 | 0.99793 | 0.99795 | 2022-11-02 | Sample | 2 (CLJD) | K21 | 74 |  | FI#3 | K21_74 | K21_74 | K21_74_FI#3 | K21-74_3 | Mount2_Kil | 387 | Mount2_Kil _387 | Def | S | plane | 3 | 5844 | 90.309 | 82.393 | 8.305 | 1920 | 1200 | 50 |  |  | yes |  |  | plane 1 | [94 empty] | No
45 | K21-74-FI#4 | 0.034457 | 0.027333 | 0.027057 | 0.0038732 | 102.8372 | 0.068285 | 0.00058392 | 0.068423 | 11.998 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.034457 | 0.027333 | 0.037503 | 0.026951 | -0.22668 | 0.052916 | SupCrit | 103.0496 | 0.068423 | 1286.2084 | 0.062144 | 163.2337 | 1286.2084 | 217.4379 | 0.47048 | 10.2602 | 0.76957 | 0.94097 | Flagged Warnings: | 1389.2581 | 0.028633 | 247.2782 | 1389.258 | 248.3445 | 0.47182 | 0 | 11.113 | 7.7433e-12 | 0.94364 | Flagged Warnings: |  |  |  | 1410.2703 | 89.6109 | 1.2384 | [9 empty] | 1.0652 | 1.0954 | 0.061368 | 0.0057646 | 1.1673 | 1.1576 | 0.15785 | 0.0038161 | PseudoVoigtModel | PseudoVoigtModel | No | November 2, 2022 | November | 2 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 1:36:54 PM | 49014 | [11 empty] | 49014 | 0.99794 | 0.99793 | 0.99794 | 2022-11-02 | Sample | 2 (CLJD) | K21 | 74 |  | FI#4 | K21_74 | K21_74 | K21_74_FI#4 | K21-74_4 | Mount2_Kil | 395 | Mount2_Kil _395 | Def, unclear which grain is which | S | plane | 4 | 7478 | 99.559 | 95.635 | 14.227 | 1920 | 1200 | 50 |  |  | yes |  |  | plane 2 | [94 empty] | No
46 | K21-74-FI#5 | 0.03358 | 0.0086137 | 0.0076835 | 0.0038758 | 102.835 | 0.019391 | 0.00058313 | 0.019422 | 12.0785 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.03358 | 0.0086137 | 0.036634 | 0.0079991 | -0.2284 | 0.015154 | SupCrit | 103.0477 | 0.019422 | 1286.333 | 0.018207 | 373.8179 | 1286.3331 | 390.4145 | 0.39594 | 7.299 | 0.60017 | 0.79188 | Flagged Warnings: | 1389.3808 | 0.0067426 | 560.5108 | 1389.3808 | 498.3198 | 0.41356 | 0 | 6.9319 | 0.023559 | 0.82712 | Flagged Warnings: | 1265.8358 | 368.1537 | 0.10251 | 1410.6023 | 63.8933 | 0.4445 | [9 empty] | 1.2618 | 1.333 | 0.20712 | 0.0021288 | 1.0754 | 1.0715 | 0.062533 | 0.0014815 | PseudoVoigtModel | PseudoVoigtModel | No | November 2, 2022 | November | 2 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 1:42:00 PM | 49463.5 | [11 empty] | 49463.5 | 0.99794 | 0.99793 | 0.99794 | 2022-11-02 | Sample | 2 (CLJD) | K21 | 74 |  | FI#5 | K21_74 | K21_74 | K21_74_FI#5 | K21-74_4 | Mount2_Kil | 395 | Mount2_Kil _395 | Def, unclear which grain is which | S | plane | 5 | 8573 | 108.22 | 100.864 | 25.667 | 1920 | 1200 | 50 |  |  | yes |  |  | plane 2 | 0.0041907 | 0.001012 | 0.0011403 | 1.1446e-05 | 0.010576 | 0.0028777 | 3.8876e-07 | 0.0028849 | 0.016263 | 0 | 0 | 0 |  |  | 0.0041907 | 0.001012 | 0.0041563 | 0.001082 | 0.008195 | 0.0021665 | 0.010478 | 0.0028849 | 0.0037192 | 0.0029657 | 34.6449 | 0.0037546 | 30.3594 | 0.0054103 | 2.1729 | 0.0032748 | 0.010821 | 0.0067232 | 0.00030218 | 57.9013 | 0.0067232 | 69.941 | 0.010967 | 0 | 0.87345 | 0.033315 | 0.021935 |  |  |  | 0.13782 | 19.046 | 0.1767 | [9 empty] | 0.029001 | 0.082196 | 0.020133 | 0.00022624 | 0.012405 | 0.013742 | 0.011916 | 0.00011391 | 0 | 0 | 0 | 0 | 202.9396 | [9 empty] | 202.9396 | 1.1643e-06 | 1.1611e-06 | 1.1675e-06 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Yes
47 | K21-74-FI#6 | 0.034947 | 0.0084692 | 0.0075324 | 0.0038719 | 102.8385 | 0.01901 | 0.00058217 | 0.01904 | 12.072 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.034947 | 0.0084692 | 0.037989 | 0.0078535 | -0.22572 | 0.014849 | SupCrit | 103.0515 | 0.01904 | 1286.3299 | 0.017938 | 463.6165 | 1286.3299 | 518.0351 | 0.40643 | 9.7111 | 0.69997 | 0.81286 | Flagged Warnings: | 1389.3814 | 0.0063847 | 652.9326 | 1389.3814 | 581.9807 | 0.41815 | 0 | 7.2159 | 0.0039714 | 0.83629 | Flagged Warnings: |  |  |  | 1410.6607 | 66.2756 | 0.54235 | [9 empty] | 1.2646 | 1.3313 | 0.21508 | 0.0017533 | 1.1036 | 1.1032 | 0.086616 | 0.0012808 | PseudoVoigtModel | PseudoVoigtModel | No | November 2, 2022 | November | 2 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 1:55:39 PM | 50139 | [11 empty] | 50139 | 0.99793 | 0.99793 | 0.99794 | 2022-11-02 | Sample | 2 (CLJD) | K21 | 74 |  | FI#6 | K21_74 | K21_74 | K21_74_FI#6 | K21-74_4 | Mount2_Kil | 395 | Mount2_Kil _395 | Def, unclear which grain is which | S | plane | 6 | 7936 | 107.073 | 94.37 | 131.879 | 1920 | 1200 | 50 | [5 empty] | plane 2 | [94 empty] | No
48 | K21-75-FI#1_r1 | 0.11248 | 0.0058698 | 0.0044594 | 0.0038168 | 103.0341 | 0.011254 | 0.00058245 | 0.011262 | 12.04 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11248 | 0.0058698 | 0.11549 | 0.005091 | -0.078333 | 0.0084608 | SupCrit | 103.248 | 0.011262 | 1285.7621 | 0.0098452 | 141.4725 | 1285.7621 | 223.3445 | 0.57836 | 1.9145 | 0.68271 | 1.1567 | Flagged Warnings: | 1389.0101 | 0.0054696 | 260.4301 | 1389.0101 | 321.6911 | 0.4668 | 0 | 1.6863 | 0.60638 | 0.93361 | Flagged Warnings: | [15 empty] | 1.1667 | 1.0832 | 0.19279 | 0.0081763 | 1.1413 | 1.1978 | 0.13188 | 0.0035849 | PseudoVoigtModel | PseudoVoigtModel | No | November 2, 2022 | November | 2 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 2:08:37 PM | 50917 | 1151.054 | 46.6615 | 28.3057 | Spline | [5 empty] | 0.085612 | 0.035671 | 50917 | 0.99793 | 0.99792 | 0.99793 | 2022-11-02 | Sample | 2 (CLJD) | K21 | 75 |  | FI#1 | K21_75 | K21_75 | K21_75_FI#1 | K21-75_1 | Mount2_Kil | 346 | Mount2_Kil _346 | Undef, synneusis on side | P | cluster | 1 | 608562 | 972.83 | 796.486 | 102.07 | 1920 | 1200 | 50 |  | yes |  |  |  | melt film, looks like a big MI with v little melt, cluster with other MI and spinels | [94 empty] | No
49 | K21-75-FI#2_r1 | 0.1153 | 0.0041529 | 0.0016278 | 0.0038206 | 103.0412 | 0.0041082 | 0.00058268 | 0.0040751 | 11.972 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.1153 | 0.0041529 | 0.11833 | 0.0028982 | -0.073136 | 0.0035588 | SupCrit | 103.2565 | 0.0040751 | 1285.8188 | 0.0035893 | 576.8411 | 1285.8189 | 812.1759 | 0.56557 | 2.8681 | 0.44942 | 1.1311 | Flagged Warnings: | 1389.0755 | 0.0019296 | 1058.3255 | 1389.0754 | 1260.1735 | 0.46762 | 0 | 2.7912 | 0.50871 | 0.93523 | Flagged Warnings: | 1265.4141 | 73.5883 | 0.74808 | 1410.4067 | 141.9908 | 0.61277 | [9 empty] | 1.0425 | 1.0064 | 0.048066 | 0.0019609 | 1.0292 | 1.0457 | 0.027306 | 0.00088369 | PseudoVoigtModel | PseudoVoigtModel | No | November 2, 2022 | November | 2 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 3:05:25 PM | 54325 | [11 empty] | 54325 | 0.99792 | 0.99791 | 0.99792 | 2022-11-02 | Sample | 2 (CLJD) | K21 | 75 |  | FI#2 | K21_75 | K21_75 | K21_75_FI#2 | K21-75_2 | Mount2_Kil | 346 | Mount2_Kil _346 | Undef, synneusis on side | P | cluster | 2 | 4930 | 83.303 | 75.352 | 45.53 | 1920 | 1200 | 50 |  | yes |  |  |  | tiny melt film maybe | [94 empty] | No
50 | K21-75-FI#1_r2 | 0.095878 | 0.0038937 | 0.0008366 | 0.0038027 | 102.9922 | 0.0021114 | 0.00058313 | 0.0020335 | 12.018 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.095878 | 0.0038937 | 0.098781 | 0.0025375 | -0.10921 | 0.0024829 | SupCrit | 103.2076 | 0.0020335 | 1285.9473 | 0.0016846 | 1202.1152 | 1285.9474 | 1580.7956 | 0.49581 | 3.2808 | 0.61234 | 0.99162 | Flagged Warnings: | 1389.155 | 0.001139 | 2032.3467 | 1389.155 | 2293.7752 | 0.44695 | 0 | 2.9748 | 0.48691 | 0.89391 | Flagged Warnings: | 1265.6526 | 186.0698 | 0.70411 | 1410.5152 | 238.4213 | 0.47299 | 1369.6898 | 14.9442 | 0.22341 | [6 empty] | 1.2071 | 1.213 | 0.20538 | 0.00082489 | 1.1081 | 1.1487 | 0.096638 | 0.00043984 | PseudoVoigtModel | PseudoVoigtModel | No | November 2, 2022 | November | 2 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 3:16:00 PM | 54960 | [11 empty] | 54960 | 0.99791 | 0.99791 | 0.99792 | 2022-11-02 | Sample | 2 (CLJD) | K21 | 76 |  | FI#1 | K21_76 | K21_76 | K21_76_FI#1 | K21-76_1 | Mount2_Kil | 294 | Mount2_Kil _294 | Undef? Most of the crystal in epoxy | P | isolated | 3 | 87799 | 352.244 | 317.363 | 1.375 | 1920 | 1200 | 50 | [100 empty] | No
51 | K21-75-FI#2_r2 | 0.10032 | 0.0038915 | 0.00081518 | 0.0038051 | 103.0034 | 0.0020573 | 0.00058364 | 0.0019769 | 12.02 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.10032 | 0.0038915 | 0.10324 | 0.0025293 | -0.10091 | 0.0024518 | SupCrit | 103.2189 | 0.0019769 | 1285.9089 | 0.0015856 | 1159.2366 | 1285.9089 | 1546.9436 | 0.49596 | 3.0914 | 0.64781 | 0.99193 | Flagged Warnings: | 1389.1279 | 0.0011806 | 1928.9796 | 1389.1279 | 2207.0756 | 0.4494 | 0 | 3.3487 | 0.50831 | 0.8988 | Flagged Warnings: | 1265.6334 | 169.8048 | 0.65912 | 1410.4667 | 254.864 | 0.53186 | 1369.8097 | 5.752 | 0.22464 | [6 empty] | 1.0838 | 1.0864 | 0.083156 | 0.00085567 | 1.0611 | 1.0852 | 0.054889 | 0.00046595 | PseudoVoigtModel | PseudoVoigtModel | No | November 2, 2022 | November | 2 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 3:21:24 PM | 55284 | [11 empty] | 55284 | 0.99791 | 0.99791 | 0.99792 | 2022-11-02 | Sample | 2 (CLJD) | K21 | 76 |  | FI#2 | K21_76 | K21_76 | K21_76_FI#2 | K21-76_2 | Mount2_Kil | 294 | Mount2_Kil _294 | Undef? Most of the crystal in epoxy | P | isolated | 1 | 80996 | 322.621 | 319.655 | 58.84 | 1920 | 1200 | 50 | [100 empty] | No
52 | K21-75-FI#3 | 0.09322 | 0.0039504 | 0.0010732 | 0.0038018 | 102.9855 | 0.0027085 | 0.00058403 | 0.0026503 | 12.075 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.09322 | 0.0039504 | 0.096113 | 0.0026262 | -0.11419 | 0.0027876 | SupCrit | 103.2011 | 0.0026503 | 1285.9672 | 0.0023636 | 1088.3212 | 1285.9673 | 1409.0831 | 0.4752 | 4.0677 | 0.67851 | 0.95039 | Flagged Warnings: | 1389.1684 | 0.0011991 | 1800.8514 | 1389.1683 | 1983.9945 | 0.44024 | 0 | 3.1049 | 0.46322 | 0.88048 | Flagged Warnings: | 1265.7539 | 177.0407 | 0.80354 | 1410.514 | 224.8938 | 0.50168 | 1370.7728 | 39.4835 | 0.22003 | [6 empty] | 1.2399 | 1.2468 | 0.22797 | 0.00087326 | 1.1294 | 1.1761 | 0.11394 | 0.00048893 | PseudoVoigtModel | PseudoVoigtModel | No | November 2, 2022 | November | 2 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 3:26:36 PM | 55596 | [11 empty] | 55596 | 0.99791 | 0.99791 | 0.99792 | 2022-11-02 | Sample | 2 (CLJD) | K21 | 76 |  | FI#3 | K21_76 | K21_76 | K21_76_FI#3 | K21-76_3 | Mount2_Kil | 294 | Mount2_Kil _294 | Undef? Most of the crystal in epoxy | P | isolated | 2 | 61175 | 301.882 | 258.016 | 5.682 | 1920 | 1200 | 50 | [100 empty] | No
53 | K21-77-FI#1 | 0.12673 | 0.0039786 | 0.0010404 | 0.0038401 | 103.0701 | 0.0026257 | 0.00059767 | 0.0025621 | 12.017 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12673 | 0.0039786 | 0.12987 | 0.0026066 | -0.052146 | 0.0026898 | SupCrit | 103.2866 | 0.0025621 | 1285.7622 | 0.0021632 | 878.1311 | 1285.7623 | 1253.6904 | 0.55194 | 2.543 | 0.54919 | 1.1039 | Flagged Warnings: | 1389.0489 | 0.001373 | 1556.069 | 1389.0489 | 1910.5355 | 0.47262 | 0 | 2.9174 | 0.56009 | 0.94524 | Flagged Warnings: | 1265.5645 | 131.7817 | 0.70893 | 1410.3627 | 200.0894 | 0.61619 | [9 empty] | 1.1767 | 1.1392 | 0.19501 | 0.0012571 | 1.073 | 1.0997 | 0.068996 | 0.00060745 | PseudoVoigtModel | PseudoVoigtModel | No | November 2, 2022 | November | 2 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 4:43:48 PM | 60228 |  |  |  |  | 1092.2551 | 1084.2559 | 69.0764 | Spline | 0.34266 |  |  | 60228 | 0.9979 | 0.9979 | 0.99791 | 2022-11-02 | Sample | 2 (CLJD) | K21 | 77 |  | FI#1 | K21_77 | K21_77 | K21_77_FI#1 | K21-77_1 | Mount2_Kil | 275 | Mount2_Kil _275 | Undef | P | isolated | 4 | 9421 | 116.285 | 103.153 | 93.871 | 1920 | 1200 | 50 |  |  | yes | [97 empty] | No
54 | K21-78b-FI#3 | 0.010526 | 0.010695 | 0.0099382 | 0.0039512 | 102.7768 | 0.025081 | 0.00058964 | 0.025127 | 12.077 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.010526 | 0.010695 | 0.013809 | 0.010118 | -0.27384 | 0.019848 | SupCrit | 102.9925 | 0.025127 | 1286.4827 | 0.019028 | 106.1845 | 1286.4827 | 98.821 | 0.43714 | 3.0379 | 3.4676e-06 | 0.87429 | Flagged Warnings: | 1389.4752 | 0.01641 | 199.534 | 1389.4752 | 172.9382 | 0.34872 | 0 | 3.0781 | 0.44495 | 0.69744 | Flagged Warnings: | [15 empty] | 1.2316 | 1.2522 | 0.2025 | 0.0082337 | 1.207 | 1.2803 | 0.1444 | 0.0034953 | PseudoVoigtModel | PseudoVoigtModel | No | November 2, 2022 | November | 2 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 4:14:12 PM | 58452 | [11 empty] | 58452 | 0.99791 | 0.9979 | 0.99791 | 2022-11-02 | Sample | 2 (CLJD) | K21 | 78b |  | FI#3 | K21_78b | K21_78b | K21_78b_FI#3 | K21-78b_3 | Mount2_Kil | 217 | Mount2_Kil _217 | Def | S | plane | 2 | 6353 | 97.426 | 83.026 | 77.008 | 1920 | 1200 | 50 | [100 empty] | No
55 | K21-78b-FI#5 | 0.0097131 | 0.0096373 | 0.0087887 | 0.0039543 | 102.7748 | 0.02218 | 0.00059215 | 0.022219 | 12.083 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.0097131 | 0.0096373 | 0.013006 | 0.0090184 | -0.27545 | 0.017587 | SupCrit | 102.9906 | 0.022219 | 1286.489 | 0.016738 | 105.104 | 1286.489 | 93.3374 | 0.41713 | 2.6613 | 7.3092e-08 | 0.83427 | Flagged Warnings: | 1389.4796 | 0.014613 | 174.0212 | 1389.4796 | 145.9576 | 0.35448 | 0 | 2.5382 | 0.31099 | 0.70895 | Flagged Warnings: | [15 empty] | 1.2082 | 1.216 | 0.17368 | 0.0079375 | 1.2197 | 1.3028 | 0.15578 | 0.0040739 | PseudoVoigtModel | PseudoVoigtModel | No | November 2, 2022 | November | 2 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 4:26:53 PM | 59213 | [11 empty] | 59213 | 0.9979 | 0.9979 | 0.99791 | 2022-11-02 | Sample | 2 (CLJD) | K21 | 78b |  | FI#5 | K21_78b | K21_78b | K21_78b_FI#5 | K21-78b_4 | Mount2_Kil | 217 | Mount2_Kil _217 | Def | S | plane | 3 | 4967 | 84.729 | 74.64 | 111.318 | 1920 | 1200 | 50 | [100 empty] | No