## Sheet1
| filename | Density g/cm3 | σ Density g/cm3 | σ Density g/cm3 (from Ne+peakfit) | σ Density g/cm3 (from densimeter) | Corrected_Splitting | Corrected_Splitting_σ | Corrected_Splitting_σ_Ne | Corrected_Splitting_σ_peak_fit | power (mW) | Spectral Center | Preferred D_σ_Ne | Preferred D_σ_pkfit | in range | Notes | LowD_RT | HighD_RT | LowD_SC | LowD_SC_σ | MedD_SC | MedD_SC_σ | HighD_SC | HighD_SC_σ | Temperature | Splitting | Split_σ | Diad1_Combofit_Cent | Diad1_cent_err | Diad1_Combofit_Height | Diad1_Voigt_Cent | Diad1_Voigt_Area | Diad1_Voigt_Sigma | Diad1_Residual | Diad1_Prop_Lor | Diad1_fwhm | Diad1_refit | Diad2_Combofit_Cent | Diad2_cent_err | Diad2_Combofit_Height | Diad2_Voigt_Cent | Diad2_Voigt_Area | Diad2_Voigt_Sigma | Diad2_Voigt_Gamma | Diad2_Residual | Diad2_Prop_Lor | Diad2_fwhm | Diad2_refit | HB1_Cent | HB1_Area | HB1_Sigma | HB2_Cent | HB2_Area | HB2_Sigma | C13_Cent | C13_Area | C13_Sigma | Diad2_Gauss_Cent | Diad2_Gauss_Area | Diad2_Gauss_Sigma | Diad1_Gauss_Cent | Diad1_Gauss_Area | Diad1_Gauss_Sigma | Diad1_Asym50 | Diad1_Asym70 | Diad1_Yuan2017_sym_factor | Diad1_Remigi2021_BSF | Diad2_Asym50 | Diad2_Asym70 | Diad2_Yuan2017_sym_factor | Diad2_Remigi2021_BSF | Diad1_PDF_Model | Diad2_PDF_Model | Standard | date | Month | Day | Int_time (s) | accumulations | Mag (X) | duration | 24hr_time | sec since midnight | Peak_Cent_SO2 | Peak_Area_SO2 | Peak_Height_SO2 | Model_name_x | Peak_Cent_Carb | Peak_Area_Carb | Peak_Height_Carb | Model_name_y | Carb_Diad_Ratio | SO2_Diad_Ratio | SO2_mol_ratio | time | preferred_values | lower_values | upper_values | Model_name | date_object | Type | Mount | Sample | Crystal | Region | FI# | Sample_crystal | Sample_crystal_region | FI_name | Name_on_EPMA | EBSD_simple_name | EBSD_grainID | EBSDname+grainID | EBSD_comment | FI_type | sub_type | Unnamed: 19 | Area | FI_axis_a_um | FI_axis_b_um | Angle | pixels wide | pixels high | mag | decrepit | melt film | spinel | sulfide | shape | Comment | Density g/cm3_Raman_STD | σ Density g/cm3_Raman_STD | σ Density g/cm3 (from Ne+peakfit)_Raman_STD | σ Density g/cm3 (from densimeter)_Raman_STD | Corrected_Splitting_Raman_STD | Corrected_Splitting_σ_Raman_STD | Corrected_Splitting_σ_Ne_Raman_STD | Corrected_Splitting_σ_peak_fit_Raman_STD | power (mW)_Raman_STD | Spectral Center_Raman_STD | Preferred D_σ_Ne_Raman_STD | Preferred D_σ_pkfit_Raman_STD | LowD_RT_Raman_STD | HighD_RT_Raman_STD | LowD_SC_Raman_STD | LowD_SC_σ_Raman_STD | MedD_SC_Raman_STD | MedD_SC_σ_Raman_STD | HighD_SC_Raman_STD | HighD_SC_σ_Raman_STD | Splitting_Raman_STD | Split_σ_Raman_STD | Diad1_Combofit_Cent_Raman_STD | Diad1_cent_err_Raman_STD | Diad1_Combofit_Height_Raman_STD | Diad1_Voigt_Cent_Raman_STD | Diad1_Voigt_Area_Raman_STD | Diad1_Voigt_Sigma_Raman_STD | Diad1_Residual_Raman_STD | Diad1_Prop_Lor_Raman_STD | Diad1_fwhm_Raman_STD | Diad2_Combofit_Cent_Raman_STD | Diad2_cent_err_Raman_STD | Diad2_Combofit_Height_Raman_STD | Diad2_Voigt_Cent_Raman_STD | Diad2_Voigt_Area_Raman_STD | Diad2_Voigt_Sigma_Raman_STD | Diad2_Voigt_Gamma_Raman_STD | Diad2_Residual_Raman_STD | Diad2_Prop_Lor_Raman_STD | Diad2_fwhm_Raman_STD | HB1_Cent_Raman_STD | HB1_Area_Raman_STD | HB1_Sigma_Raman_STD | HB2_Cent_Raman_STD | HB2_Area_Raman_STD | HB2_Sigma_Raman_STD | C13_Cent_Raman_STD | C13_Area_Raman_STD | C13_Sigma_Raman_STD | Diad2_Gauss_Cent_Raman_STD | Diad2_Gauss_Area_Raman_STD | Diad2_Gauss_Sigma_Raman_STD | Diad1_Gauss_Cent_Raman_STD | Diad1_Gauss_Area_Raman_STD | Diad1_Gauss_Sigma_Raman_STD | Diad1_Asym50_Raman_STD | Diad1_Asym70_Raman_STD | Diad1_Yuan2017_sym_factor_Raman_STD | Diad1_Remigi2021_BSF_Raman_STD | Diad2_Asym50_Raman_STD | Diad2_Asym70_Raman_STD | Diad2_Yuan2017_sym_factor_Raman_STD | Diad2_Remigi2021_BSF_Raman_STD | Day_Raman_STD | Int_time (s)_Raman_STD | accumulations_Raman_STD | Mag (X)_Raman_STD | sec since midnight_Raman_STD | Peak_Cent_SO2_Raman_STD | Peak_Area_SO2_Raman_STD | Peak_Height_SO2_Raman_STD | Peak_Cent_Carb_Raman_STD | Peak_Area_Carb_Raman_STD | Peak_Height_Carb_Raman_STD | Carb_Diad_Ratio_Raman_STD | SO2_Diad_Ratio_Raman_STD | SO2_mol_ratio_Raman_STD | time_Raman_STD | preferred_values_Raman_STD | lower_values_Raman_STD | upper_values_Raman_STD | Region_Raman_STD | EBSD_grainID_Raman_STD | Unnamed: 19_Raman_STD | Area_Raman_STD | FI_axis_a_um_Raman_STD | FI_axis_b_um_Raman_STD | Angle_Raman_STD | pixels wide_Raman_STD | pixels high_Raman_STD | mag_Raman_STD | averaged?
0 | L84-FI39-FI#1 | 0.13564 | 0.0075849 | 0.0065293 | 0.0038598 | 103.0926 | 0.016478 | 7.309e-06 | 0.016512 | 12.004 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13564 | 0.0075849 | 0.13891 | 0.0070378 | -0.035894 | 0.012012 | SupCrit | 103.3064 | 0.016512 | 1285.51 | 0.015307 | 674.4041 | 1285.51 | 1001.2623 | 0.58248 | 12.1374 | 0.5111 | 1.165 | Flagged Warnings: | 1388.8164 | 0.0061942 | 1253.5154 | 1388.8163 | 1489.5993 | 0.47114 | 0 | 13.0649 | 0.48394 | 0.94228 | Flagged Warnings: |  |  |  | 1410.0899 | 149.4914 | 0.66907 | [9 empty] | 1.1386 | 1.1133 | 0.16141 | 0.0017274 | 1.0375 | 1.0344 | 0.035335 | 0.00075171 | PseudoVoigtModel | PseudoVoigtModel | No | October 26, 2022 | October | 26 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 11:05:33 AM | 39933 | [11 empty] | 39933 | 0.99793 | 0.99793 | 0.99793 |  | 2022-10-26 | Sample | 2 (CLJD) | L84 | FI39 |  | FI#1 | L84_FI39 | L84_FI39 | L84_FI39_FI#1 | L84-39_1 | Mount2_Kil | 292 | Mount2_Kil_292 | Def | P | cluster | 1 | 120130 | 417.955 | 365.959 | 135.13 | 1900 | 1200 | 50 |  | yes |  |  | Capsule (short) | Near a crack but might be a polishing crack. | [92 empty] | No
1 | L84-FI40-FI#1 | 0.33134 | 0.0035294 | 0.0026335 | 0.0023498 | 103.5568 | 0.0061281 | 0.0006677 | 0.0061057 | 11.989 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.31958 | 0.0055565 | 0.33134 | 0.0035294 | 0.27522 | 0.0041896 | SupCrit | 103.796 | 0.0061057 | 1284.5071 | 0.0053734 | 1304.8224 | 1284.5072 | 3297.6516 | 0.94353 | 8.2516 | 0.63781 | 1.8871 | Flagged Warnings: | 1388.3033 | 0.0028993 | 2729.8327 | 1388.3032 | 5219.6903 | 0.70557 | 0 | 11.9088 | 0.66533 | 1.4111 | Flagged Warnings: | 1264.3851 | 450.106 | 1.8997 | 1409.2957 | 567.3305 | 0.40541 | [9 empty] | 1.0907 | 1.1493 | 0.17123 | 0.0014462 | 1.0872 | 1.1066 | 0.123 | 0.00051693 | PseudoVoigtModel | PseudoVoigtModel | No | November 11, 2022 | November | 11 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 3:52:12 PM | 57132 | [11 empty] | 57132 | 0.9977 | 0.99769 | 0.9977 |  | 2022-11-11 | Sample | 2 (CLJD) | L84 | FI40 |  | FI#1 | L84_FI40 | L84_FI40 | L84_FI40_FI#1 | L84-40_1 | Mount2_Kil | 264 | Mount2_Kil_264 | Def | P | cluster | 3 | 54345 | 279.117 | 247.904 | 13.837 | 1900 | 1200 | 50 |  | yes |  | maybe | Ellipsoidal | has melt film | [92 empty] | No
2 | L84-FI41-FI#1 | 0.10417 | 0.0081441 | 0.007199 | 0.003808 | 103.0132 | 0.018168 | 0.00066587 | 0.018198 | 11.985 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.10417 | 0.0081441 | 0.10711 | 0.0076275 | -0.093745 | 0.013523 | SupCrit | 103.2511 | 0.018198 | 1285.8141 | 0.015514 | 1193.8982 | 1285.8141 | 1526.3202 | 0.54186 | 25.5512 | 0.30296 | 1.0837 | Flagged Warnings: | 1389.0652 | 0.009513 | 2037.3759 | 1389.0652 | 2327.5725 | 0.4623 | 0 | 29.5583 | 0.42984 | 0.9246 | Flagged Warnings: |  |  |  | 1410.4004 | 335.7274 | 0.55009 | [9 empty] | 1.1968 | 1.1906 | 0.21325 | 0.00090772 | 1.0492 | 1.0784 | 0.04553 | 0.00045382 | PseudoVoigtModel | PseudoVoigtModel | No | November 11, 2022 | November | 11 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 3:59:53 PM | 57593 | [11 empty] | 57593 | 0.9977 | 0.99769 | 0.9977 |  | 2022-11-11 | Sample | 2 (CLJD) | L84 | FI41 |  | FI#1 | L84_FI41 | L84_FI41 | L84_FI41_FI#1 | L84-41_1 | Mount2_Kil | 225 | Mount2_Kil_225 | Light def | P | isolated | 1 | 19322 | 161.768 | 152.079 | 77.587 | 1900 | 1200 | 50 |  |  |  |  | Capsule (short) | there are MI and spinels in the crystal, but no clear zones | [92 empty] | No
3 | L84-FI41-FI#2 | 0.11566 | 0.0089013 | 0.0080394 | 0.0038211 | 103.0421 | 0.020289 | 0.00066705 | 0.020325 | 11.97 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11566 | 0.0089013 | 0.11869 | 0.0084555 | -0.072468 | 0.014946 | SupCrit | 103.28 | 0.020325 | 1285.7846 | 0.018088 | 684.4311 | 1285.7846 | 963.676 | 0.56892 | 16.1423 | 0.43362 | 1.1378 | Flagged Warnings: | 1389.0647 | 0.0092691 | 1193.0204 | 1389.0646 | 1355.5133 | 0.46797 | 0 | 17.7707 | 0.38217 | 0.93593 | Flagged Warnings: |  |  |  | 1410.5594 | 146.221 | 0.59909 | [9 empty] | 1.0636 | 1.0331 | 0.072348 | 0.0016625 | 1.0485 | 1.0742 | 0.0454 | 0.00078451 | PseudoVoigtModel | PseudoVoigtModel | No | November 11, 2022 | November | 11 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 4:04:12 PM | 57852 | [11 empty] | 57852 | 0.9977 | 0.99769 | 0.9977 |  | 2022-11-11 | Sample | 2 (CLJD) | L84 | FI41 |  | FI#2 | L84_FI41 | L84_FI41 | L84_FI41_FI#2 | L84-41_2 | Mount2_Kil | 225 | Mount2_Kil_225 | Light def | P | isolated | 2 | 10010 | 120.281 | 105.961 | 60.259 | 1900 | 1200 | 50 |  |  |  | maybe | Capsule (short) | [93 empty] | No
4 | L84-FI42-FI#1 | 0.12019 | 0.0042255 | 0.0017888 | 0.0038282 | 103.0536 | 0.0045145 | 0.00066889 | 0.0044749 | 11.98 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12019 | 0.0042255 | 0.12327 | 0.0029934 | -0.064123 | 0.0038002 | SupCrit | 103.2913 | 0.0044749 | 1285.751 | 0.0040045 | 1110.6692 | 1285.751 | 1626.8943 | 0.56256 | 5.8669 | 0.56594 | 1.1251 | Flagged Warnings: | 1389.0424 | 0.0019972 | 2005.8428 | 1389.0423 | 2465.2426 | 0.48443 | 0 | 5.9258 | 0.49924 | 0.96886 | Flagged Warnings: | 1265.4908 | 167.477 | 0.90337 | 1410.3726 | 291.089 | 0.66263 | [9 empty] | 1.1548 | 1.1036 | 0.17417 | 0.001013 | 1.0903 | 1.12 | 0.087442 | 0.00048302 | PseudoVoigtModel | PseudoVoigtModel | No | November 11, 2022 | November | 11 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 4:11:36 PM | 58296 | [11 empty] | 58296 | 0.9977 | 0.99769 | 0.9977 |  | 2022-11-11 | Sample | 2 (CLJD) | L84 | FI42 |  | FI#1 | L84_FI42 | L84_FI42 | L84_FI42_FI#1 | L84-42_1 | Mount2_Kil | 199 | Mount2_Kil_199 | Light def | P | cluster | 3 | 20912 | 171.464 | 155.286 | 128.48 | 1900 | 1200 | 50 |  |  |  |  | Capsule (short) | Also a chance it could be pseudo secondary. Unclear | [92 empty] | No
5 | L84-FI43-FI#1 | 0.14404 | 0.0045644 | 0.0024007 | 0.003882 | 103.1138 | 0.0060587 | 0.00067122 | 0.0060353 | 11.984 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.14404 | 0.0045644 | 0.14744 | 0.0034087 | -0.020682 | 0.0047267 | SupCrit | 103.3514 | 0.0060353 | 1285.5907 | 0.0054278 | 1046.8881 | 1285.5907 | 1667.8352 | 0.60219 | 6.6883 | 0.60596 | 1.2044 | Flagged Warnings: | 1388.9422 | 0.0026389 | 1930.5859 | 1388.9421 | 2504.205 | 0.50482 | 0 | 8.0276 | 0.53197 | 1.0096 | Flagged Warnings: | 1265.1897 | 149.9995 | 0.90769 | 1410.3779 | 252.7154 | 0.65653 | [9 empty] | 1.0669 | 1.0939 | 0.080526 | 0.0011504 | 1.2234 | 1.2344 | 0.22552 | 0.00052298 | PseudoVoigtModel | PseudoVoigtModel | No | November 11, 2022 | November | 11 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 4:19:17 PM | 58757 | [11 empty] | 58757 | 0.9977 | 0.99769 | 0.99771 |  | 2022-11-11 | Sample | 2 (CLJD) | L84 | FI43 |  | FI#1 | L84_FI43 | L84_FI43 | L84_FI43_FI#1 | L84-43_1 | Mount2_Kil | 156 | Mount2_Kil_156 | Undef | P | isolated | 1 | 31252 | 216.987 | 183.381 | 11.412 | 1900 | 1200 | 50 |  |  |  |  | Ellipsoidal | [93 empty] | No
6 | L84-FI44-FI#1-12mw | 0.35939 | 0.004229 | 0.0035119 | 0.0023487 | 103.6217 | 0.0080764 | 0.00067723 | 0.0080662 | 8.9945 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.34529 | 0.0061444 | 0.35939 | 0.004229 | 0.31504 | 0.0052031 | SupCrit | 103.8601 | 0.0080662 | 1284.3424 | 0.0074477 | 1426.6887 | 1284.3424 | 3954.6398 | 1.044 | 11.3132 | 0.61661 | 2.0881 | Flagged Warnings: | 1388.2026 | 0.0030924 | 3106.7351 | 1388.2025 | 6337.3975 | 0.73817 | 0 | 13.1761 | 0.72154 | 1.4763 | Flagged Warnings: | 1264.042 | 420.288 | 1.7357 | 1409.5291 | 803.7054 | 1.5341 | [9 empty] | 1.2534 | 1.2832 | 0.5282 | 0.0017323 | 1.0182 | 1.0555 | 0.027031 | 0.0005568 | PseudoVoigtModel | PseudoVoigtModel | No | November 11, 2022 | November | 11 | 45 | 3.5 | 50 | ['0h', '1m', '45s'] | 4:28:25 PM | 59359.5 | 1150.4427 | 270.8332 | 184.0817 | [6 empty] | 0.02607 | 0.011138 | 59359.5 | 0.9977 | 0.9977 | 0.99771 | Spline | 2022-11-11 | Sample | 2 (CLJD) | L84 | FI44 |  | FI#1 | L84_FI44 | L84_FI44 | L84_FI44_FI#1 | L84-44_1 | Mount2_Kil | 130 | Mount2_Kil_130 | Def | P | isolated | 2 | 137560 | 422.728 | 414.325 | 131.201 | 1900 | 1200 | 50 | yes |  |  |  | Capsule (short) | decrepit, tiny inclusions around the main; good example | 0.00069794 | 0.00039432 | 0.00047483 | 1.6656e-08 | 0.001605 | 0.0010944 | 3.674e-07 | 0.0011008 | 4.2405 | 0 | 0 | 0 |  |  | 0.00063598 | 0.00022063 | 0.00069794 | 0.00039432 | 0.00097389 | 0.00062817 | 0.0015606 | 0.0011008 | 0.0045639 | 0.001113 | 782.6249 | 0.0045639 | 2163.4423 | 0.020948 | 6.9297 | 0.045638 | 0.041897 | 0.0030034 | 0.00019097 | 1672.9859 | 0.0030034 | 3339.2439 | 0.0049438 | 0 | 7.3067 | 0.016205 | 0.0098875 | 0.1001 | 251.5016 | 0.38965 | 0.047967 | 442.6825 | 0.0026983 | [9 empty] | 0.04718 | 0.034127 | 0.087897 | 0.00097963 | 0.025772 | 0.023336 | 0.038228 | 0.00030302 | 0 | 0 | 2.1213 | 0 | 77.0746 | 0.034584 | 152.8967 | 97.3328 |  |  |  |  | 0.00091763 | 0.0003877 | 77.0746 | 4.6286e-07 | 4.5942e-07 | 4.663e-07 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Yes
7 | L84-FI44-FI#2-6mw | 0.38367 | 0.0035532 | 0.0026665 | 0.0023484 | 103.6772 | 0.0060679 | 0.00067905 | 0.0060437 | 5.995 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.3673 | 0.0059615 | 0.38367 | 0.0035532 | 0.34841 | 0.0040018 | SupCrit | 103.9156 | 0.0060437 | 1284.1791 | 0.0054602 | 1369.7291 | 1284.1792 | 4070.5091 | 1.1226 | 8.7354 | 0.60911 | 2.2453 | Flagged Warnings: | 1388.0948 | 0.0025908 | 3079.95 | 1388.0948 | 6605.6509 | 0.79525 | 0 | 10.1015 | 0.654 | 1.5905 | Flagged Warnings: | 1264.0517 | 592.0179 | 2.18 | 1409.5276 | 795.7191 | 1.485 | [9 empty] | 1.2602 | 1.2648 | 0.58423 | 0.0016392 | 1.0042 | 1.0738 | 0.006711 | 0.00051641 | PseudoVoigtModel | PseudoVoigtModel | No | November 11, 2022 | November | 11 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 4:34:28 PM | 59668 | 1150.247 | 624.5909 | 448.444 | [6 empty] | 0.058503 | 0.024655 | 59668 | 0.99771 | 0.9977 | 0.99771 | Spline | 2022-11-11 | Sample | 2 (CLJD) | L84 | FI44 |  | FI#2 | L84_FI44 | L84_FI44 | L84_FI44_FI#2 | L84-44_2 | Mount2_Kil | 130 | Mount2_Kil_130 | Def | P | isolated | 3 | 366669 | 737.331 | 633.172 | 177.362 | 1900 | 1200 | 50 | yes |  |  |  | Negative crystal | decrepit, tiny inclusions around the main | [92 empty] | No
8 | L84-FI45-FI#1 | 0.12422 | 0.0039762 | 0.0010493 | 0.0038353 | 103.0637 | 0.0026481 | 0.0006768 | 0.002566 | 11.972 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12422 | 0.0039762 | 0.12733 | 0.0026106 | -0.056739 | 0.0027053 | SupCrit | 103.3005 | 0.002566 | 1285.7071 | 0.0022031 | 1132.2305 | 1285.7072 | 1687.1721 | 0.563 | 3.7273 | 0.60729 | 1.126 | Flagged Warnings: | 1389.0077 | 0.0013155 | 1993.0255 | 1389.0077 | 2543.7564 | 0.48993 | 0 | 4.1449 | 0.56722 | 0.97987 | Flagged Warnings: | 1265.4896 | 208.6409 | 0.94616 | 1410.3708 | 298.7179 | 0.66706 | [9 empty] | 1.1379 | 1.1104 | 0.15531 | 0.0009945 | 1.1464 | 1.1777 | 0.14348 | 0.00049165 | PseudoVoigtModel | PseudoVoigtModel | No | November 11, 2022 | November | 11 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 4:40:33 PM | 60033 | [11 empty] | 60033 | 0.99771 | 0.9977 | 0.99771 |  | 2022-11-11 | Sample | 2 (CLJD) | L84 | FI45 |  | FI#1 | L84_FI45 | L84_FI45 | L84_FI45_FI#1 | L84-45_1 | Mount2_Kil | 363 | Mount2_Kil_363 | Def? maybe synneusis | P | isolated | 4 | 62447 | 329.506 | 241.301 | 47.675 | 1900 | 1200 | 50 |  |  |  |  | Capsule (long) | [93 empty] | No
9 | L84-FI46-FI#1 | 0.12562 | 0.0055418 | 0.0039977 | 0.0038379 | 103.0673 | 0.010089 | 0.00067837 | 0.010089 | 11.975 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12562 | 0.0055418 | 0.12876 | 0.0046947 | -0.054163 | 0.0075601 | SupCrit | 103.3039 | 0.010089 | 1285.6803 | 0.0090602 | 1093.9698 | 1285.6803 | 1718.7498 | 0.58352 | 11.6475 | 0.64957 | 1.167 | Flagged Warnings: | 1388.9842 | 0.0044394 | 1978.3549 | 1388.9842 | 2501.3246 | 0.48818 | 0 | 12.6456 | 0.55225 | 0.97637 | Flagged Warnings: | 1265.3491 | 172.7861 | 0.76703 | 1410.3349 | 253.4215 | 0.68082 | [9 empty] | 1.103 | 1.0633 | 0.12024 | 0.0010668 | 1.1949 | 1.2264 | 0.19034 | 0.00049352 | PseudoVoigtModel | PseudoVoigtModel | No | November 11, 2022 | November | 11 | 45 | 3 | 50 | ['0h', '2m', '16s'] | 4:45:43 PM | 60343 | [11 empty] | 60343 | 0.99771 | 0.9977 | 0.99772 |  | 2022-11-11 | Sample | 2 (CLJD) | L84 | FI46 |  | FI#1 | L84_FI46 | L84_FI46 | L84_FI46_FI#1 | L84-46_1 | Mount2_Kil | 309 | Mount2_Kil_309 | Undef | P | cluster | 5 | 32771 | 225.441 | 185.083 | 126.692 | 1900 | 1200 | 50 |  |  |  |  | Ellipsoidal | These look like core clusters, or spongy core clusters | [92 empty] | No
10 | L84-FI46-FI#2 | 0.11974 | 0.0086275 | 0.0077321 | 0.0038274 | 103.0525 | 0.019514 | 0.00067913 | 0.019547 | 11.974 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11974 | 0.0086275 | 0.12281 | 0.0081659 | -0.064948 | 0.014341 | SupCrit | 103.2889 | 0.019547 | 1285.6812 | 0.017856 | 254.1699 | 1285.6813 | 398.8088 | 0.59303 | 5.8577 | 0.60631 | 1.1861 | Flagged Warnings: | 1388.9702 | 0.0079512 | 485.7774 | 1388.9702 | 617.2739 | 0.48443 | 0 | 5.6734 | 0.58478 | 0.96886 | Flagged Warnings: | 1265.0926 | 59.4343 | 0.51614 | 1410.1922 | 108.3389 | 0.97063 | [9 empty] | 1.0688 | 1.0312 | 0.081563 | 0.0046664 | 1.213 | 1.265 | 0.20636 | 0.0019945 | PseudoVoigtModel | PseudoVoigtModel | No | November 11, 2022 | November | 11 | 45 | 3 | 50 | ['0h', '2m', '16s'] | 4:48:32 PM | 60512 | [11 empty] | 60512 | 0.99771 | 0.9977 | 0.99772 |  | 2022-11-11 | Sample | 2 (CLJD) | L84 | FI46 |  | FI#2 | L84_FI46 | L84_FI46 | L84_FI46_FI#2 | L84-46_2 | Mount2_Kil | 309 | Mount2_Kil_309 | Undef | P | cluster | 6 | 13670 | 139.184 | 125.052 | 52.808 | 1900 | 1200 | 50 |  | yes |  | maybe | Capsule (short) | These look like core clusters, or spongy core clusters | [92 empty] | No
11 | L84-FI47-FI#1 | 0.11638 | 0.021657 | 0.021317 | 0.0038222 | 103.044 | 0.053798 | 0.00068093 | 0.053917 | 11.966 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11638 | 0.021657 | 0.11942 | 0.021645 | -0.071145 | 0.03933 | SupCrit | 103.2803 | 0.053917 | 1285.6708 | 0.046937 | 960.2521 | 1285.6708 | 1306.4311 | 0.59605 | 46.391 | 0.20878 | 1.1921 | Flagged Warnings: | 1388.9511 | 0.026533 | 1698.2048 | 1388.951 | 1847.9642 | 0.46945 | 0 | 77.589 | 0.25395 | 0.93889 | Flagged Warnings: |  |  |  | 1410.5115 | 551.308 | 1.404 | [9 empty] | 1.0225 | 1.0021 | 0.026864 | 0.0012414 | 1.298 | 1.4146 | 0.27975 | 0.00055287 | PseudoVoigtModel | PseudoVoigtModel | No | November 11, 2022 | November | 11 | 45 | 3 | 50 | ['0h', '2m', '16s'] | 4:54:26 PM | 60866 | [11 empty] | 60866 | 0.99771 | 0.99771 | 0.99772 |  | 2022-11-11 | Sample | 2 (CLJD) | L84 | FI47 |  | FI#1 | L84_FI47 | L84_FI47 | L84_FI47_FI#1 | L84-47_1 | Mount2_Kil | 267 | Mount2_Kil_267 | Def? maybe synneusis | P | cluster | 7 | 10513 | 132.658 | 100.903 | 35.915 | 1900 | 1200 | 50 |  | yes | yes |  | Ellipsoidal | Seems growth related | [92 empty] | No
12 | L84-FI47-FI#2 | 0.16725 | 0.019992 | 0.019595 | 0.0039608 | 103.1723 | 0.049453 | 0.00068268 | 0.049562 | 11.971 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.16725 | 0.019992 | 0.1711 | 0.020199 | 0.020838 | 0.034805 | SupCrit | 103.4089 | 0.049562 | 1285.4902 | 0.045117 | 1214.7339 | 1285.4902 | 2772.4554 | 0.7265 | 73.3059 | 1 | 1.453 | Flagged Warnings: | 1388.8992 | 0.020515 | 1999.7922 | 1388.8991 | 2364.133 | 0.49233 | 0 | 73.7424 | 0.3518 | 0.98466 | Flagged Warnings: |  |  |  | 1410.4261 | 210.5605 | 0.15928 | [9 empty] | 1.115 | 1.1537 | 0.16709 | 0.0011961 | 1.332 | 1.397 | 0.32695 | 0.00049238 | PseudoVoigtModel | PseudoVoigtModel | No | November 11, 2022 | November | 11 | 45 | 3 | 50 | ['0h', '2m', '16s'] | 4:57:15 PM | 61035 | [11 empty] | 61035 | 0.99771 | 0.99771 | 0.99772 |  | 2022-11-11 | Sample | 2 (CLJD) | L84 | FI47 |  | FI#2 | L84_FI47 | L84_FI47 | L84_FI47_FI#2 | L84-47_2 | Mount2_Kil | 267 | Mount2_Kil_267 | Def? maybe synneusis | P | cluster | 8 | 8672 | 113.619 | 97.18 | 145.901 | 1900 | 1200 | 50 |  |  |  |  | Capsule (short) | Seems growth related | [92 empty] | No
13 | L84-FI48-FI#1 | 0.069509 | 0.03881 | 0.038623 | 0.0038094 | 102.9257 | 0.097473 | 0.00068215 | 0.097694 | 11.984 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.069509 | 0.03881 | 0.072381 | 0.038645 | -0.15901 | 0.073665 | SupCrit | 103.1616 | 0.097694 | 1285.7124 | 0.06256 | 52.8561 | 1285.7124 | 43.6357 | 0.38778 | 4.5635 | 1.5838e-08 | 0.77556 | Flagged Warnings: | 1388.8741 | 0.075035 | 88.3414 | 1388.8741 | 104.8098 | 0.37765 | 0 | 4.2358 | 1 | 0.7553 | Flagged Warnings: | [15 empty] | 1.1261 | 1.1453 | 0.097788 | 0.014673 | 1.316 | 1.36 | 0.23865 | 0.0085497 | PseudoVoigtModel | PseudoVoigtModel | No | November 11, 2022 | November | 11 | 45 | 3 | 50 | ['0h', '2m', '16s'] | 5:00:37 PM | 61237 | [11 empty] | 61237 | 0.99771 | 0.99771 | 0.99772 |  | 2022-11-11 | Sample | 2 (CLJD) | L84 | FI48 |  | FI#1 | L84_FI48 | L84_FI48 | L84_FI48_FI#1 | L84-48_1 | Mount2_Kil | 236 | Mount2_Kil_236 | Def | PS | cluster | 9 | 21216 | 189.541 | 142.518 | 87.773 | 1900 | 1200 | 50 | maybe |  | maybe |  | Capsule (long) | unsure how this formed, may be decrepit, or PS. | [92 empty] | No
14 | L84-FI48-FI#2 | 0.16175 | 0.0048301 | 0.0027941 | 0.0039399 | 103.1585 | 0.0070516 | 0.00068488 | 0.0070343 | 11.986 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.16175 | 0.0048301 | 0.16548 | 0.0037138 | 0.011067 | 0.0053172 | SupCrit | 103.395 | 0.0070343 | 1285.4712 | 0.006421 | 940.3014 | 1285.4712 | 1630.2994 | 0.63611 | 7.979 | 0.67943 | 1.2722 | Flagged Warnings: | 1388.8662 | 0.0028728 | 1815.8925 | 1388.8662 | 2470.6473 | 0.50974 | 0 | 7.7032 | 0.62808 | 1.0195 | Flagged Warnings: | 1265.2914 | 176.045 | 0.74275 | 1410.2715 | 284.3758 | 0.75528 | [9 empty] | 1.1994 | 1.1785 | 0.25373 | 0.001353 | 1.1693 | 1.1667 | 0.17258 | 0.00056142 | PseudoVoigtModel | PseudoVoigtModel | No | November 11, 2022 | November | 11 | 45 | 3 | 50 | ['0h', '2m', '16s'] | 5:04:11 PM | 61451 | [11 empty] | 61451 | 0.99771 | 0.99771 | 0.99772 |  | 2022-11-11 | Sample | 2 (CLJD) | L84 | FI48 |  | FI#2 | L84_FI48 | L84_FI48 | L84_FI48_FI#2 | L84-48_2 | Mount2_Kil | 236 | Mount2_Kil_236 | Def | PS | cluster | 10 | 17436 | 175.856 | 126.241 | 87.471 | 1900 | 1200 | 50 | maybe |  | maybe |  | Capsule (long) | unsure how this formed, may be decrepit, or PS. | [92 empty] | No
15 | L84-FI49-FI#1 | 0.12801 | 0.0065348 | 0.0052856 | 0.0038427 | 103.0733 | 0.013339 | 0.00068642 | 0.013352 | 11.958 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12801 | 0.0065348 | 0.13117 | 0.0058571 | -0.04981 | 0.009842 | SupCrit | 103.3097 | 0.013352 | 1285.6767 | 0.012078 | 360.0072 | 1285.6767 | 556.8079 | 0.54859 | 5.4563 | 0.75971 | 1.0972 | Flagged Warnings: | 1388.9863 | 0.0056917 | 645.4314 | 1388.9863 | 838.3386 | 0.49183 | 0 | 4.8078 | 0.60145 | 0.98365 | Flagged Warnings: | 1264.9776 | 51.5384 | 0.72697 | 1410.2873 | 66.1366 | 0.78756 | [9 empty] | 1.114 | 1.1196 | 0.12509 | 0.0030476 | 1.1779 | 1.1842 | 0.17503 | 0.001524 | PseudoVoigtModel | PseudoVoigtModel | No | November 11, 2022 | November | 11 | 45 | 3 | 50 | ['0h', '2m', '16s'] | 5:10:22 PM | 61822 | [11 empty] | 61822 | 0.99771 | 0.99771 | 0.99772 |  | 2022-11-11 | Sample | 2 (CLJD) | L84 | FI49 |  | FI#1 | L84_FI49 | L84_FI49 | L84_FI49_FI#1 | L84-49_1 | Mount2_Kil | 183 | Mount2_Kil_183 | Light def | P | cluster | 11 | 1935 | 53.791 | 45.802 | 164.007 | 1900 | 1200 | 50 |  |  |  |  | Ellipsoidal | Looks like a core cluster | [92 empty] | No
16 | L84-FI50-FI#1 | 0.18359 | 0.0047403 | 0.0041051 | 0.0023704 | 103.2031 | 0.010083 | 0.0006887 | 0.010082 | 11.964 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.17942 | 0.0056619 | 0.18359 | 0.0047403 | 0.042328 | 0.0072615 | SupCrit | 103.4399 | 0.010082 | 1285.3661 | 0.0094393 | 1329.8651 | 1285.3661 | 2470.843 | 0.67561 | 17.4051 | 0.7007 | 1.3512 | Flagged Warnings: | 1388.806 | 0.0035425 | 2541.2356 | 1388.806 | 3691.233 | 0.55799 | 0 | 13.9886 | 0.5653 | 1.116 | Flagged Warnings: |  |  |  | 1410.0848 | 354.5574 | 0.78191 | [9 empty] | 1.2196 | 1.2663 | 0.29669 | 0.0010161 | 1.0337 | 1.0591 | 0.037617 | 0.00043915 | PseudoVoigtModel | PseudoVoigtModel | No | November 11, 2022 | November | 11 | 45 | 3 | 50 | ['0h', '2m', '17s'] | 5:14:25 PM | 62065 | 1150.8584 | 435.7266 | 295.2649 | [6 empty] | 0.070711 | 0.029647 | 62065 | 0.99771 | 0.9977 | 0.99772 | Spline | 2022-11-11 | Sample | 2 (CLJD) | L84 | FI50 |  | FI#1 | L84_FI50 | L84_FI50 | L84_FI50_FI#1 | L84-50_avg | Mount2_Kil | 138 | Mount2_Kil_138 | Def | P | isolated | 12 | 638665 | 964.818 | 842.826 | 35.519 | 1900 | 1200 | 50 |  |  |  |  | Capsule (short) | [93 empty] | No